PARCOM Recommendation 86/1 of a 40mg/l emission standard for platforms

(Source: PARCOM 8/12/1, paras 5.37-5.40, OIC 11/13/1, para 2.14)

5.37	After discussion, the Commission agreed to recommend to Contracting Parties that a standard of 40 mg/1 for the average concentration of hydrocarbons in effluents discharged from platforms should be applied to all platforms constructed after 1 January 1988. It is expected that emission standards for individual platforms would be set at or below this level. Where this is not done, the Contracting Party setting the emission standard shall inform the Commission and give the reasons for its decision.

5.38	The Commission decided that, in the light of experience, it is no longer appropriate to refer to a “provisional” target standard for discharges from existing platforms.

5.39	The Commission confirmed that the 40 mg/1 criterion for both new and existing platforms covers the hydrocarbon concentration in effluents not covered by MARPOL, ie formation water, ballast water and drainage water from the production unit.

5.40	The Commission also reaffirmed that the appropriate sampling point for effluent streams from platforms to monitor the 40 mg/1 target standard should be in the area of turbulence immediately after the last item of treatment equipment and before any dilution of the effluent stream by seawater.

# Footnotes

OIC 2011 agreed that for the purpose of this Recommendation displacement water should be considered as a form of ballast water.