CEMP Guidelines for Monitoring Contaminants in Sediments

# (OSPAR Agreement 2002-16)

# Contents

(OSPAR Agreement 2002-16)	1

Contents	1

Introduction	6

Purposes	6

Recommendations for the design of Monitoring Programmes	7

General remarks	7

3.1	Spatial distribution of contaminants	7

3.2	Trend assessment in surface sediments	8

3.3	Trend assessment by retrospective monitoring	8

3.4	Specialised monitoring programmes	9

Sampling equipment	9

4.1	Surface sediment studies (spatial and temporal trends)	9

4.2	Retrospective temporal trend studies	9

Storage and pre-treatment of samples	9

5.1	Visual description of the sediment	9

5.2	Sub-sampling and storage at sea	10

5.3	Treatment of sediments prior to chemical analysis	10

Analytical procedures	10

Analytical quality assurance	11

Reporting requirements	11

References	11

Technical Annex 1: Statistical aspects of sediment monitoring	12

Planning	12

References	13

Technical Annex 2: technical annex on the analysis of PCBs in sediments	14

Determination of chlorobiphenyls in sediments – analytical method	14

1.	Introduction	14

2.	Sampling and storage	15

3. 	Precautionary measures	15

4.	Pre-treatment	15

5.	Extraction	16

5.1	Wet sediments	16

5.2	Dry sediments	16

6.	Clean-up	17

6.1	Removal of sulphur and sulphur-containing compounds	17

6.2	Further clean-up	18

7.	Pre-concentration	20

7.1	Calibration and preparation of calibrant solutions	21

8.	Instrumental determination	21

8.1	Injection techniques	21

8.2	Carrier gas	22

8.3	Columns	22

8.4	Detection	22

8.5	Separation, identification and quantification	25

9.	Quality assurance	26

9.1	System performance	26

9.2	Recovery	27

10.	References	27

Technical Annex 3: Determination of parent and alkylated PAHs in sediments	29

1.	Introduction	29

2.	Pre-treatment and Storage	29

2.1 	Contamination	29

2.2	Blanks	30

3.	Pre-treatment	31

4.	Extraction and clean-up	31

4.1	Wet sediments	31

4.2	Dry sediments	32

4.3	Clean-up	32

4.4	Pre-concentration	33

5.	Selection of PAHs to be determined	34

6. 	Instrumental determination of PAHs	35

6.1	GC-MS	35

7.	Calibration and quantification	37

7.1	Standards	37

7.2	Calibration	37

7.3	Recovery	37

8.	Analytical quality control	38

9.	Data reporting	38

10.	References	38

Appendix 1	41

Technical Annex 4: Determination of mono-, di- and tributyltin in sediments: Analytical methods	45

1.	Introduction	46

2.	Sampling and storage	46

3.	Transportation	46

4.	Blanks and contamination	48

5.	Pre-treatment	48

6.	Analysis	48

6.1	Preparation of materials	48

6.2	Dry weight determination	49

6.3	Calibration and preparation of calibrant solutions	49

6.3.1 Calibration	49

6.3.3 Isotope Dilution-Mass Spectrometry	49

6.4	Extraction	49

6.4.1 Acidic digestion followed by in situ derivatisation	50

6.4.2 Leaching and subsequent extraction to an organic phase	50

6.5	Derivatisation	50

6.6	Clean-up	51

6.7	 Pre-Concentration	52

6.8	 Instrumental determination	52

6.8.1 Gas chromatography	52

6.8.2 High Performance Liquid Chromatography	52

7	Quality assurance	52

7.1	System performance	53

7.2	Recovery	53

7.3	Blanks	53

7.4	Accuracy and precision	53

7.5	Data collection and transfer	54

8.	Data recording and reporting parameters	54

8.1	Analytical and quality assurance parameters	54

8.2	Parameters	54

9.	Acknowledgement	54

10.	References	54

Technical Annex 5: Normalisation of contaminant concentrations in sediments	57

1.	Introduction	57

2.	Purposes	57

3.	Normalisation procedures	57

4.	Normalisation using co-factors	58

5.	Theory	59

6.	Considerations on co-factors	60

7.	Considerations on contaminants	61

8.	Isolation of fine fractions for analyses	61

9.	Limitations of normalisation	62

10.	Recommendations	63

11.	References	64

12.	Appendix: Testing normalisation methods	65

Technical Annex 6: Determination of metals in sediments – analytical methods	69

1.	Introduction	69

2.	Sampling, pre-treatment and storage	69

3.	Blanks and contamination	70

4.	Digestion	70

4.1	Hydrofluoric acid digestion	70

4.2	Strong acid digestion	71

5.	Analysis and detection	71

6.	Metal speciation	73

7.	Limits of detection	73

8.	Calibration and standards	73

9.	Quality assurance	74

10	References	74

Technical Annex 7: Determination of PBDEs in sediment	77

1	Introduction	77

2	Sampling and short-term storage	77

3	Pretreatment and long-term Storage	78

4.	Analysis	78

4.1	Precautionary Measures	78

4.2	Solvent Purity and Blanks	79

4.3	Preparation of materials	79

4.4	Extraction and clean-up	79

4.5	Pre-concentration	80

4.6	Selection of PBDEs to be determined	80

4.7	Instrumental determination of PBDEs	82

4.8	Detection Methods	82

5	Calibration and Quantification	83

5.1	Standards	83

5.2	Calibration	83

6	Analytical Quality Control	84

7	Data Reporting	84

8	References	84

Technical Annex 8: Determination of hexabromocyclododecane (HBCD) in sediment	86

1	Introduction	86

2	Sampling and short-term storage	86

3	Pre-treatment and long term Storage	87

4	Analysis	87

4.1	Solvent Purity and Blanks	87

4.2	Preparation of materials	87

4.3	Extraction and clean-up	88

4.4	Pre-concentration	88

4.5	Instrumental determination of HBCD	89

5	Calibration and Quantification	90

5.1	Standards	90

5.2	Calibration	90

6	Analytical Quality Control	90

7	Data Reporting	91

8	References	91

Technical Annex 9:	Analysis of perfluorinated compounds (PFCs) in sediment	93

1.	Introduction	93

2.	Analyses	93

3.	Sampling, transportation and storage	95

4.	Sample preparation	95

4.1	Pre-treatment	95

4.2	Extraction	96

4.3	Clean-up	96

5.	Instrumental analysis	96

5.1	Liquid chromatography	97

5.2	Detection methods	97

6.	Calibration and quantification	99

6.1	Standards	99

6.2	Calibration	99

6.3	Quantification	99

7.	Quality Assurance and Quality Control	100

8.	Data Reporting	100

9.	References	100

Technical Annex 10: Analysis of dioxins, furans and dioxin-like PCBs in sediments	102

1.	Introduction	102

2.	Analytes	103

3.	Sediment samples	105

4.	Analytical methods	105

4.1	Preparatory steps	105

4.2	Extraction	106

4.3	Clean-up	107

4.4	Concentration and injection standards	108

5.	HRGC/HRMS	108

5.1	GC-analysis	109

5.2	Compound identification	110

5.3	Compound quantification	110

6.	HRGC/LRMS	112

7.	Quality Assurance and Quality Control	114

8.	Safety	114

9.	Data reporting	114

10.	References	115

CEMP Guidelines for Monitoring Contaminants in Sediments

## Introduction

Many contaminants have high affinity for particles, and bottom sediments are therefore the repository for a large proportion of the contaminants introduced to the sea. These guidelines, including the technical annexes, provide advice on the use of marine, estuarine and coastal sediments in environmental monitoring, with the aim of ensuring comparable results between monitoring programmes. They also give general guidance on the sampling and analysis of sediments and the interpretation of data. It must be emphasised that these guidelines are not sufficiently detailed to be used, without addition, as full and adequate instructions for cooperative monitoring programmes. In order to meet the precise objectives of the programme it is strongly advised that the details of survey design, sampling, analysis etc. should be referred to a steering group prior to the commencement of a field programme to ensure that detailed specifications are drawn up for all the topics identified in these guidelines. Only in this way can homogenous and comparable data sets be obtained, and the maximum benefit be derived from their interpretation. The content of the technical annexes will develop in line with progress in scientific knowledge.

## Purposes

The purpose of sediment monitoring is described fully in the Joint Assessment and Monitoring Programme (Oslo and Paris Commissions, 1995, 2010, 2014). The monitoring should meet the requirements of the Marine Strategy Directive Framework taking into consideration the OSPAR strategy objectives. The purposes of sediment monitoring can be broadly categorised as follows:

- to assess spatial distributions of chemical components and associated characteristics in surface sediments at one time, including compliance with assessment criteria within predefined areas;

- to assess temporal changes in the chemical composition and physical properties of surface sediments at specific locations through repeated sampling;

- retrospective assessment of temporal changes in the chemical and physical properties of sediments at a specific location through the examination of surface and sub-surface sediment;

- specialised programmes for particular purposes, for example, to support studies of the effects of contaminants on organisms (e.g. as is the case for TBT).

In the following section, advice on monitoring is given separately for each of the objectives a. to d.

## Recommendations for the design of Monitoring Programmes

### General remarks

The sampling strategy will depend on the purpose of the monitoring programme. It is of utmost importance that the objectives and the practical design of the programme will be defined prior to sampling. Samples should be collected throughout the area of interest at an appropriate frequency, taking account of the advice on statistical considerations (see Technical Annex 1) and considering the variability in the contaminant content of the sediment and the bottom topography. For example, more samples close to each other might be required near point sources than in areas of diffuse contamination, and in areas of uneven bottom topography compared to more uniform areas. Further advice can be found in EU 2010 and references quoted therein.

### 3.1	Spatial distribution of contaminants

Spatial monitoring programmes are designed to investigate the spatial distribution of contaminant concentrations in a predefined area of interest. The objectives could include:

- mapping concentrations throughout the monitoring area

- identifying hot-spots, i.e. sub-areas with enhanced concentrations that may be above given environmental thresholds and allow location of sources

- assessing compliance of contaminant concentrations throughout the monitoring area with assessment criteria (e.g. to establish Good Environmental Status)

These broad objectives should be quantified further so that the monitoring programme can be designed effectively. For example, when mapping concentrations, the target precision should be specified (e.g. as 20% throughout the monitoring area) or if comparing concentrations against criteria, those sub areas with concentrations exceeding these criteria should be identified with a defined statistical power (e.g. 90 %) at a defined significance level (e.g. 5 %).

A wide range of monitoring designs are possible (e.g. Thompson, 1992) and the choice will depend on the objectives of the programme, knowledge of sediment accumulation and contaminant inputs in the monitoring area, and logistical and resource constraints. In general, samples should be distributed throughout the monitoring area (including areas of sediment accumulation, more dispersive areas and different depths of water). It is usually valuable to obtain information on the variability of the sediment contamination at a small spatial scale by replicate sampling and analysis. The sampling depth should be defined on the basis of knowledge of sedimentation rate, mixing rate and the aim of the programme.

The bulk properties of sediments will vary throughout the monitoring area and the distribution of contaminant concentrations will be closely related to the distribution of fine grained material. The effects of sources of contaminants, including anthropogenic sources, will be partially obscured by grain size differences. Analysed concentrations should be corrected for these differences in a way appropriate to the aim of the programme.

For the assessment of contaminant concentrations from the Coordinated Environmental Monitoring Programme, OSPAR defined a set of criteria. Background Assessment Criteria (BACs) are used as lower levels and Environmental Assessment Criteria (EACs) or Environmental Range-Low (ERL) values as upper levels. Except for the ERLs, the assessment criteria refer to a defined sediment composition (OSPAR 2009). Therefore, concentrations should be normalised before being used for assessment (Technical Annex 5). Concentrations measured in total (<2 mm) samples or in sieved fine fractions (<20 or <63 µm) are both normalised. If the composition of the sampled sediment is very different to the sediment composition defined for the assessment criteria (e.g. for sandy sediments), the normalisation will require a large extrapolation and may cause an unacceptable uncertainty. Measuring concentrations in sieved fine fractions of sediments that require little extrapolation in the normalisation process provide more powerful datasets.

For both the comparison of contaminant levels against assessment criteria and across areas, as well as the identification of contaminant sources, normalised contaminant concentrations are generally preferred However, there is an exception for samples from the Iberian Sea and the Gulf of Cadiz that are not normalised (OSPAR 2013).

### 3.2	Trend assessment in surface sediments

Trend monitoring shall assess temporal changes in contaminant concentrations of surface sediment, either at a specified location (or in a relatively small predefined area) using repeated sampling over time.

The temporal trend monitoring programme should have a defined power (e.g. 90%) to detect a change in concentration of contaminants (e.g. 50%) in sediments over a selected period (e.g. 10 years) at a defined significance level (e.g. 5 %).

The choice of sampling locations will be governed by the objectives of the programme, knowledge of the sediment composition, and the distribution of contaminant inputs in the area of interest. Preferably, trend monitoring should be carried out in accumulation areas. It is usually valuable to obtain information on the spatial variability of contaminant concentrations in the area a specified location is supposed to represent. The sampling frequency and sampling depth should be decided on the basis of knowledge of sedimentation rates, mixing rates and the aim of the programme (EU 2010).

The analysis of sediments predominantly consisting of fine fractions or of a separated fine grained fraction derived from the sediment (e.g. <63 µm or <20 µm) is generally recommended, as this can provide a more sensitive indicator of change. If such samples have a large and reasonably stable percentage of fine material, normalisation may not be required. Otherwise, it is essential to normalise for the effects of sample composition to provide a basis for reliable assessment of temporal trends (cf. Technical Annex 5 to these Guidelines).

### 3.3	Trend assessment by retrospective monitoring

Temporal changes in contaminant concentrations may also be determined by retrospective monitoring of sediments at a specific location through the examination of surface and sub-surface sediment layers. This would normally include identification of “background” or “pre-industrial” conditions preserved within the sedimentary column against which current conditions may be compared.

Sampling should be performed where possible in non-erosion areas. To identify where undisturbed sedimentation may be expected, a topographic map of the area of interest should be obtained by surveying with e.g. a multibeam or swath sonar, supplemented by seismic and sub-bottom profiling systems. If there is a point source of contamination, cores could be positioned along a gradient away from the source. To test the representativeness of a single core, replicate cores should be taken at a few locations. Care should be taken when interpreting sediments which have been physically disturbed by natural (e.g. bioturbation) or anthropogenic activities (e.g. trawling).

If information on sedimentation rates is available, the thickness of core slices can be selected to represent certain time periods to achieve a specified statistical power for trend detection. In many cases dating will only be available after a core is separated in slices allowing the relevant slices to be selected for analysis. The sediment composition should be sufficiently constant over depth so that shifts in composition do not determine the concentration profile. If the sediment composition varies with depth, then normalisation of contaminant concentrations from the total samples <2 mm or sieved fraction is required (cf. Technical Annex 5 to these Guidelines).

### 3.4	Specialised monitoring programmes

It is difficult to give firm guidance on the approach to be taken in these studies, although it seems likely that analysis of a fine fraction may often be appropriate. The advice given under 3.1 to 3.3 should be considered where appropriate.

## Sampling equipment

As a general principle, the sampling procedure should not unduly alter the properties of the sediment (e.g. by contaminating or disturbing the sample or losing the surface layer). A wide range of sampling devices is in use for sampling sediments in the marine environment. The choice of equipment should be made depending on the local conditions at the site of sampling (water depth, type of sediment, etc.), bearing in mind the objectives of the sediment sampling.

### 4.1	Surface sediment studies (spatial and temporal trends)

Box or other corers which are capable of sampling the surface sediments without disturbing the structure and are relatively free from “edge effects” are recommended. Grab samplers can only be used provided they do not disturb the sediment.

### 4.2	Retrospective temporal trend studies

Retrospective temporal trend studies necessarily involve the collection of samples using a box corer or large-diameter gravity corer, or equivalent device. Measurements of the sediment accumulation rate, by radiochemical or other techniques, are required. The radionuclides most commonly used for determining the rate of sediment deposition are the naturally occurring radionuclides 210Pb and 234Th and the man-made radionuclides 239, 240Pu, 137Cs.

## Storage and pre-treatment of samples

### 5.1	Visual description of the sediment

A log book should be used during sampling where a general description of the samples is recorded. The description should contain the following points:

a.	colour (e.g. Munsell colour chart);

b.	homogeneity (presence or absence of stratification);

c.	the presence or absence of animals (as an indication of bioturbation);

d.	textural description (e.g. a first grain size and organic content assessment);

e.	surface structure (e.g. ripples);

f.	smell;

g.	visual contamination (e.g. oil sheen).

### 5.2	Sub-sampling and storage at sea

The sub-sampling of sediments should preferably be performed immediately after sampling. Care should be taken to avoid the smeared sides of an extruded core. Sub-samples should be stored frozen, at -20(C or below.

### 5.3	Treatment of sediments prior to chemical analysis

Storage

Sub-samples for the analysis of inorganic contaminants, total organic carbon, nitrogen or phosphorus should be stored either frozen or freeze-dried. In terms of the possible use of older, archived dried sediment samples for the analysis of metals, there is no evidence, except for mercury, that storage conditions are critical as long as the sample is kept under non-contaminating conditions. For mercury, samples must be stored in glass or quartz containers, as mercury can move through the walls of plastic containers.

Samples taken for the analysis of organic contaminants must be stored frozen, dried or freeze-dried (depending on the contaminant) and stored in non-contaminating containers, e.g. glass. For longer-term storage, temperatures of -20°C or below are preferred. Information relating to organic contaminants is given in the Technical Annexes.

Grain size fractionation prior to chemical analysis

If the monitoring programme requires analysis of the fine sediment fraction, the sample should be split using appropriate sieving techniques (see the Technical Annexes).

Drying

Samples for analyses of inorganic constituents (e.g. metals), except volatile substances (e.g. mercury), should be freeze-dried. Alternatively, the sediments may be dried at any temperature below 105°C.

For organic contaminants, drying procedures are varied and depend on factors such as the class of substance. Information relating to organic contaminants is given in the Technical Annexes.

## Analytical procedures

Analytical procedures should be carefully considered to allow comparisons to be made between laboratories and programmes. Depending upon the objectives of the monitoring programme, the determinands in question should be analysed either in the <2 mm fraction of the sediment, or else in a separated grain size fraction as described in Technical Annex 5. Guidance on the analyses of the various contaminants is given in the various annexes attached to this document.

For the normalisation of contaminant concentrations in sediments it is necessary to analyse normalising variables, e.g. Al, Li (details are described in Technical Annex6) and organic carbon. It is recommended that the particle size distribution and carbonate content of the sediments are also determined. A full particle-size analysis is ideal, but measurements of the proportion of sediment <63(m and <20(m may be made as a minimal characterisation (see Technical Annex 5).

## Analytical quality assurance

Generally, all procedures must be validated and controlled on a regular basis. For this purpose, in each laboratory a quality assurance system must be established. This includes the participation in interlaboratory, preferably international, comparison exercises, proficiency testing schemes, procedures to ensure a known long term stability of the laboratory’s performance, the use of reference materials, and the documentation required. More detailed information may be found in the Technical Annexes. The results of internal QA/QC and external proficiency testing are used to derive an uncertainty estimate for individual data points following OSPAR guidelines (OSPAR 2011)

## Reporting requirements

Data reporting should be in accordance with the requirements in the latest ICES reporting formats. In addition to the actual monitoring data this generally includes information on sampling and analytical methods used, detection limits, etc. For metals it is particularly important that the digestion procedure is reported. Further it is important that cofactors including the proportion of fine-grained material (e.g. %<63 µm or <20 µm), organic carbon content and aluminium and lithium contents are available for normalization purposes. For contaminant as well as cofactor data, an estimate of the uncertainty associated to the reported concentrations should be provided (see section 7). .

## References

EU (2010): European Commission. WFD-CIS Guidance Document No. 25 Guidance on chemical monitoring of sediment and biota under the Water Framework Directive. Office for Official Publications of the European Communities, Luxembourg. p. 74, http://circa.europa.eu/Public/irc/env/wfd/library?l=/framework_ directive/guidance_documents/guidance_monitoring/_EN_ 1.0_&a=d.

ICES advice 1.5.6.8, 2013

Oslo and Paris Commissions (1995): The Joint Assessment and Monitoring Programme.

OSPAR (2009): Agreement on CEMP Assessment Criteria for the QSR 2010, Agreement number: 2009-2

OSPAR (2010): Joint Assessment and Monitoring Programme 2010 – 2014 (Agreement number 2010-4)

OSPAR (2011): JAMP Guideline for estimation of a measure for uncertainty in OSPAR monitoring (agreement 2011-3)

OSPAR (2013): Levels and trends in marine contaminants and their biological effects – CEMP Assessment report 2012; Monitoring and Assessment Series.

OSPAR (2014): Joint Assessment and Monitoring Programme 2014-2021 (Agreement number: 2014-2)

Thompson, S.K. (1992), Sampling. New York: Wiley, 343pp

# Technical Annex 1: Statistical aspects of sediment monitoring

## Planning

Before undertaking a sediment survey, all participants must agree on the programme to be followed and a planning document must be produced which includes the following information:

a.	a description of the objectives of the study and the questions that it should answer;

b.	a description of the sedimentary environment and the population which would ideally be sampled (e.g. surface samples from all sediment types in the North Sea, all collected at one time);

c.	a description of the population which will actually be sampled bearing in mind the practical constraints on sampling (e.g. surface sediment samples from sands, muddy sands and muds in the North Sea at various times over a two-year period);

d.	if possible, information about the statistical distribution of variables of interest (e.g. concentrations of contaminant x are Normally distributed with parameters y and z) and the sources of their variance (e.g. factors in the field which vary in time and/or space, the rate of change of any input terms and the sedimentation rate). It must be noted that in many cases detailed information may not be available, but as much information as possible must be used to provide a basis for survey design;

e.	a description of the sampling unit and sampling device (e.g. surface 0-1 cm of 0,1 m2 Day grab sample);

f.	the analytical method to be used, including its variance (e.g. total digestion of whole sediments);

g.	the normalisation method to be used (e.g. chlorobiphenyl/carbon ratios, metal/aluminium ratios);

h.	the desired final product (e.g. contour maps, “bubble plots”).

The following references give information which may be of help for the statistical aspects of designing a monitoring programme. The particular topics covered are:

- a model describing the influence of the input flux, the sedimentation rate, mixing depth, and mixing coefficient on the concentration at a specific depth in the sediment, and on the statistical “detection limit” for a trend (Kelly et al., 1994; Larsen and Jensen, 1989);

- the number of samples needed per location to be able to distinguish between locations, depending on “field” and analytical variance, and the pooling of samples (Krumgalz et al., 1989);

- trend detection – the chance of detecting a trend in a certain period at a certain (statistical) reliability, as a function of the frequency and variance (Lettermaier, 1976, 1978).

## References

Kelly, A.G., Wells, D.E. and Fryer, R.J., 1994. Sampling strategy to detect a change in concentration of trace organic contaminants in marine sediments. Sci. Total Environ. 144: 217-230,

Krumgalz, B.S., Fainshlein, G., Sahler, M. and Gorfunkel, L., 1989. “Field error” related to marine sediment contamination studies. Mar. Pollut. Bull., 20 (2): 64-69.

Larsen, B. and Jensen, A., 1989. Evaluation of the sensitivity of sediment stations in pollution monitoring. Mar. Pollut. Bull., 20 (11): 556-560,

Lettermaier, D.P. 1976. Detection of trends in water quality data from records with dependent observations. Water Resources Research, 12 (5): 1037-1046.

Lettermaier, D.P., 1978. Design considerations for ambient stream quality monitoring. Water Resources Bulletin, 14 (4): 884-892.

# Technical Annex 2: technical annex on the analysis of PCBs in sediments

## Determination of chlorobiphenyls in sediments – analytical method

## 1.	Introduction

This annex provides advice on (chlorinated biphenyl) CB analysis for all sediment fractions and suspended particulate matter (e.g. < 2mm fraction and < 20(m fraction). The guideline is an update of the earlier version (Smedes and de Boer, 1994 and 1997) taking into account evolutions in the field of analytical chemistry and also covering the determination of planar CBs. Basically, these consist of mono-ortho (CB105, CB114, CB118, CB123, CB156, CB157, CB167 and CB189) and non-ortho substituted CBs (CB81, CB77, CB126 and CB169). When reviewing the literature, it should be noted that planar, coplanar and dioxin-like CBs / PCBs are all equivalent terms. OSPAR SIME has advised that monitoring for planar CBs in sediments should only take place when the concentrations of marker (non-planar) CBs are e.g. 100 times higher than the Background Assessment Concentrations for those compounds.

The analysis of CBs in sediments generally involves extraction with organic solvents, clean-up (removal of sulphur and column fractionation), and gas chromatographic separation with electron-capture or mass spectrometric detection. All stages of the procedure are susceptible to insufficient recovery of analytes and/or contamination. Quality control procedures are recommended in order to check the method’s performance. These guidelines are intended to encourage and assist analytical chemists to reconsider their methods and to improve their procedures and/or the associated quality control measures where necessary. Due to the low concentrations of, particularly, non-ortho substituted CBs in sediments compared to those of other CBs, their determination requires an additional separation and concentration step. Therefore, in the relevant sections a distinction will be made between the non-ortho substituted CBs and the others.

These guidelines can also be used for several other groups of organochlorine compounds, e.g. DDTs and their metabolites, chlorobenzenes and hexachlorocyclohexanes. Recoveries in the clean-up procedures must be checked carefully. In particular, treatment with H2SO4 results in a loss of some compounds (e.g. dieldrin and endosulfanes (de Boer and Wells, 1996). Also, the clean-up procedure with silver ions can result in low recoveries for some pesticides (e.g. hexachlorocyclohexanes).

These guidelines are not intended as a complete laboratory manual. If necessary, guidance should be sought from highly specialised research laboratories. Whichever analytical procedure is adopted, each laboratory must demonstrate the validity of each step in the procedure. In addition, the use of a second (and different) method, carried out concurrently with the routine procedure is recommended for validation. Analyses must be carried out by experienced staff.

## 2.	Sampling and storage

Plastic materials (except polyethylene or polytetrafluorethene) must not be used for sampling due to the possible adsorption of contaminants onto the container material. Samples should be stored in solvent washed aluminium cans or glass jars. Aluminium cans are preferred, as glass jars are more susceptible to breakage. Samples should be transported in closed containers; a temperature of 25°C should not be exceeded. If samples are not analysed within 48 h after sampling, they must be stored in the short term at 4°C. Storage over several months or longer should be limited to those samples which have been frozen (< -20(C) and dried samples.

## 3. 	Precautionary measures

Solvents, chemicals and adsorption materials must be free of CBs or other interfering compounds. If not they should be purified using appropriate methods. Solvents should be checked by concentrating the volume normally used in the procedure to 10% of the final volume and then determining the presence of CBs and other interfering compounds by GC analysis. If necessary, the solvents can be purified by re-distillation but this practice is not favoured by most analytical laboratories as they generally opt to buy high quality solvents directly. Chemicals and adsorption materials should be purified by extraction and/or heating. Glass fibre materials (e.g. Soxhlet thimbles and filter papers used in pressurised liquid extraction (PLE)) should be cleaned by solvent extraction or pre-baked at 450°C overnight. Alternatively, glass thimbles with a G1 glass filter at the bottom can be used. Generally, paper filters should be avoided and substituted by appropriate glass filters. As all super cleaned materials are prone to contamination (e.g. by the adsorption of CBs and other compounds from laboratory air), materials ready for use should be held in sealed containers and should not be stored for long periods. All containers, tools, glassware etc. which come into contact with the sample must be made of appropriate material and must have been thoroughly pre-cleaned. Glassware should be extensively washed with detergents, heated at > 250°C and rinsed immediately before use with organic solvents or mixtures such as hexane/acetone. In addition, all glassware should preferably be covered with aluminium foil and stored in cupboards to keep out any dust. Old and scratched glassware is more likely to cause blank problems because of the larger surface and therefore greater chance of adsorption. Furthermore, scratched glassware can be more difficult to clean. All glassware should be stored in clean cupboards, ensuring dust cannot enter (QUASIMEME, 2007)

## 4.	Pre-treatment

Before taking a subsample for analysis, the samples should be sufficiently homogenised.

CBs can be extracted from wet or dried samples, although storage, homogenisation and extraction are much easier when the samples are dry. Drying the samples, however, may alter the concentrations e.g. by the loss of compounds through evaporation or by contamination (Smedes and de Boer, 1994 and 1997). Losses and contamination must be accounted for.

Chemical drying can be performed by grinding with Na2SO4 or MgSO4 until the sample reaches a free-flowing consistency. It is essential that there are at least several hours between grinding and extraction to allow for complete dehydration of the sample; any residual water will decrease the extraction efficiency.

Freeze-drying is becoming a more popular technique, although its application should be carefully considered. Possible losses or contamination must be checked. Losses through evaporation are diminished by keeping the temperature in the evaporation chamber below 0°C. Contamination during freeze-drying is reduced by putting a lid, with a hole of about 3 mm in diameter, on the sample container.

## 5.	Extraction

The target compounds must be extracted from the sediment with an organic solvent prior to analysis. Extraction methods do not differ for planar CBs but, because of the low concentrations, a substantially larger sample intake has to be considered. Generally, at least a 100 g sample of freeze-dried sediment is required.

### 5.1	Wet sediments

Wet sediments are extracted in a step-wise procedure by mixing them with organic solvents. Extraction is enhanced by shaking, Ultra Turrax mixing, ball mill tumbler or ultrasonic treatment. Water miscible solvents are used (especially in the first step) such as methanol, acetone, acetonitrile, etc. The extraction efficiency of the first step is low as there will be a considerable amount of water in the liquid phase at that stage. The extraction is continued with a mixture of polar and apolar solvents (e.g. acetone/hexane or methanol/dichloromethane). For adequate extraction of target compounds, wet sediments must be extracted with organic solvents at least three times. The contact time with the solvent should be sufficient to complete the desorption of the CBs from the sediment.

When using a Soxhlet, extraction of wet sediments should be done in two steps. A polar solvent, such as acetone, is first used to extract the water from the sediment and then the flask is replaced and the extraction continued with a polar/apolar mixture such as acetone/hexane.

In both cases water must be added to the combined extracts and the CBs must be extracted to an apolar solvent such as hexane.

### 5.2	Dry sediments

For dried sediments, Soxhlet extraction is the most frequently used technique. A mixture of a polar and an apolar solvent (e.g. acetone/hexane) is recommended for efficient extraction; a good choice is 25% acetone in hexane. A greater proportion of polar solvent increases the extraction efficiency, but the polar solvent must be removed prior to gas chromatographic analysis. Extraction can be carried out with a normal Soxhlet or a hot Soxhlet apparatus. A sufficient number of extraction cycles must be performed (ca. 8 h for the hot Soxhlet and ca. 12 to 24 h for normal Soxhlet extraction). The extraction efficiency must be checked for different types of sediments by a second extraction step. These extracts should be analysed separately.

Although the use of binary non-polar/polar solvent mixtures and Soxhlet is still the benchmark for CB extraction, there have been numerous attempts to find alternative procedures, which are less time-consuming, use less solvent and/or enable miniaturisation. Amongst these novel approaches are pressurised liquid extraction (PLE) and related subcritical water extraction (SWE), microwave-assisted extraction (MAE), matrix solid-phase dispersion (MSPD), ultrasound extraction (US) and supercritical fluid extraction (SFE).

From among the techniques mentioned, PLE or Accelerated Solvent Extraction (ASE) has – so far – been most successful. Soxhlet methods are easily translated into PLE as the same solvent compositions can be used. The method further allows interesting modifications that include in-cell clean-up of samples by adding fat retainers, such as florisil or alumina, to the cell, and the use of a small carbon column in the extraction cell, which selectively adsorbs dioxin-like compounds (subsequently isolated by back-flushing with toluene) (Sporring et al., 2003). PLE and MAE have the shared advantage over SFE that they are matrix-independent, which facilitates method development and changing-over from the classical Soxhlet extraction. Recent years have also seen an increased use of ultrasound-based techniques for analytes isolation from solid samples. With most applications, extraction efficiency is fully satisfactory, and sonication time often is 30 min or less (Roose and Brinkman, 2005).

All the methods described above are in principle suitable for extracting CBs from sediments. However, Soxhlet extraction is still the reference for alternative approaches.

## 6.	Clean-up

### 6.1	Removal of sulphur and sulphur-containing compounds

An aqueous saturated Na2SO3 solution is added to a hexane extract. In order to allow the transfer of the HSO3- ions to the organic phase, tetrabutylammonium salts (TBA) and iso-propanol are then added to the mixture. Water is subsequently added to remove the iso-propanol. The aqueous phase must then be quantitatively extracted with hexane (Jensen et al., 1977). If the extraction was performed by a polar solvent miscible with water, then a Na2SO3 solution can be added directly after extraction. If the extraction mixture also contains an apolar solvent, then depending on the ratio of the solvents, the addition of TBA and iso-propanol may or may not be necessary. Any excess Na2SO3 and reaction products can be removed by the addition of water and thus partitioning between apolar solvent and water.

Japenga et al. (1987) developed a column method for the removal of sulphur and sulphur-containing compounds. The column material is made by mixing an aqueous solution of Na2SO3 with Al2O3. Some NaOH is also added to improve the reaction with sulphur. Subsequently the material is dried under nitrogen until a level of deactivation equivalent to 10 % water is reached. Storage must be under nitrogen because sulphite in this form may easily be oxidised to sulphate. Eluting the extract (hexane) through a column filled with this material results in removal of the sulphur in combination with further clean-up of the sediment extract. The sulphur removal properties are somewhat difficult to control.

Mercury, activated copper powder, wire or gauze (Smedes and de Boer, 1994 and 1997; Wade and Cantillo, 1996) remove the sulphur directly from an organic solvent. Although mercury is appropriate for removing sulphur, it should be avoided for environmental reasons. Copper can be applied during or after Soxhlet extraction. Ultrasonic treatment might improve the removal of sulphur. If sulphur appears to be present in the final extract the amount of copper or mercury used was insufficient and the clean-up procedure must be repeated.

Silver ions strongly bind sulphur and sulphur compounds. Loaded onto silica, AgNO3 is a very efficient sulphur removing agent. It can be prepared by mixing dissolved AgNO3 with silica and subsequently drying under nitrogen. Compounds containing aromatic rings are strongly retained, but for CBs this retention is reduced, probably due to shielding of the rings by the chlorine atoms. Retained compounds can easily be eluted by using cyclohexene, or another solvent with double bonds, as a modifier (Eganhouse, 1986; Japenga et al., 1987).

Elemental sulphur is strongly retained on a polystyrene-divinylbenzene copolymer column as generally applied for gel permeation chromatography (GPC). In addition, GPC combines sulphur removal with a clean-up stage.

All these methods have advantages and disadvantages. For different samples, the use of multiple methods may sometimes prove necessary. Several of the methods leave some aromatic sulphur compounds in the extract. These compounds elute from the GC column at similar retention times to some of the lower-chlorinated CBs. The major part of these compounds can be removed by eluting an apolar extract over a column with silica loaded with concentrated H2SO4. Other interfering compounds (e.g. phthalates and fatty acid esters) are also removed by using this procedure.

### 6.2	Further clean-up

The extraction procedures above will result in the co-extraction of many compounds other than CBs. The extract may be coloured due to pigments extracted from sediment, and may also contain sulphur and sulphur-containing compounds, oil, PAHs and many other natural and anthropogenic compounds which will need to be removed from the extract. Different clean-up techniques may be used, either singly or in combination, and the choice will be influenced by the selectivity and sensitivity of the final measurement technique and also by the extraction method employed. Most CBs are stable under acid conditions; therefore treatment with sulphuric acid or acid impregnated silica columns may be used in the clean-up.

The most commonly used clean-up methods involve the use of alumina or silica adsorption chromatography, but gel permeation chromatography (GPC) is also employed.

As CBs are apolar, clean-up using normal-phase chromatography is the most appropriate technique for the separation from other compounds. Using an apolar solvent (e.g. hexane or iso-octane) as an eluent, CBs normally elute very rapidly. All polar solvents used in the extraction or sulphur removal step should be removed before further clean-up. The last concentration step is usually performed by evaporation with a gentle stream of nitrogen. Evaporation to dryness should always be avoided.

Deactivated Al2O3 (with 5-10% water) is often used as a primary clean-up method. Provided that sulphur has been removed beforehand, Al2O3 clean-up sometimes yields a sufficiently clean extract for a GC-ECD analysis of the sample to be performed. Al2O3 removes lipid compounds from the extracts (although samples with a very high lipid content and low CB concentrations may require additional clean-up).

Deactivated silica (with 1-5% water) does not retain CBs (including planar CBs) and only slightly retains polycyclic aromatic hydrocarbons (PAHs) when eluted with hexane or iso-octane. When organochlorine pesticides are also to be determined in the same extract, deactivation of the silica with a few percent of water is essential.

For high activity silica (overnight at 180°C) the retention of CBs is negligible, while PAHs are more strongly retained. The CBs and a few other organochlorine compounds are eluted with apolar solvents. More polar solvents (e.g. hexane/acetone) should be avoided as some interfering organochlorine pesticides would be eluted.

For the separation of CBs from lipids or oil components, reversed-phase HPLC can be used. In reversed-phase chromatography CBs elute during a solvent gradient of 80 to 90% methanol, together with numerous other compounds of similar polarity. Most of the above mentioned extraction methods and clean-up procedures yield an extract containing an apolar solvent. These cannot be injected directly for reversed-phase chromatography, and so compounds must be transferred between solvents several times e.g. before injection and after elution. When using polar solvents for extraction (e.g. for wet sediments) reversed-phase columns could be used directly for clean-up. When eluting an acetonitrile extract from a C18 solid phase extraction (SPE) column with acetonitrile, high molecular hydrocarbons are strongly retained while CBs elute in the first few column volumes.

The above mentioned normal-phase chromatographic procedures on silica and Al2O3 can be transferred to HPLC having the advantages of higher resolution and better reproducibility.

When using GPC the elution of CBs should be carefully checked. When applying GPC, two serial columns are often used for improved lipid separation. Solvent mixtures such as dichloromethane/hexane or cyclohexane/ethyl acetate can be used as eluents for GPC. However, a second clean-up step is often required to separate the CBs from other organohalogenated compounds.

One advantage of using PLE extraction is that it is possible to combine the clean up with the extraction, especially when mass spectrometry will be used as the detection method. If Soxhlet extraction is used for biota, then there is a much greater quantity of residual lipid to be removed than in the case of PLE with fat retainers. An additional clean-up stage may therefore be necessary. Methods have been developed for online clean-up and fractionation of dioxins, furans and CBs with PLE for food, feed and environmental samples (Sporring et al., 2003). The first method utilises a fat retainer for the on-line clean-up of fat. Silica impregnated with sulphuric acid, alumina and Florisil have all been used as fat retainers. A non-polar extraction solvent such as hexane should be used if fat retainers are used during PLE.

Non-ortho CBs require a more specialised clean-up, similar to that which is generally associated with the analysis of dioxins and furans. Although initial clean-up may very well proceed along the lines described above, the larger sample intake results in even larger amounts of co-extractives and care has to be taken that the capacity of the adsorption columns is not exceeded and/or that sulphur is adequately removed. Often, more rigorous procedures are applied to remove the excess material by e.g. shaking the sample with concentrated sulphuric acid. A more efficient and safer alternative is to elute the sample over a silica column impregnated with sulphuric acid (40 % w/w).

Non-ortho CBs are nearly always separated from the other CBs using advanced separation techniques. A very efficient method is to inject the extracts (after concentrating them) into a HPLC system coupled to PYE (2-(1-pyrenyl) ethyldimethylsilylated silica) column. Column dimensions are typically 4.6 x 150 mm column, but combinations of several columns in-line are sometimes used. PYE columns not only allow the separation of ortho, mono-ortho and non-ortho CBs on the basis of structural polarity from each other but also from dibenzo-p-dioxins and dibenzofurans. The eluting solvent is an apolar solvent such as iso-hexane. When coupled to a fraction collector, the use of a HPLC system allows the automatic clean-up of a considerable number of samples. Alternatively, HPLC systems equipped with porous graphite carbon. Column sizes are in the order of 50 x 4.7 mm and care has to be taken that the column is not overloaded. Similarly to PYE columns, they will separate non-ortho CBs from the others and from dioxins and furans. Fully automated systems, such as Powerprep, that combine several steps are routinely used (Focant and De Pauw, 2002).

## 7.	Pre-concentration

Evaporation of solvents with a rotary-film evaporator was up until recent the common method. However, evaporation of solvents using this technique should be performed at low temperature (water bath temperature of ≤ 30°C) and under controlled pressure conditions, in order to prevent losses of the more volatile CBs. To reduce the sample to the final volume, solvents can be removed by blowing-down with gently streaming nitrogen. Only nitrogen of a controlled high quality should be used. As a solvent for the final solution to be injected into the GC, iso-octane is recommended.

Turbovap sample concentrators can also be used to reduce solvent volume. This is a rapid technique, but needs to be carefully optimised and monitored to prevent both losses (both of volatiles and solvent aerosols) and cross-contamination. The use of rotary-film evaporators is more time consuming but more controllable. Here also, evaporation to dryness should be avoided at all costs. Syncore parallel evaporators (Buchi, Switzerland) can be used with careful optimisation of the evaporation parameters. The Buchi Syncore Analyst also uses glass tubes but the system is sealed, avoiding contamination from the lab air during evaporation. It does not use a nitrogen stream, thus reducing the loss of volatiles and if the flushback module is fitted the sides of the tubes are rinsed automatically thus reducing the loss of the heavier components. Again water-bath temperatures should be minimised to prevent losses. When reducing the sample to the required final volume, solvents can be removed by a stream of clean nitrogen gas. Suitable solvents for injection into the gas chromatograph (GC) include hexane, heptane, toluene and iso-octane.

### 7.1	Calibration and preparation of calibrant solutions

Internal standards (recovery and quantification standards) should be added in a fixed volume or weight to all standards and samples. The ideal internal standard is a CB which is not found in the samples. All CBs with a 2,4,6-substitution (e.g. CB115, CB155, CB198) are, in principle, suitable. Alternatively, 1,2,3,4-tetrachloronaphthalene or homologues of dichloroalkylbenzylether can be used. For GC analysis with mass selective detection (GC-MS), 13C labelled CBs should be used for each degree of chlorination. This especially critical for the non-ortho CBs. If possible, the labelled calibrant solutions should correspond to the unlabelled determinants. For the non-ortho CBs a labelled standard is available for each congener and use of all of them is recommended. When preparing a calibration solution for a new determinant for the first time, two independent stock solutions of different concentrations should always be prepared simultaneously to allow cross checking. A new calibration solution should also be cross-checked to the old standard solution. Crystalline CBs of known purity should always be used for preparing calibration solutions. If the quality of the standard materials is not guaranteed (e.g. as in the case for a Certified Reference Material) by the producer or supplier, it should be checked by GC preferably with mass spectrometric detection. Solid standards should be weighed to a precision of 10-5 grams. In recent years, a lot of certified commercial custom made standards have become available and laboratories have been switching to these. Calibration solutions should preferably be stored in ampoules in a cool and dark place. When stored in containers the weight loss during storage should be recorded.

## 8.	Instrumental determination

### 8.1	Injection techniques

The two modes commonly used are splitless and on-column injection. In split injection, strong discrimination effects may occur. The liner should possess sufficient capacity with respect to the injected volume after evaporation, but should not be oversized to avoid poor transfer to the column and losses by adsorption. Liners with light packing of (silylated) glass wool may improve the performance for CBs, but may degrade some organochlorine compounds like DDT, which are often included in national monitoring programmes.

Recently, other techniques such as temperature-programmed or pressure-programmed injection have become more prominent. They offer additional advantages such as an increased injection volume without the negative effects previously associated with that, but should be thoroughly optimised before use. Increasing the injection volume will allow either or both the elimination of an extra evaporation step and lowering the detection limits.

### 8.2	Carrier gas

Hydrogen is the preferred carrier gas and is indispensable for columns with very small inner diameters. Helium is also acceptable and the standard carrier for GC-MS.

### 8.3	Columns

Only capillary columns should be used. The following parameters are recommended:

| Minimum Length | 50 m (for microcolumns of internal diameter <0.1 mm, shorter columns can be suitable). |
| --- | --- |
| Maximum internal diameter | 0.25 mm. Note that for diameters <0.15 mm the elevated pressure of the carrier gas needs special instrumental equipment as most of the instruments are limited to 400 kPa. |
| Film thickness | 0.2-0.4 µm. |

Columns which do not fulfil these requirements generally do not offer sufficient resolution to separate CB28, CB105 and CB156 from closely eluting CBs. A wide range of stationary phases can be used for CB separation. The chemical composition is different for many producers and depends on the maximum temperature at which the column can be operated. Further advice may be found in the producer’s catalogues, where compositions, applications and tables to compare products from different manufacturers are included.

In recent years, new chromatographic phases have become available that result in an improved separation of critical CB pairs. A good example is the HT-8 phase (1,7-dicarba-closo-dodecarborane phenylmethyl siloxane) (Larsen et al., 1995) that shows a remarkable selectivity for CBs. This column is currently recommended for CB analysis. Examples of the retention times for various CBs are given in Table 1.

### 8.4	Detection

The electron capture detector (ECD) is still frequently used for CB analysis. Injection of chlorinated solvents or oxygen-containing solvents should therefore be avoided due to the generation of large interfering signals. When using mass selective detectors (MSD) negative chemical ionisation mode (NCI) is extremely sensitive for pentachlorinated to decachlorinated CBs and is approximately ten fold better than ECD. However, MS systems have improved considerable allowing analysis by Electron impact ionisation (EI), whereas before, electron-capture negative ion chemical ionisation (ECNICI) was often necessary in order to detect the low concentrations of, in particular the planar CBs. Suggested target and qualifier ions for ortho CBs (including non-ortho CBs) are shown in Table 1 and in Table 2 for non-ortho CBs.

Table 1 Example of retention times for selected CB congeners using a 50 m HT8 column (0.25 mm i.d. and 0.25 µm film), along with possible target and qualifier ions. Temperature programme: 80oC, hold for 1 minute, ramp 20oC/minute, to 170 oC, hold 7.5 minutes, ramp 3 oC/minute to 300 oC, hold for 10 minutes.

| CB congener | MW | RT | Target Ion | Qualifier Ion | Number of chlorines |
| --- | --- | --- | --- | --- | --- |
| 13C-CB28 | 270 | 28.371 | 268 | 270 | 3 |
| CB31 | 258 | 28.071 | 256 | 258 | 3 |
| CB28 | 258 | 28.388 | 256 | 258 | 3 |
| 13C-CB52 | 304 | 30.317 | 304 | 302 | 4 |
| CB52 | 292 | 30.336 | 292 | 290 | 4 |
| CB49 | 292 | 30.698 | 292 | 290 | 4 |
| CB44 | 292 | 32.024 | 292 | 290 | 4 |
| CB74 | 292 | 34.881 | 292 | 290 | 4 |
| CB70 | 292 | 35.199 | 292 | 290 | 4 |
| 13C-CB101 | 340 | 36.612 | 338 | 340 | 5 |
| CB101 | 326 | 36.630 | 326 | 328 | 5 |
| CB99 | 326 | 37.062 | 326 | 328 | 5 |
| CB97 | 326 | 38.267 | 326 | 328 | 5 |
| CB110 | 326 | 39.277 | 326 | 328 | 5 |
| CB123* | 326 | 41.2 | 326 | 328 | 5 |
| CB118* | 326 | 41.563 | 326 | 328 | 5 |
| CB105* | 326 | 43.443 | 326 | 328 | 5 |
| CB114* | 326 | 42.2 | 326 | 328 | 5 |
| 13C-CB153 | 374 | 42.567 | 372 | 374 | 6 |
| CB149 | 362 | 40.328 | 360 | 362 | 6 |
| CB153 | 362 | 42.584 | 360 | 362 | 6 |
| CB132 | 362 | 42.236 | 360 | 362 | 6 |
| CB137 | 362 | 43.744 | 360 | 362 | 6 |
| 13C-CB138 | 374 | 44.437 | 372 | 374 | 6 |
| CB138 | 362 | 44.487 | 360 | 362 | 6 |
| CB158 | 362 | 44.663 | 360 | 362 | 6 |
| CB128 | 362 | 46.307 | 360 | 362 | 6 |
| 13C-CB156 | 374 | 48.406 | 372 | 374 | 6 |
| CB156* | 362 | 48.366 | 360 | 362 | 6 |
| CB167* | 362 | 46.4** | 360 | 362 | 6 |
| CB157* | 362 | 48.698 | 360 | 362 | 6 |
| 13C-CB180 | 408 | 48.829 | 406 | 408 | 7 |
| CB187 | 396 | 44.787 | 394 | 396 | 7 |
| CB183 | 396 | 45.264 | 394 | 396 | 7 |
| CB180 | 396 | 48.846 | 394 | 396 | 7 |
| CB170 | 396 | 50.684 | 394 | 396 | 7 |
| 13C-CB189 | 406 | 53.182 | 406 | 408 | 7 |
| CB189* | 396 | 53.196 | 394 | 396 | 7 |
| 13C - CB194 | 442 | 57.504 | 442 | 440 | 8 |
| CB198 | 430 | 50.347 | 430 | 428 | 8 |
| CB194 | 430 | 57.514 | 430 | 428 | 8 |
| *mono-ortho CBs, ** to be checked |

Next to conventional GC-MS, the use of ion-trap with its tandem MS² option – i.e., yielding improved selectivity – is receiving increased attention. The use of GC-ITMS provides a less expensive alternative to high-resolution mass spectrometry (HRMS), which is commonly used to determine PCDD/F and, as such, also ideally suited for all CB groups (Eppe et al., 2004).

| Table 2 Possible target and qualifier ions for non-ortho CBs, including labelled internal standards |
| --- |
| CB | Target ion (m/z) | Qualifier (m/z) | Qualifier (m/z) | Qualifier (m/z) |
| 13CB81 | 304 | 302 | NA | NA |
| CB81 | 292 | 290 | 220 | 222 |
| 13CB77 | 304 | 302 | NA | NA |
| CB77 | 292 | 290 | 220 | 222 |
| 13CB126 | 338 | 340 | NA | NA |
| CB126 | 326 | 328 | 254 | 256 |
| 13CB169 | 372 | 374 | NA | NA |
| CB169 | 360 | 362 | 218 | 220 |

### 8.5	Separation, identification and quantification

When using GC-ECD and to a certain extent GC-MS, two columns with stationary phases of different polarity should be used, as column-specific coelution of the target CBs with other CBs or organochlorine compounds occurs. The temperature programme must be optimised for each column to achieve sufficient separation of the CB congeners to be determined. An isothermal period in the programme around 200-220°C of approximately 30 minutes is recommended. Care should be taken that CBs of interest do not co-elute with other CB congeners (for example CB28 and CB31). When using GC-ECD, compounds are identified by their retention time in relation to the standard solutions under the same conditions. Therefore GC conditions should be constant. Shifts in retention times should be checked for different areas of the chromatogram by identifying characteristic, unmistakable peaks (e.g. originating from the internal standard or higher concentrated CBs such as CB153 and CB138. When using a GC-MS system, the molecular mass or characteristic mass fragments or the ratio of two ion masses can be used to confirm the identity of separated CBs. Since calibration curves of most CBs normally non-linear when using a GC-ECD, but should be linear for GC-MS, a multilevel calibration of at least five concentrations is recommended. The calibration curve must be controlled and the best fit must be applied for the relevant concentration range. Otherwise, one should strive to work in the linear range of the detector must. Analysis of the calibration solutions should be carried out in a mode encompassing the concentrations of the sample solutions (or alternatively by injecting matrix-containing sample solutions and matrix-free standard solutions distributed regularly over the series). When the chromatogram is processed with the help of automated integrators the baseline is not always set unambiguously and always needs to be inspected visually. When using GC-ECD, peak height is preferable to peak area for quantification purposes. From the two columns of different polarity the more reliable result should be reported.

Recent years have witnessed the emergence of so-called comprehensive two-dimensional gas chromatography (GC x GC) – a technique that can be used to considerably improve analyte/matrix as well as analyte/analyte separation. Briefly, a non-polar x (semi-)polar column combination is used, with a conventional 25-30 m long first-dimension, and a short, 0.5-1 m long, second-dimension column. The columns are connected via an interface called a modulator. The latter device serves to trap, and focus, each subsequent small effluent fraction from the first-dimension column and, then, to launch it into the second column. The main advantages of the comprehensive approach are that the entire sample (and not one or a few heart-cuts, as in conventional multidimensional GC (Dallüge et al. 2003) is subjected to a completely different separation, that the two-dimensional separation does not take any more time than the first-dimension run, and that the re-focusing in the modulator helps to increase analyte detectability. The most interesting additional benefit for CBs is, that structurally related as CB congeners show up as so-called ordered structures in the two-dimensional GC x GC plane. The very rapid second-dimension separation requires the use of detectors with sufficiently high data acquisition rates. Initially, only flame ionisation detectors could meet this requirement. However, today there is also a micro-ECD on the market that is widely used for GC x GC-µECD of halogenated compound classes. Even more importantly, analyte identification can be performed by using a time-of-flight mass spectrometer [Dallüge et al., 2002] or – with a modest loss of performance, but at a much lower price – one of the very recently introduced rapid-scanning quadrupole mass spectrometers [Korytar et al., 2005; Adachour et al., 2005). So far, the use of GC x GC has been limited to qualitative applications and still seems inappropriate for routine quantification of analytes.

## 9.	Quality assurance

Planners of monitoring programmes must decide on the accuracy, precision, repeatability, and limits of detection and determination which they consider acceptable. The limit of determination should depend on the purpose of the investigation. A limit of at least 0.1 ng/g (dry weight, fraction < 2mm) should be reached, but detection limits of 0.01 ng/g are achievable nowadays. The method for calculating the limit of determination should reflect QUASIMEME advice (Topping et al., 1992). The limit of determination that can be achieved depends on the blank, on the sample matrix, on concentrations of interfering compounds and on the mass of sediment taken for analysis. References of relevance to QA procedures include HELCOM, 1988; QUASIMEME 1992; Wells et al., 1992; Oehlenschläger, 1994; Smedes et al., 1994 and ICES, 1996.

### 9.1	System performance

The performance of the GC system should be monitored by regularly checking the resolution of two closely eluting CBs. A decrease in resolution points to deteriorating GC conditions. The signal-to-noise ratio yields information on the condition of the detector. A dirty ECD detector or MS ion source can be recognised by the presence of an elevated background signal together with a reduced signal-to-noise ratio. Chromatograms should be inspected visually by a trained operator.

### 9.2	Recovery

The recovery should be checked and reported. One method is to add an internal (recovery) standard to each sample immediately before extraction and a second (quantification) standard immediately prior to injection. If smaller losses occur in extraction or clean-up or solutions are concentrated by uncontrolled evaporation of solvents (e.g. because vials are not perfectly capped) losses can be compensated for by normalisation. If major losses are recognised and the reasons are unknown, the results should not be reported, as recoveries are likely to be irreproducible. A control for the recovery standard is recommended by adding the calibration solution to a real sample. Recoveries should be between 70 and 120%, if not, samples should be repeated.

## 10.	References

Adahchour, M., Brandt, M., Baier, H-U., Vreuls, R.J.J., Max Batenburg, A.and Brinkman, U.A.Th. 2005 Comprehensive two-dimensional gas chromatography coupled to a rapid-scanning quadrupole mass spectrometer: principles and applications J. Chromatogr. A1067: 245-254

Alcock, R.E., Halsall, C.J., Harris, C.A., Johnston, A.E., Lead, W.A., Sanders, G. and Jones, K.C., 1994. Contamination of environmental samples prepared for PCB analysis. Environ. Sci. Technol. 28: 1838-1842.

Balfanz, E., Fuchs, J. and Kieper, H., 1993. Sampling and analysis of polychlorinated biphenyls (PCB) in indoor air due to permanently elastic sealants. Chemosphere 26: 871-880,

Bowadt, S. and Johannsson, B., 1994. Analysis of PCBs in sulfur-containing sediments by off-line supercritical fluid extraction and HRGC-ECD. Anal. Chem. 66: 667-673.

Dallüge, J., Beens, J. and Brinkman, U.A.Th. 2003 Comprehensive two-dimensional gas chromatography: a powerful and versatile analytical tool J. Chromatogr., 1000: 69-108.

Dallüge, J., Vreuls, R.J.J., Beens ,J. and Brinkman, U.A.Th. 2002b Optimization and characterization of comprehensive two-dimensional gas chromatography with time-of-flight mass spectrometric detection (GC×GC-TOF MS) J. Sep. Sci., 25: 201-214.

de Boer, J. and Wells, D.E. 1996. The 1994 QUASIMEME Laboratory performance studies: chlorobiphenyls and organochlorine pesticides in fish and sediment. Mar. Pollut. Bull. 32: 654-666.

Eganhouse, R.P., 1986. Long-chain alkylbenzenes: their analytical chemistry, environmental occurrence and fate; Intern. J. Environ. Anal. Chem. 26: 241-263.

Eppe, G., Focant, J.F., Pirard, C. and De Pauw, E. 2004 PTV-LV-GC/MS/MS as screening and complementary method to HRMS for the monitoring of dioxin levels in food and feed Talanta 63: 1135–1146

Focant, J.-F. and De Pauw, E. 2002. Fast automated extraction and clean-up of biological fluids for polychlorinated dibenzo-p-dioxins, dibenzofurans and coplanar polychlorinated biphenyls analysisJ. Chromatogr. B, 776 :199-212.

Japenga, J., Wagenaar, W.J., Smedes, F. and Salomons, W. 1987. A new rapid clean-up procedure for the simultaneous determination of different groups of organic micropollutants in sediments; application in two European estuarine sediment studies; Environ. Techn. Lett. 8: 9-20,

Jensen, S., Renbey, L. and Reutergårdh, L., 1977. Residue analysis of sediment and sewage sludge for organochlorines in the presence of elemental sulfur. Anal. Chem. 49: 316-318.

Korytar, P., Parera, J., Leonards, P.E.G., de Boer, J. and Brinkman, U.ATh. 2005 Quadrupole mass spectrometer operating in the electron-capture negative ion mode as detector for comprehensive two-dimensional gas chromatographyJ. Chromatogr. A 1067: 255-264

Larsen, B., Cont, M., Montanarella, L. and Platzner N. 1995 Enhanced selectivity in the analysis of chlorobiphenyls on a carborane phenylmethylsiloxane copolymer gas chromatography phase (HT-8) J. Chromatogr. A 708:115-129

Lee, H.B. and Peart, T.E., 1994. Optimization of supercritical carbon dioxide extraction for polychlorinated biphenyls and chlorinated benzenes from sediments. J. Chromatogr. 663: 87-95.

Richter, B.E., Ezzell, J.L., Felix, D., Roberts, K.A. and Later, D.W., 1995. An accelerated solvent extraction system for the rapid preparation of environmental organic compounds in soil. American Laboratory 2: 24-28.

Roose, P. and Brinkman, U. A.Th., 2005 Monitoring organic microcontaminants in the marine environment: principles, programmes and progress TrAC, 24: 897-926

Smedes, F. and de Boer, J., 1997. Determination of chlorobiphenyls in sediments – analytical methods TRAC 16: 503-517.

Smedes, F. and de Boer, J., 1994. Guidelines for the determination of chlorobiphenyls in sediments. Quimica Analytica 13: 100-108.

Sporring, S., Wiberg, K., Bjorklund, E. and Haglund, P. 2003. Combined extraction/Clean-up strategies for fast determination of PCDD/Fs and WHO PCBs in food and feed samples using accelerated solvent extraction, Organohalogen Compounds, 60-65, Dioxin 2003, Boston.

Tong, P. and Imagawa, T., 1995. Optimization of supercritical fluid extraction for polychlorinated biphenyls from sediments. Analytica Chimica Acta 310: 93-100,

Topping, G., Wells, D.E. and Griepink, B., 1992. Guidelines on quality assurance for marine monitoring. DG XII. Measurements and testing programme, Rue de la Loi 200, PO Box 1049, Brussels.

Wade, T.L. and Cantillo, A.Y., 1996. Use of standards and reference materials in the measurement of chlorinated hydrocarbon residues – Chemistry Workbook; Integrated Ocean Global Station System (IGOSS) Plan and Implementation Programme 1996-2003, IOC Technical Series 45, UNESCO.

# Technical Annex 3: Determination of parent and alkylated PAHs in sediments

## 1.	Introduction

Polycyclic aromatic hydrocarbons (PAHs) consist of a variable number of fused aromatic rings. By definition, PAHs contain at least two fused rings. PAHs arise from incomplete combustion processes and from both natural and anthropogenic sources, although the latter generally predominate. PAHs are also found in oil and oil products, and these include a wide range of alkylated PAHs formed as a result of diagenetic processes, whereas PAHs from combustion sources comprise mainly parent (non-alkylated) PAHs. Metabolites of some of the high MW PAHs are potent animal and human carcinogens – benzo[a]pyrene is the prime example. Carcinogenic activity is closely related to structure. Benzo[e]pyrene and the four benzofluoranthene isomers all have a molecular weight of 252 Da, however they are much less potent than benzo[a]pyrene. Less is known about toxicity of alkylated PAHs. However, one study has demonstrated that alkylated PAHs may have increased toxicity compared to the parent compound (Marvanova et al., 2008).

This Technical Annex provides advice on the analysis of parent and alkylated polycyclic aromatic hydrocarbons (PAH) in total sediment, sieved fractions, and suspended particulate matter. The analysis of in sediments generally includes extraction with organic solvents, clean-up, high performance liquid chromatography (HPLC) with ultraviolet or fluorescence detection or gas chromatographic (GC) separation with flame ionisation (FID) or mass spectrometric (MS) detection (e.g., Fetzer and Vo-Dinh, 1989; Wise et al., 1995). All steps in the procedure are susceptible to insufficient recovery and/or contamination. Quality control procedures are recommended in order to check the performance of the method. These guidelines are intended to encourage and assist analytical chemists to critically reconsider their methods and to improve their procedures and/or the associated quality control measures, where necessary.

These guidelines are not intended as a complete laboratory manual. If necessary, guidance should be sought from highly specialised research laboratories. Whichever procedure is adopted, each laboratory must demonstrate the validity of each step of its procedure. In addition, the use of a second (and different method), carried out concurrently to the routine procedure, is recommended for validation. The analyses must be carried out by experienced staff.

## 2.	Pre-treatment and Storage

### 2.1 	Contamination

Sample contamination may occur during sampling, sample handling, pre-treatment and analysis, due to the environment, the containers or packing materials used, the instruments used during sample preparation, and from the solvents and reagents used during the analytical procedures. Controlled conditions are therefore required for all procedures. In the case of PAHs, particular care must be taken to avoid contamination at sea. On ships there are multiple sources of PAHs, such as the oils used for fuel and lubrication, and the exhaust from the ship’s engines. It is important that the likely sources of contamination are identified and steps taken to preclude sample handling in areas where contamination can occur. A ship is a working vessel and there can always be procedures occurring as a result of the day-to-day operations (deck cleaning, automatic overboard bilge discharges, etc.) that could affect the sampling process. It is advisable to collect samples of the ship’s fuel, bilge water, and oils and greases used on winches, etc., which can be used as fingerprinting samples at a later date, if there are suspicions of contamination in particular instances.

Freeze-drying of sediment samples may be a source of contamination due to the back-streaming of oil vapours from the rotary vacuum pumps. Furthermore drying the samples may result in losses of the lower molecular weight, more volatile PAHs through evaporation (Law et al., 1994).

Plastic materials must not be used for sampling and storage owing to possible adsorption of the PAHs onto the container material. Samples should be transported in closed containers; a temperature of 25°C should not be exceeded. If the samples are not analysed within 48 hours after sampling, they must be stored at 4°C (short-term storage). Storage over several months is only possible for frozen, (i.e., below (20°C) and/or dried samples (Law and de Boer, 1995).

As PAHs are sensitive to photo-degradation, exposure to direct sunlight or other strong light must be avoided during storage of the samples as well as during all steps of sample preparation, including extraction and storage of the extracts (Law and Biscaya, 1994). The use of amber glassware is strongly recommended.

### 2.2	Blanks

The procedural detection limit is determined by the blank value. In order to keep the blank value as low as possible, PAHs or other interfering compounds should be removed from all glassware, solvents, chemicals, adsorption materials, etc., that are used in the analysis. The following procedures should be used:

- glassware should be thoroughly washed with detergents and rinsed with an organic solvent prior to use. Further cleaning of the glassware, other than calibrated instruments, can be carried out by heating at temperatures >250°C;

- all solvents should be checked for impurities by concentrating the amount normally used to 10% of the normal end volume. This concentrate can then be analysed by GC and should not contain significant amounts of PAHs or other interfering compounds;

- all chemicals and adsorption materials should be checked for impurities and purified (e.g., by heating or extraction), if necessary. Soxhlet thimbles should be pre-extracted. Glassfibre thimbles are preferred over paper thimbles. Alternatively, full glass Soxhlet thimbles, with a G1 glass filter at the bottom, can be used. The storage of these supercleaned materials for a long period is not recommended, as laboratory air can contain PAHs that will be absorbed by these materials. Blank values occurring despite all the above-mentioned precautions may be due to contamination from the air. The most volatile compounds will usually show the highest blanks (Gremm and Frimmel, 1990).

- Glassfibre filters used for the PLE (pressurised liquid extraction) method should be heated at 450°C overnight.

## 3.	Pre-treatment

Before taking a subsample for analysis, the samples should be sufficiently homogenised. The intake mass is dependent on the expected concentrations. For the marine environment, as a rule of thumb, the mass of sample taken for analysis can be equal to an amount representing 50–100 mg organic carbon. PAHs can be extracted from wet or dried samples. However, storage, homogenisation and extraction are much easier when the samples are dry. Care must be taken if freeze-drying samples for the reasons described in 2.1. Possible losses and contamination have to be checked. Contamination can be checked by exposing 1–2 g C18-bonded silica to drying conditions and analysing it as a sample (clean-up can be omitted) (Smedes and de Boer, 1997). Contamination during freeze-drying can be reduced by placing a lid, with a hole about 3 mm in diameter, on the sample container, while evaporation of the water is not hindered.

## 4.	Extraction and clean-up

Exposure to light must be kept to a minimum during extraction and further handling of the extracts (Law and Biscaya, 1994). Since photo-degradation occurs more rapidly in the absence of a sample matrix, first of all the standard solution used for checking the recovery of the procedure will be affected, allowing a proper detection of the influence of light. The most photo-sensitive PAH is benzo[a]pyrene, followed by anthracene.

### 4.1	Wet sediments

Wet sediments should be extracted using a stepwise procedure by mixing with organic solvents. Extraction is enhanced by shaking, Ultra Turrax mixing, ball mill tumbling or ultrasonic treatment. Water-miscible solvents, such as acetone, methanol, or acetonitrile, are used in the first step. The extraction efficiency of the first step will be low as there is a considerable amount of water in the liquid phase. For sufficient extraction, at least three subsequent extractions are needed. The contact time with the solvent should be sufficient to complete the desorption of the PAHs out of the sediment pores. Heating by microwave or refluxing will accelerate this process.

When utilising a Soxhlet, the extraction of wet sediments should be conducted in two steps. First, a polar solvent, such as acetone, is used to extract the water from the sediment, then the flask is replaced and the extraction continued with a less polar solvent or solvent mixture (e.g., acetone/hexane). Thereafter, the extracts must be combined. For both batch and Soxhlet extraction, water must be added to the combined extracts and the PAHs must be extracted to a non-polar solvent.

Extraction of wet sediments by pressurised liquid extraction (PLE) is a more recent method, requiring less solvent and time for the extraction process. Wet sediment is dried by mixing with sufficient anhydrous sodium sulphate to form a free flowing mixture and is packed into stainless steel tubes for extraction. Extractions are performed at elevated temperatures and pressures. Various extracting solvents (DCM, acetone, methanol, acetonitrile, hexane, DCM: acetone [1:1], hexane:acetone [1:1] were investigated by Saim et al. (1998) and as long as the solvent polarity was >1.89 (i.e. all except hexane) no significant differences were noted. Extraction temperatures can be manipulated to suit the analytical requirements.

### 4.2	Dry sediments

Although all the methods mentioned above can also be used for dried sediments, Soxhlet extraction is the most frequently applied technique to extract PAHs from dried sediments. Medium-polar solvents such as dichloromethane or toluene, or mixtures of polar and non-polar solvents can be used. When using dichloromethane, losses of PAHs have occasionally been observed (Baker, 1993). Although toluene is not favoured because of its high boiling point, it should be chosen as solvent when it is expected that sediment samples contain soot particles. For routine marine samples, the use of a mixture of a polar and a non-polar solvent (e.g., acetone/hexane (1/3, v/v)) is recommended.

The extraction can be carried out with a regular or a hot Soxhlet (Smedes and de Boer, 1997). A sufficient number of extraction cycles must be performed (approximately 8 hours for the hot Soxhlet and 12 to 24 hours for normal Soxhlet). The extraction efficiency has to be checked for different types of sediments by a second extraction step. These extracts should be analysed separately.

PLE can also be used for the extraction of freeze-dried sediments. Instead of anhydrous sodium sulphate to dry the sediment the sample is mixed with a clean sand or diatomaceous earth to increase the surface area of the sediment. The same solvent mixtures detailed above for wet sediment extraction can be used for the dry sediments. Supercritical fluid extraction (SFE) has also been used for the extraction of organic compounds. The optimum conditions may vary for specific sediments (e.g., Dean et al., 1995; Reimer and Suarez, 1995).

### 4.3	Clean-up

The crude extract requires a clean-up to remove the many other compounds which are co-extracted (e.g., Wise et al., 1995). Due to chlorophyll-like compounds extracted from the sediment, the raw extract will be coloured and also contain sulphur and sulphur-containing compounds, oil, and many other natural and anthropogenic compounds. Selection of the appropriate clean-up method depends on the subsequent instrumental method to be used for analysis. Prior to the clean-up, the sample must be concentrated and any polar solvents used in the extraction step should be removed. The recommended acetone/hexane mixture will end in hexane when evaporated because of the formation of an azeotrope. Evaporation can be done either using a rotary evaporator or parallel evaporating systems such as Syncore. Especially for the rotary evaporator, care should be taken to stop the evaporation in time at about 5 ml. For further reducing the volume, a gentle stream of nitrogen should be applied. The extract should never be evaporated to dryness. The drawback of the rotary evaporator is that more volatile components may be lost during the nitrogen drying stage whilst the heavier components stick to the glassware. The Buchi Syncore Analyst also uses glass tubes but the system is sealed, avoiding contamination from the lab air during evaporation. It does not use a nitrogen stream, thus reducing the loss of volatiles and if the flushback module is fitted the sides of the tubes are rinsed automatically thus reducing the loss of the heavier components.

For removing more polar interferences from the extract, deactivated aluminium oxide (10 % water), eluted with hexane, as well as silica or modified silica columns, e.g., aminopropylsilane, eluted with toluene or a semipolar solvent mixture such as hexane/acetone (95/5, v/v) or hexane/dichloromethane (98/2, v/v), can be used. Gel permeation chromatography (GPC) can be used to remove high molecular weight material and sulphur from the extracts.

For GC-MS analysis, sulphur should be removed from the extracts, in order to protect the detector. This can be achieved by the addition of copper powder, wire or gauze during or after Soxhlet extraction. Copper can also be added to the PLE cell, however, this is not always sufficient and further treatment with copper may be required following extraction. Ultrasonic treatment might improve the removal of sulphur. As an alternative to copper, other methods can be used (Smedes and de Boer, 1997).

Aliphatic hydrocarbons originating from mineral oil interfere with the flame ionisation detection. They can be removed from the extract by fractionation over columns filled with activated aluminium oxide or silica. The first fraction eluting with hexane is rejected. The PAHs elute in a second fraction with a more polar solvent, e.g., diethylether or acetone/hexane. When applying fractionation, the elution pattern has to be checked frequently. This should be carried out in the presence of sample matrix, as that can partially deactivate the clean-up column, resulting in earlier elution of the PAHs than in a standard solution.

Gel permeation chromatography (GPC) and high performance liquid chromatography (HPLC) based methods are also employed (Nondek et al., 1993; Nyman et al., 1993; Perfetti et al., 1992). The major advantages of using HPLC-based clean-up methods are their ease of automation and reproducibility.

Isocratic HPLC fractionation of the extract can be used to give separate aliphatic and aromatic fractions (Webster et al., 2002). A metal free silica column is used for the clean up/fractionation as dibenzothiophene (DBT) can be retained on ordinary silica columns. The split time is determined by injection of a solution containing representative aliphatic and PAH standards. The silica column is regenerated by a cleaning cycle after a set number of samples. If PAHs are to be analysed by HPLC and there are significant amounts of alkylated PAHs present then the removal of the alkylated PAHs may be difficult.

### 4.4	Pre-concentration

In the methods suggested above, all result in an extract in which non-polar solvents are dominant. The sample volume should be 2 ml or greater to avoid errors when transferring solvents during the clean-up stages. Syncore parallel evaporators can be used with careful optimisation of the evaporation parameters. Evaporation of solvents using a rotary-film evaporator should be performed at low temperature (water bath temperature of 30(C or lower) and under controlled pressure conditions, in order to prevent losses of the more volatile PAHs such as naphthalenes. For the same reasons, evaporation to dryness must be avoided. When reducing the sample to final volume, solvents can be removed by a stream of clean nitrogen gas. Suitable solvents for injection into the GC-MS include pentane, hexane, heptane, iso-hexane, and iso-octane.

## 5.	Selection of PAHs to be determined

The choice of PAHs to be analysed is not straightforward, both because of differences in the range of PAH compounds resulting from combustion processes and from oil and oil products, and also because the aims of specific monitoring programmes can require the analysis of different representative groups of compounds. PAHs arising from combustion processes are predominantly parent (unsubstituted) compounds, whereas oil and its products contain a much wider range of alkylated compounds in addition to the parent PAHs. This has implications for the analytical determination, as both HPLC-based and GC-based techniques are adequate for the determination of a limited range of parent PAHs in samples influenced by combustion processes, whereas in areas of significant oil contamination and following oil spills only GC-MS has sufficient selectivity to determine the full range of PAHs present. The availability of pure individual PAHs for the preparation of standards is problematic and limits both the choice of determinands and, to some degree, the quantification procedures that can be used. The availability of reference materials certified for PAHs is also rather limited. A list of target parent and alkylated PAHs suitable for environmental monitoring is given in Table A2.1, and this differs both from the list previously developed within ICES specifically for intercomparison purposes, and the historic list of Borneff. In both cases, the lists were concentrated on a subset of parent (predominantly combustion-derived) PAHs due to analytical limitations. This approach completely neglects the determination of alkylated PAHs, which allows the interpretation of PAH accumulation from multiple sources including those due to oil inputs. It will not be necessary for all of these PAH compounds and groups to be analysed in all cases, but an appropriate selection can be made from this list depending on the specific aims of the monitoring programme to be undertaken.

Table A2.1 Compounds of interest for environmental monitoring for which the guidelines apply. For compounds in italics standards are not available for any isomers in this group.

| Compound | MW | Compound | MW |
| --- | --- | --- | --- |
| Naphthalene | 128 | Benzo[b]naphtho[2,3-d]thiophene | 234 |
| C1-Naphthalenes | 142 | C1-benzonaphthothiophenes | 248 |
| C2-Naphthalenes | 156 | C2-Fluoranthenes/Pyrenes | 230 |
| C3-Naphthalenes | 170 | Benz[a]anthracene | 228 |
| C4-Naphthalenes | 184 | Chrysene | 228 |
| Acenaphthylene | 152 | 2,3-Benzanthracene | 228 |
| Acenaphthene | 154 | C1- Benz[a]anthracene/ Chrysene | 242 |
| Biphenyl | 154 | C2- Benz[a]anthracene/ Chrysene | 256 |
| Fluorene | 166 | C3- Benz[a]anthracene/ Chrysene | 270 |
| C1-Fluorenes | 180 | Benzo[a]fluoranthene | 252 |
| C2-Fluorenes | 194 | Benzo[b]fluoranthene | 252 |
| C3-Fluorenes | 208 | Benzo[j]fluoranthene | 252 |
| Dibenzothiophene | 184 | Benzo[k]fluoranthene | 252 |
| C1-Dibenzothiophenes | 198 | Benzo[e]pyrene | 252 |
| C2-Dibenzothiophenes | 212 | Benzo[a]pyrene | 252 |
| C3-Dibenzothiophenes | 226 | Perylene | 252 |
| Phenanthrene | 178 | Indeno[1,2,3-cd]pyrene | 276 |
| Anthracene | 178 | Benzo[ghi]perylene | 276 |
| C1-Phenanthrenes/Anthracenes | 192 | Dibenz[a,h]anthracene | 278 |
| C2-Phenanthrenes/Anthracenes | 206 | Benzo[k]fluoranthene | 252 |
| C3-Phenanthrenes/Anthracenes | 220 | Cyclopenta[cd]pyrene | 226 |
| Fluoranthene | 202 | Naphtho[2,1-a]pyrene | 302 |
| Pyrene | 202 | Dibenz[a,e]pyrene | 302 |
| C1-Fluoranthenes/Pyrenes | 216 | Dibenz[a,i]pyrene | 302 |
| Benzo[b]naphtho[2,1-d]thiophene | 234 | Dibenz[a,l]pyrene | 302 |
| Benzo[b]naphtho[1,2-d]thiophene | 234 | Dibenz[a,h]pyrene | 302 |

## 6. 	Instrumental determination of PAHs

The greatest sensitivity and selectivity in routine analysis for parent PAH is achieved by combining HPLC with fluorescence detection (HPLC-UVF) or capillary gas chromatography with mass spectrometry (GC-MS). However, for the analysis of parent and alkylated PAHs GC-MS is the method of choice. In terms of flexibility, GC-MS is the most capable technique, as in principle it does not limit the selection of determinands in any way, while HPLC is suited only to the analysis of parent PAHs. In the past, analyses have also been conducted using HPLC with UV-absorption detection and GC with flame-ionisation detection, but neither can be recommended for alkylated PAHs because of their relatively poor selectivity. Both in terms of the initial capital cost of the instrumentation, and the cost per sample analysed, HPLC-UVF is cheaper than GC-MS. With the advent of high-sensitivity benchtop GC-MS systems, however, this cost advantage is now not as marked as in the past, and the additional information regarding sources available makes GC-MS the method of choice.

Limits of determination within the range of 0.05 µg kg–1 dry weight for individual PAH compounds should be achievable by GC-MS.

### 6.1	GC-MS

The three injection modes commonly used are splitless, on-column and PTV (programmed temperature vaporiser). Automatic sample injection should be used wherever possible to improve the reproducibility of injection and the precision of the overall method. If splitless injection is used, the liner should be of sufficient capacity to contain the injected solvent volume after evaporation. For PAH analysis, the cleanliness of the liner is also very important if adsorption effects and discrimination are to be avoided, and the analytical column should not contain active sites to which PAHs can be adsorbed. Helium is the preferred carrier gas, and only capillary columns should be used. Because of the wide boiling range of the PAHs to be determined and the surface-active properties of the higher PAHs, the preferred column length is 25–50 m, with an internal diameter of 0.15 mm to 0.3 mm. Film thicknesses of 0.2 µm to 1 µm are generally used; this choice has little impact on critical resolution, but thicker films are often used when one-ring aromatic compounds are to be determined alongside PAHs, or where a high sample loading is needed. No stationary phase has been found on which all PAH isomers can be resolved; the most commonly used stationary phase for PAH analysis is 5% phenyl methylsilicone (DB-5 or equivalent). This will not, however, resolve critical isomers such as benzo[b], [j] and [k]fluoranthenes, or chrysene from triphenylene. Chrysene and triphenylene can be separated on other columns, if necessary such as a 60 m non-polar column such a DB5MS. For PAHs there is no sensitivity gain from the use of chemical ionisation (either positive or negative ion), so analyses are usually conducted in electron-impact mode at 70eV. Quadrupole instruments are used in single ion monitoring to achieve greater sensitivity. The masses to be detected are programmed to change during the analysis as different PAHs elute from the capillary column. In SIM the molecular ion is used for quantification. Qualifier ions can be used to confirm identification but they are limited for PAHs. Triple quadropole mass spectrometry can also be used and will give greater sensitivity. Some instruments such as ion-trap and time of flight mass spectrometers exhibit the same sensitivity in both modes, so full scan spectra can be used for quantification.

An example of mass spectrometer operating conditions in SIM mode is given in Table A2.2. The ions are grouped and screened within GC time windows of the compounds. In general the number of ions should not be greater than 20. The dwell time is an important parameter and should be close for each ion. For GC capillary column analysis a dwell time should not be shorter than 20 ms, while a sum of a dwell in each retention time windows should not be greater than 500 ms. An example of conditions that can be used along with dwell times are shown in Table A2.2.

Table A.2.2	Example of operational conditions for the GC-MS analysis of parent and alkylated PAHs.

| Group N° | Retention time (min) | Dwell time (ms) | Ions in group (AMU) |
| --- | --- | --- | --- |
| 1 | 8.00 | 100 | 128 | 136 | 142 |  |  |  |
| 2 | 21.00 | 100 | 152 | 156 | 160 |  |  |  |
| 3 | 23.70 | 100 | 154 | 164 | 168 | 170 |  |  |
| 4 | 26.80 | 80 | 166 | 176 | 180 | 182 | 184 |  |
| 5 | 31.60 | 80 | 178 | 184 | 188 | 194 | 196 | 198 |
| 6 | 35.30 | 100 | 192 | 198 |  |  |  |  |
| 7 | 36.60 | 100 | 206 | 212 |  |  |  |  |
| 8 | 39.40 | 80 | 202 | 206 | 212 | 216 | 220 | 226 |
| 9 | 44.65 | 100 | 216 | 220 |  |  |  |  |
| 10 | 45.30 | 100 | 226 | 228 | 230 | 234 | 240 |  |
| 11 | 48.58 | 90 | 242 | 248 |  |  |  |  |
| 12 | 52.00 | 100 | 252 | 256 | 264 | 266 |  |  |
| 13 | 59.00 | 100 | 266 | 276 | 278 | 288 |  |  |

Alkylated homologues of PAHs (C1–C4), mainly associated with petrogenic sources, contain a number of different isomers that can give very complex but distinct distribution profiles when analysed by GC-MS. Integration of each isomer separately is difficult for most alkylated PAHs. 1- and 2-Methyl naphthalene give well resolved peaks that can be quantified separately. C1-Phenanthrene/anthracene gives five distinct peaks corresponding to 3-methyl phenanthrene, 2-methyl phenanthrene, 2-methyl anthracene, 4- and 9-methyl phenanthrene and 1-methyl phenanthrene. These may be integrated as a group or as separate isomers. For all other alkylated PAHs the area for all isomers may be summed and quantified against a single representative isomer. This method will, however, lead to an overestimation of the concentration as may include non alkylated PAHs. Examples of integrations of both parent and alkylated PAHs are shown in Appendix 1.

## 7.	Calibration and quantification

### 7.1	Standards

The availability of pure PAH compounds are limited. Although most of the parent compounds can be purchased as pure compounds, the range of possible alkyl-substituted PAHs is vast and only a limited selection of them can be obtained. PAH standards are available for at least one isomer of most alkyl group listed in Table A2.1. A range of deuterated PAHs (normally 5 to 7) should be used as internal standards to cover the range of PAHs being analysed in samples. A range of fully-deuterated parent PAHs is available for use as standards in PAH analysis. Suitable standards could range from d8-naphthalene to d14-dibenz[a,h]anthracene. Crystalline PAHs of known purity should be used for the preparation of calibration standards. If the quality of the standard materials is not guaranteed by the producer or supplier (as for certified reference materials), then it should be checked by GC-MS analysis. Solid standards should be weighed to a precision of 10–5 grams. Calibration standards should be stored in the dark because some PAHs are photosensitive, and ideally solutions to be stored should be sealed in amber glass ampoules or sealed GC vials. Otherwise, they can be stored in a refrigerator in stoppered measuring cylinders or flasks that are gas tight to avoid evaporation of the solvent during storage.

### 7.2	Calibration

Multilevel calibration with at least five calibration levels is preferred to adequately define the calibration curve. In general, GC-MS calibration is linear over a considerable concentration range but may exhibit a change of slope at very low concentrations. Quantification should be conducted in the linear region of the calibration curve. A separate calibration curve may be used where sample concentrations are very low. An internal standard method should be employed, using a range of deuterated PAHs as internal standards.

### 7.3	Recovery

The recovery of analytes should be checked and reported. Given the wide boiling range of the PAHs to be determined, the recovery may vary with compound group, from the volatile PAHs of low molecular weight to the larger compounds. Deuterated standards can be added in two groups: those to be used for quantification are added at the start of the analytical procedure, whilst those from which the absolute recovery will be assessed are added prior to GC-MS injection. This allows the recovery to be calculated.

## 8.	Analytical quality control

Planners of monitoring programmes must decide on the accuracy, precision, repeatability, and limits of detection and determination, which they consider acceptable. Achievable limits of determination for each individual component using GC-MS are 0.05 µg kg(1 dry weight.

Further information on analytical quality control procedures for PAHs can be found elsewhere (Law and de Boer, 1995). A procedural blank should be measured with each sample batch, and should be prepared simultaneously using the same chemical reagents and solvents as for the samples. Its purpose is to indicate sample contamination by interfering compounds, which will result in errors in quantification. The procedural blank is also very important in the calculation of limits of detection and limits of quantification for the analytical method. In addition, a laboratory reference material (LRM) should be analysed within each sample batch. The LRM must be homogeneous and well characterised for the determinands of interest within the analytical laboratory. Ideally, stability tests should have been undertaken to show that the LRM yields consistent results over time. The LRM should be of the same matrix type (e.g., liver, muscle, mussel tissue) as the samples, and the determinand concentrations should be in the same range as those in the samples. Realistically, and given the wide range of PAH concentrations encountered, particularly in oil spill investigations, this is bound to involve some compromise. The data produced for the LRM in successive sample batches should be used to prepare control charts. It is also useful to analyse the LRM in duplicate from time to time to check within-batch analytical variability. The analysis of an LRM is primarily intended as a check that the analytical method is under control and yields acceptable precision, but a certified reference material (CRM) of a similar matrix should be analysed periodically in order to check the method bias. A marine sediment (NIST SRM 1941b) is available, with certified values for 24 PAHs and a further 44 as reference (non-certified) values. At regular intervals, the laboratory should participate in an intercomparison or proficiency exercise in which samples are circulated without knowledge of the determinand concentrations, in order to provide an independent check on performance.

## 9.	Data reporting

The calculation of results and the reporting of data can represent major sources of error, as has been shown in intercomparison studies for PAHs. Control procedures should be established in order to ensure that data are correct and to obviate transcription errors. Data stored on databases should be checked and validated, and checks are also necessary when data are transferred between databases. Data should be reported in accordance with the latest ICES reporting formats.

## 10.	References

Baker, J. T. 1993. Baker communication ‘Baker Gramm’: Dichloromethane.

Dean, J. R., Barnabas, I. J., and Fowlis, I. A. 1995. Extraction of polyaromatic hydrocarbons from highly contaminated soils: A comparison between Soxhlet, microwave and supercritical fluid extraction techniques. Analytical Proceedings, 32: 305–308.

Farrington, J. W., Davis, A. C., Livramento, J. B., Clifford, C. H., Frew, N. M., and Knap, A. 1986. ICES/IOC Intercomparison Exercises on the Determination of Petroleum Hydrocarbons in Biological Tissues (mussel homogenate) – ICES (2/HC/BT). ICES Cooperative Research Report, 141: 1–75.

Fetzer, J. C., and Vo-Dinh, T. 1989. Chemical analysis of polycyclic aromatic compounds. Wiley, New York.

Gremm, T., and Frimmel, F.H. 1990, Systematische Untersuchung zur PAK-Bestimmung mittels HPLC (Systematic investigations of PAH-determination with HPLC). (In German). Vom Wasser, 75: 171–182.

Höfler, F., Jensen, D., Ezzel, J., and Richter, B. 1995. Accelerated solvent extraction of PAHs from solid samples with subsequent HPLC analysis. GIT Spezial. Chromatographie, 1/95.

Law, R. J., and Biscaya, J. L. 1994. Polycyclic aromatic hydrocarbons (PAHs)—problems and progress in sampling, analysis and interpretation. Marine Pollution Bulletin, 29: 235–241.

Law, R. J., and de Boer, J. 1995. Quality assurance of analysis of organic compounds in marine matrices: application to analysis of chlorobiphenyls and polycyclic aromatic hydrocarbons. In Quality assurance in environmental monitoring. Ed. by P. Quevauviller. VCH Weinheim, New York.

Law, R. J., and Klungsøyr, J. 1996. The 1994 QUASIMEME laboratory-performance studies: Polycyclic aromatic hydrocarbons (PAHs) in standard solutions. Marine Pollution Bulletin, 32: 667–673.

Law, R. J., Klungsøyr, J., and Fredriks, I. L. 1998. The QUASIMEME interlaboratory testing scheme for polycyclic aromatic hydrocarbons (PAHs): assessment of the first three rounds, 1994–1995. Marine Pollution Bulletin. 35: 64–77.

Law, R. J., Klungsøyr, J., Roose, P., and de Waal, W. 1994. Marine Pollution Bulletin, 29: 217.

Marvanova, S., Vondracek, J., Pencikova, K., Trilecova, L., Krcmar, P., Topinka, J., Novakova, Z., Milcova, A., and Machala, M. 2008. Toxic effects of methylated[a]anthracenes in liver cells. Chemical Research in Toxicology. In press.

Reimer, G., and Suarez, A. 1995. Comparison of supercritical fluid extraction and Soxhlet extraction for the analysis of native polycyclic aromatic hydrocarbons in soil. Journal of Chromatography A, 699: 253–263.

Reupert, R., and Brausen, G. 1994. Bestimmung von polycyclischen aromatischen Kohlenwasserstoffen in Wasser, Sediment, Schlamm und Boden mittels Hochleistungsflüssigkeitschromatographie (Determination of polycyclic aromatic hydrocarbons in water, sludges, sediments, and soils by high performance liquid chromatography). Acta Hydrochimica Hydrobiologica, 22: 202–215.

Richter, B. E., Ezzell, J. L., Felix, D., Roberts, K. A., and Later, D. W. 1995. An accelerated solvent extraction system for the rapid preparation of environmental organic compounds in soil. American Laboratory, 27: 24–28.

Saim, N., Dean, J. R., Abdullah, P., and Zakaria, Z. 1998. ‘An experimental design approach for the determination of polycyclic aromatic hydrocarbons from highly contaminated soil using accelerated solvent extraction’, Analytical Chemistry, 70, 420-424.

Smedes, F., and de Boer, J. 1997. Chlorobiphenyls in marine sediments: guidelines for determination. ICES Techniques in Marine Environmental Sciences, No. 21.

Wise, S. A., Schantz, M. M., Benner, B. A., Hays, M. J., and Schiller, S. B. 1995. Certification of polycyclic aromatic hydrocarbons in a marine sediment standard reference material. Analytical Chemistry, 67: 1171–1178.

Webster, L., McIntosh, A. D., Megginson, C., Shepherd, N. J., and Moffat, C. F. 2002. The polycyclic aromatic hydrocarbon composition of mussels (Mytilus edulis) from Scottish coastal waters. Journal of Environmental Monitoring. 5:150-159.

## Appendix 1

Example integrations of parent and alkylated PAHs analysed by GC-MS. The standards used for the calibration of the alkylated PAHs are asterixed.

# Technical Annex 4: Determination of mono-, di- and tributyltin in sediments: Analytical methods

## 1.	Introduction

This annex is intended as a supplement to the general guidelines. It is not a complete description or a substitute for detailed analytical instructions. The annex provides guidelines for the measurement of organotins in marine sediment in monitoring programmes. Organotins can origin from several sources. In addition to the previous use of antifouling agents on ship hulls, organotins can also be emitted to the environment from their use as fungicides or stabiliserrs for plastic materials (Fent, 2006; Fent and Muller, 1991; Hoch, 2001).

Target compounds include tributyltin (TBT), dibutyltin (DBT) and monobutyltin (MBT) and also triphenyltin (TPhT), diphenyltin (DPhT), and monophenyltin (MPhT). The method can be optimised to analyse other target organotins such as octyltins.

In order to assess the analytical results of organotin compounds in sediments, covariables must be measured as potential normalisers (e.g. grain-size distribution, organic carbon content, carbonate content). For samples ‘diluted’ with sand, the sample intake size can be increased. For very sandy samples, isolation of the fine fraction by sieving might be required.

## 2.	Sampling and storage

Storage of samples is preferably done in dark glass, but containers of other materials such as polycarbonate or aluminium are also suitable. Nevertheless, possible adsorption of and contamination by organotin compounds need to be checked. Since photochemical degradation during storage has been reported for the aqueous phase (Quevauviller and Donard, 1991), the samples should be protected from light. Samples should be frozen after collection. For longer-term storage, the samples should be placed in a freezer (below −20°C) with or without freeze-drying. Under these conditions, samples can be stored for over a year (Gomez-Ariza et al., 1994).

## 3.	Transportation

Samples should be kept cool and ideally frozen below -20°C as soon as possible after collection. Sediment should be transported in closed containers at temperatures between 5-15°C, preferably below 10°C. Frozen samples should be transported in closed containers at temperatures below -20°C.

Figure A2.1. Schematic view of the most common analytical pathways (the numbers on the boxes refer to sub-sections of the text).

## 4.	Blanks and contamination

The complete analytical procedure should be checked for blank values, i.e. all solvents, chemicals, and adsorptive materials should be checked for potential sources of contamination or interference. If a contamination has been localised, measures must be taken to avoid it (e.g., cleaning, different suppliers etc.).

Although butyltin compounds are not likely to occur in the laboratory environment or in solvents or most chemicals, commercial derivatisation reagents sometimes contain significant concentrations of various (butyl)tin species. This can be solved by purchasing from other suppliers or by preparing the reagent in the laboratory.

Glassware should be treated thoroughly with concentrated HCl or HNO3 and rinsed with deionised water and acetone prior to use. Alternatively, the glassware can be heated in an oven at 450°C or above after going through the standard glassware cleaning procedure.

## 5.	Pre-treatment

Before taking a subsample for analysis, samples should be sufficiently homogenised. Especially samples from ship-docking areas can contain paint particulate matter irregularly distributed in the sample, thereby affecting the representativity of the subsample. This can only be avoided when intensive mixing techniques (ballmill) are applied. Homogeneity can be checked by analysing several subsamples (e.g., five). Sediment samples from the marine environment are more homogeneous than those from harbour areas, as contamination in marine sediments usually derives from the water phase as mediated by tidal water movements. Less polluted samples are often more homogeneous than highly polluted samples. Because the size of the sample intake for analysis is inversely related to the pollution level, the intake will be small when the risk for heterogeneity is high. For this reason, multiple analyses might be appropriate for the higher concentration levels. The sample intake is usually around 1–5 g (dry weight), but some methods do not allow the use of more than 1 g (see also section 6.5).

Most extraction methods can deal with wet as well as dry samples. Analysis of wet samples saves laborious drying procedures, but dry samples are more easily homogenised and stored. In general, butyltins can often be analysed in the same sample used to monitor other substances such as polychlorinated biphenyls (PCBs). Since mono-, di-, and tributyltin are ionic compounds and strongly sorbed to the sediment, there is no danger of losses through evaporation during air-drying or freeze-drying. Air-drying has been reported possible up to 50 C, but because other related compounds (i.e., phenyltins) decompose, freeze-drying is preferred (Gomez-Ariza et al., 1994). Whichever drying procedure is used, the suitability with regard to cross-contamination and losses should always be tested (Quevauviller and Donard, 1991). If sieving is required, avoid contact with plastics. The use of stainless steel equipment is strongly recommended.

## 6.	Analysis

### 6.1	Preparation of materials

Solvents, chemicals and adsorption materials must be free of organotin compounds or other interfering compounds (see also section 4). If they are not they should be purified using appropriate methods or replaced with clean materials. Solvents should be checked by concentrating the volume normally used in the procedure to 10% of the final volume and then analysing for the presence of organotin compounds and other interfering compounds by gas chromatography (GC). If necessary, the solvents can be purified by redistillation. Chemicals and adsorption materials should be purified by extraction and/or heating. Glass fibre materials (e.g. thimbles for Soxhlet extraction) should be pre-extracted. Alternatively, full glass thimbles with a G1 glass filter at the bottom can be used. Generally, paper filters should be avoided in filtration and substituted for by appropriate glass filters. As all super cleaned materials are prone to contamination (e.g. by the adsorption of organotin compounds and other compounds from laboratory air), materials ready for use should not be stored for long periods. All containers, glassware etc. which come into contact with the sample must be made of appropriate material and must have been thoroughly pre-cleaned.

### 6.2	Dry weight determination

Dry weight determinations should be carried out by air-drying homogenised subsamples of the material to be analysed to constant weight at 105°C.

### 6.3	Calibration and preparation of calibrant solutions

### 6.3.1 Calibration

Multilevel calibration with at least five calibration points is preferred to adequately define the calibration curve. Standard preparation can be done in two ways depending on the methods of extraction/derivatisation used:

- by using alkyltins salts then proceed to the derivatisation step as for samples (for hydridisation or ethylation followed by purge-and-trap analysis, there is no other appropriate way than using alkyltin salts);

- by using commercially readily available derivatised standards.

Standard solutions can be prepared in (m)ethanol or another solvent depending on the instrumental method used. Addition of an internal standard to all standard and samples solutions is recommended, e.g. tripropyltin chloride TPrTCl or 13C labelled or deuterated TBT if using GC analysis with mass selective detection. When using tripropyltin chloride, which is an underivatised standard, the recovery efficiency of the whole procedure can be determined.

A new calibration solution should always be cross-checked to the old standard solution.

Calibrant solutions should be stored in a refrigerator in gas tight containers to avoid evaporation of solvent during storage. It is important to determine the expiry date of standard dilutions in order to avoid a concentration shift due to deterioration of analytes or evaporation of solvents.

### 6.3.3 Isotope Dilution-Mass Spectrometry

Isotope Dilution-Mass Spectrometry technique (IDMS), can be used as an alternative quantification method (Monperrus et al., 2003; Centineo et al., 2004).

### 6.4	Extraction

Organotin compounds are strongly bound to particulate matter. The binding forces to the sediment have a dualistic character. Whereas tributyltin is mainly bound by hydrophobic forces, mineral binding dominates for monobutyltin because of its high electrical charge (e.g. the binding characteristic of trace metals). To achieve complete extraction, the butyltin compounds have to be released from the sediment, i.e. the binding must be diminished and the solubility in the extraction solvent must be maximised.

Different approaches can be applied to extract organotins from sediments:

- Acidic digestion followed by in situ derivatisation with simultaneous extraction to an organic phase.

- Leaching under acidic conditions with simultaneous extraction of the compounds to an organic phase, as applied with different acids, solvents and complexing agents.

To maintain a logical order, ‘in situ derivatisation’ will be discussed as a derivatisation technique (see below) and not as an extraction technique. Furthermore, the use of recovery internal standards (RIS) to check the procedural steps is discussed separately below.

### 6.4.1 Acidic digestion followed by in situ derivatisation

Digestion techniques by adding hydrochloric acid or acetic acid can be used to extract organotins, while stirring or shaking the sample. Another possibility is the use of ultrasonic treatment.

### 6.4.2 Leaching and subsequent extraction to an organic phase

When extracting organotin compounds with an organic phase immiscible with water (e.g. DCM, diethylether, hydrocarbons etc.), much higher acid concentrations (6 M HCl) can be applied without obstructing the derivatisation. High acid concentrations will leach most of the monobutyltin from the sediment, but the high electrical charge of the monobutyltin3+ ion will not allow complete extraction to an organic phase. Under these strongly acidic conditions, the addition of complexing agents, e.g. tropolone (2-hydroxy-2,4,6-cycloheptatrienone) or diethyldithiocarbamate (Zhang et al., 1991; Quevauviller, 1996) is not expected to have much effect. Just like the sediment, the agent will be protonated and consequently lose (much of) its complexation ability. When applied, the effectiveness of complexing agents should be critically evaluated. Furthermore, large amounts of agents in the extract may affect the chromatography.

Quantitative extraction of all butyltin compounds to pentane is possible only under strongly acidic conditions when HBr (6 M) is used (Gomez-Ariza et al., 1995). The presence of bromide ions is essential to promote the extraction to the organic phase (pentane) through the formation of neutral ion-pairs. For tributyltin, it was shown that the distribution coefficient between octanol and water increased from 102 to 106 after the addition of 1 M bromide (Weidenhaupt, 1995).

Gomez-Ariza et al. (1995) used a ‘sediment:6 M HBr: pentane’ ratio of 1:5:10 (g/v/v) for extraction. The leaching time was set to one hour, followed by an extraction of one hour. For completeness a second extraction with pentane is recommended. The pentane extract obtained can safely be concentrated, as the ionic butyltin compounds will not evaporate easily. This low risk for evaporation also allows transfer to other solvents if required for derivatisation or analysis. The residue can be subjected to chromatographic methods such as high performance liquid chromatography (HPLC) that directly analyses the butyltin compounds in their ionic form. For GC methods, the butyltin compounds are derivatised to their hydride or tetra-alkyl form.

### 6.5	Derivatisation

Derivatisation can either be performed after extraction or simultaneously with extraction. Sodium Tetraethylborate (NaBEt4): Derivatisation with this reagent has been developed to minimise the analysis time. The NaBEt4 procedure allows a simultaneous extraction-derivatisation in a buffered medium (optimum pH 4-5). NaBEt4 derivatisation produces more thermally stable derivatives. However, NaBEt4 is extremely air sensitive, since it is considered as pyrophoric, care must be taken to keep its chemical integrity. Although solutions in water have been shown to be stable for about 1 month at 4°C, it is recommended to prepare them freshly for use.

Solutions of the reagent in an organic solvent (e.g.tetrahydrofuran, methanol or ethanol) seem to be more stable (Smedes et al., 2000). After the addition of sodium tetraethylborate (e.g. 1 to 4 ml of 2 to 5 % solution in water or organic solvents), the mixture is shaken vigorously (Wilken et al., 1994).

Although ethylation in the aqueous phase is very fast, the derivatisation is limited by the desorption kinetics. Multiple additions have been applied, but a continuous addition of the reagent using a peristaltic pump supported by effective mixing conditions is more appropriate. In this way, the reagent is always present and every butyltin molecule desorbed from the sediment is immediately derivatised and extracted, which also makes the desorption process continuous. However, this very intensive derivatisation may lead to the formation of boroxin, a six-angle ringed ethylborane. This compound is very reactive to the (bonded) phases used in gas chromatographic columns, affecting the column efficiency and mass spectrometric (MS) response. The boroxin is not removed by the normal phase column clean-up procedure usually applied, but can be degraded by the addition of an alkaline aqueous solution with a pH above 12. Ethylated organotin compounds will not be affected.

Since organic matter also reacts with the sodium tetraethylborate, the amount of sample that can be used is limited. As a rule of thumb, the sample intake should represent about 20–50 mg organic carbon which is, in practice, 1 g fine material (dry weight).

If simultaneous extraction and in situ derivatisation is used, 5 to 10 ml of organic solvent (hexane or pentane) has to be added before derivatisation. The extraction of the derivative itself is quantitative but to isolate the whole organic phase, a second extractionis necessary. Usually centrifugation is required to separate the phases.

Grignard reagent, sodium diethyldithiocarbamate (NaDDTC) and sodium borohydrate (NaBH4) are alternative derivatisation agents which can be used on organic phase extracts from sediment leachates. These reagents are not widely used anymore. Methods are described in Waldock et al. (1989) and Morabito et al. (2000).

### 6.6	Clean-up

Whether a clean-up step must be applied depends on the sample type, separation (GC or LC), and detection method used. Furthermore, the nature of the extract determines whether a clean-up step is possible. In the literature, no clean-up procedures are reported for aqueous/methanol leachates. Clean-up is not necessary when the butyltin compounds are determined by purge and trap analysis, which acts as a superb clean-up. However, extraction methods using an organic solvent will co-extract many kinds of other compounds from the sample, such as sulphur and sulphurcontaining compounds, oil, and many other natural and anthropogenic compounds.

In addition to co-extracted substances, the extract will contain by-products of the derivatisation. Using sodium tetraethylborate for derivatisation, compounds such as boroxin, diethylsulphide, and diethyltrisulphide can be formed in rather large quantities (section 5.5). If the basic wash has not yet been conducted, it should be added here as a clean-up step. The ethylsulphides usually do not disturb the instrumental analysis. Also, co-extracted substances usually do not visually disturb the chromatogram because most detection methods are very selective. Nevertheless, a large amount of matrix in the sample can affect the chromatography when the loading capacity of the column is exceeded, and can influence the detector response (e.g. MS). A decrease in the amount of matrix is always favourable for instrumental analysis and therefore a clean-up is recommended.

Generally, a simple SiO2, Al2O3 or Florisil column clean-up is sufficient for sample clean-up. Alkylated tin compounds are as non-polar as PCBs and elute rapidly with hexane. Nevertheless, highly activated materials are not recommended, as the organotin compounds may degrade during elution. Using 2 g of SiO2 deactivated with 1– 5% water or Al2O3 with 5–10 % water in a glass column, organotin compounds usually elute in 5–10 ml hexane or pentane. Elution patterns should always be checked for each batch of column material.

### 6.7	 Pre-Concentration

Evaporation of solvents using a rotary evaporator should be performed under controlled temperature and pressure conditions, and the sample volume should be kept above 2 ml. Evaporation to total dryness should be avoided. To reduce the sample volume even more, e.g. to a final volume of 100 μl, solvents like pentane or hexane can be removed by concentration with a gentle stream of nitrogen. Only nitrogen of a controlled high quality should be used. Iso-octane is recommended as a keeper for the final solution to be injected into the GC.

### 6.8	 Instrumental determination

Most of the analytical techniques developed for the speciation of organotin compounds are based on GC. GC remains the preferred separation technique owing to its high resolution and the availability of sensitive detectors such as (pulsed) flame photometry ((P)FPD), mass spectrometry (MS) or inductively coupled plasma-mass spectrometry (ICP-MS).

High performance liquid chromatography is an alternative approach. It mainly uses fluorescence, ultraviolet, and more recently inductively coupled plasma optical emission spectrometry (ICP-OES), inductively coupled plasma mass spectrometry (ICPMS), and mass spectrometry detectors such as atmospheric pressure chemical ionisation mass spectrometry (APCI-MS-MS) and electrospray ionisation mass spectrometry (ESI-MS).

ICP-MS and PFPD detectors, equipped with a 610 nm band-pass filter selective for tin compounds have been applied widely because of their inherent selectivity and sensitivity. PFPD has been shown to have greater selectivity and lower detection limits (by a factor of 25 to 50 times) for organotin compounds than those obtained with conventional FPD (Bravo et al., 2004).

### 6.8.1 Gas chromatography

Possible injection modes are splitless, large volume and on-column injection. Automatic sample injection should be used wherever possible to improve the reproducibility of injection and the precision of the overall method. If splitless or large volume injection is used, the liner should be of sufficient capacity to contain the injected solvent volume after evaporation. Helium must be used for GC-MS, GC-FPD and GC-ICP-MS. The preferred column length is 25–30 m, with an internal diameter of 0.15mm to 0.3 mm. Film thicknesses of 0.3 μm to 1 μm are generally used. The most commonly used stationary phase for organotin analysis is 5% phenyl methyl siloxane. Mass spectrometric analyses are usually conducted in electron-impact mode at 70eV.

### 6.8.2 High Performance Liquid Chromatography

All stainless steel parts of the HPLC system that come into contact with the sample should be replaced by polyether ketone (PEEK) components. Reverse phase columns (e.g. octadecylsilane C18) are commonly used (Wahlen and Catterick, 2003) and the mobile phase can consist, for example, of a mixture of acetonitrile, water and acetic acid with 0.05% triethylamine, pH 3.1–3.4 (65:25:10, variable depending on columns used).

## 7	Quality assurance

References of relevance to QA procedures include HELCOM (1988), HELCOM COMBINE manual, QUASIMEME (1992), Oehlenschläger (1994), ICES (1996) and Morabito et al. (1999).

### 7.1	System performance

The performance of the instrumentation should be monitored by regularly checking the resolution of two closely eluting organotin compounds. A decrease in resolution points to deteriorating instrumental conditions. A dirty MS-source can be recognised by the presence of an elevated background signal together with a reduced signal-tonoise ratio. Chromatograms should be inspected visually by a trained operator.

### 7.2	Recovery

The recovery should be checked and reported. It does not guarantee that extraction is complete for the more aged compounds already present in the sample, but nevertheless complete recovery is a minimum requirement for the assumption that extraction is complete. One method is to add an internal (recovery) standard to each sample immediately before extraction (e.g. tripropyltin) and a second (quantification) standard immediately prior to injection (e.g. tetrapropyltin).

Correction for recovery is advised against as it is most likely not representative of the actual recovery of aged compounds and is only a measure of how well the procedure has been performed. However, when it is local practice to correct for recoveries, three recovery standards (a mono-, di-, and trialkyltin) are required because of the different properties of the three butyltin compounds. The uncorrected values should be reported in brackets to show the elevation due to the recovery correction. Results of analyses that show recoveries lower than 50% should be rejected or the samples should be re-analysed.

When using Isotope Dilution-Mass Spectrometry technique, the loss of target analytes is compensated. However, the recovery should still be calculated and should be between 50% and 150%.

### 7.3	Blanks

A procedural blank should be measured for each sample series and should be preparedsimultaneously using the same chemicals and solvents as for the samples. Its purpose is to indicate sample contamination by interfering compounds, which will lead to errors in quantification. Even if an internal standard has been added to the blank at the beginning of the procedure, a quantification of peaks in the blank and subtraction from the values obtained for the determinands must not be performed, as the added internal standard cannot be absorbed by a matrix.

### 7.4	Accuracy and precision

A Laboratory Reference Material (LRM) or Certified Reference Material (CRM) should be included, at least one sample for each series of identically prepared samples. The LRM/CRM must be homogeneous, well characterised for the determinands in question and stability tests must have shown that it produces consistent results over time. The LRM/CRM should be preferably of the same type of matrix as the samples, and the determinand concentrations should occur in a comparable range to those of the samples. If the range of determinand concentrations in the samples is large (> factor of 5) two reference materials should be included in each batch of analyses to cover the lower and upper concentrations.

The data produced for the LRM/CRM in successive sample batches should be used to prepare control charts. It is also useful to analyse the LRM/CRM in duplicate from time to time to check within-batch analytical variability. The analysis of an LRM is primarily intended as a check that the analytical method is under control and yields acceptable precision, but a certified reference material (such as CRM 646 or PACS-2) of a similar matrix should be analysed periodically in order to check the method bias, ideally twice a year as a minimum. Additionally a duplicate of at least one sample should be run with every batch of samples. Each laboratory should participate in interlaboratory comparison studies and proficiency testing schemes on a regular basis, preferably at an international level (e.g. QUASIMEME).

### 7.5	Data collection and transfer

Data collection, handling and transfer must take place using quality controlled procedures.

## 8.	Data recording and reporting parameters

The calculation of results and the reporting of data can represent major sources of error, as has been shown in intercomparison studies for organotin coumpounds. Control procedures should be established in order to ensure that data are correct and to avoid transcription errors. Data stored in databases should be checked and validated, and checks are also necessary when data are transferred between databases. Data reporting should be in accordance with the requirements of the monitoring programme and with the latest ICES reporting formats. Results should be reported according to the precision required for the programme. In practice, the number of significant figures is defined by the performance of the procedure.

### 8.1	Analytical and quality assurance parameters

- LRM and CRM results for a set of organotin compounds, reported on a dry weight basis;

- descriptions of the extraction, cleaning and instrumental determination methods;

- the detection limit for each organotin compound. Specific performance criteria, including detection limits and precision, are usually set by the programme. A typical detection limit for single contaminants is 1 μg/kg as Sn on a dry weight, although this might be difficult to achieve for phenyltins compounds.

- QA information according to the requirements specified in the programme.

### 8.2	Parameters

- Organic contaminants of interest to monitoring programmes for which these guidelines apply: butyltin compounds: tributyltin (TBT) and dibutyltin (DBT).

- This technical annex also provides guidance on the determination of monobutyltin (MBT), phenyltin and octyltin compounds.

## 9.	Acknowledgement

This material has been prepared by members of the Working Group on Marine Sediments in Relation to Pollution, with special acknowledgement to Mr F. Smedes, National Institute of Coastal and Marine Management (RIKZ), the Netherlands. It was updated by the Marine Chemistry Working Group in 2014.

## 10.	References

Bravo, M., Lespes, G., De Gregori, I., Pinochet, H., and Potin-Gautier, M. 2004. Indentification of sulfur influences during organotin determination in harbour sediment samples by sodium tetraethylborate ethylation and gas-chromatography-pulsed flame photometric detection. Journal of Chromatography A. 1046, 217–224.

Centineo, G., Rodríguez-González, P., Blanco González, E., García Alonso, J. I., and Sanz-Medel, A. 2004. Simultaneous determination of mono-, di-, and tributyltin in environmental samples using isotope dilution gas chromatography mass spectrometry. J. Mass Spectrom. 39, 485–494.

Fent, K., 2006. Worldwide occurrence of organotins from antifouling paints and effects in the aquatic environment. The Handbook of Environmental Chemistry 5, 71–100.

Fent, K. and Muller, M.D., 1991. Occurence of organotins in municipal wasterwater and sewage sludge and behaviour in a treatment plant. Environ. Sci. Technol. 25, 489–493.

Gomez-Ariza, J.L., Morales, E., Beltrán, R., Giraldez, I. and Ruiz-Benitez, M. 1994. Sampling and storage of sediment samples for organotin speciation. Química Analítica 13, S76–S79.

Gomez-Ariza, J.L., Morales, E., Beltrán, R., Giraldez, I. and Ruiz-Benitez, M. 1995. Acid extraction treatment of sediment samples for organotin speciation: occurrence of butyl- and phenyltin compounds on the Cadiz coast, southwest Spain. Applied Organometric Chemistry 9, 51–64.

HELCOM. 1988. Guidelines for the Baltic Monitoring Programme for the Third Stage (1988). Part C: Contents from Balt. Sea Environ. Proc. No. 27 C, HELCOM, Helsinki.

Hoch, M., 2001. Organotin compounds in the environment – an overview. Appl. Geochem. 16, 719–743.

ICES. 1996. Guidelines on Quality Assurance of Chemical Measurements in the Baltic Sea. In Report of the ICES/HELCOM Steering Group on Quality Assurance of Chemical Measurements in the Baltic Sea, pp. 10–28. ICES C.M. 1996/E: 4.

Monperrus, M., Zuloaga, O., Krupp, E., Amouroux, D., Wahlen, R., Fairman, B. and Donard,.F.X. 2003. Rapid, accurate and precise determination of tributyltin in sediments and biologicalsamples by species specific isotope dilution-microwave extraction-gas chromatography-ICP mass spectrometry. J. Anal. At. Spectrom. 18, 247-253.

Morabito, R., Massanisso, P., and Quevauviller, P. 2000. Derivatization methods for the determination of orgnotin compounds in environmental samples. Trends in Analytical Chemistry 19 (2,3), 113–119.

Morabito, R., Muntau, H., and Cofino, W. 1999. A new mussel certified reference material (CRM 477) for the quality control of butyltin determination in the marine environment. J. Environ. Monit. 1 (1), 75–82.

Oehlenschläger, J. 1994. Quality Assurance During Sampling on Board. In: Topping, G. and Harms, U. (Editors): ICES/HELCOM Workshop on Quality Assurance of Chemical Analytical Procedures for the Baltic Monitoring Programme, 5–8 Oct. 1993, Hamburg, Germany.

HELCOM, Balt. Sea Environ. Proc. No. 58, 82–84.

ICES MCWG REPORT 2014 | 93

QUASIMEME. 1992. Guidelines on Quality Assurance for Marine Measurements. Prepared by Topping, G., Wells, D. E., and Griepink, B. SOAFD Marine Laboratory, Aberdeen, Scotland.

Quevauviller, P. and Donard, O.F.X. 1991. Organotin stability during storage of marine waters and sediments. Fresenius Journal of Analytical Chemistry. 339: 6–14.

Quevauviller, P. 1996. The analysis of butylated tin compounds in the environment and in biologicalmaterials. In Tributyltin: case study of an environmental contaminant. Ed. by S.J. de Mora. Cambridge University Press, Cambridge.

Smedes, F., de Jong, A. S., and Davies, I. M. 2000. Determination of (mono-, di- and) tributyltin in sediments. Analytical methods. J. Environ. Monit. 2, 541–549.

Waldock, M.J., Waite, M.E., Miller, D., Smith, D.J. and Law, R.J. 1989. The determination of total tin and organotin compounds in environmental samples. Aquatic Environment Protection: Analytical Methods, MAFF Directorate of Fisheries. Research Lowestoft 4, 25.

Wahlen, R. and Catterick, T. 2003. Comparison of different liquid chromatography condition for the separation and analysis of organotin compounds in mussel and oyster tissue by liquid chromatography-inductively coupled plasma mass spectrometry. J. Chromatogr. B 783, 221–229.

Weidenhaupt, A.N.J. 1995. Trialkyltin compounds: speciation in octanol/water system, sorption to mineral surfaces (in German). Ph.D. Thesis, No. 10940, ETH, Zurich.

Wilken, R.D., Kuballa, J. and Jantzen, E. 1994. Organotins: their analysis and assessment in the Elbe River system, Northern Germany. Fresenius Journal of Analytical Chemistry 350, 77–84.

Zhang, S., Chau, Y.K., Li, W.C. and Chau A.S.Y. 1991. Evaluation of extraction techniques for butyltin compounds in sediments. Applied Organometric Chemistry 5, 431–434.

# Technical Annex 5: Normalisation of contaminant concentrations in sediments

## Introduction

As contaminant concentrations may vary due to differences in bulk sediment composition, e.g. differences in particle size distribution, organic matter content, results from comparisons of observed data to assessment criteria or trend assessments may be obscured. In order to reduce variances of contaminant concentrations due to differences in bulk sediment composition and to increase the power of monitoring programmes to address the objectives of the JAMP, procedures for normalisation of the concentrations of contaminants in sediment have been developed and used in OSPAR assessments of monitoring data.

## Purposes

This annex provides guidance on the application of methods to normalise contaminant concentrations in sediments. Normalisation is defined here as a procedure to adjust contaminant concentrations for the influence of the natural variability in sediment composition, grain size, organic matter and mineralogy. Most natural and anthropogenic substances, metals and organic contaminants, show a much higher affinity to fine particulate matter compared to the coarse fraction. Constituents such as organic matter and clay minerals contribute to the affinity to contaminants in this fine material.

Fine material, both inorganic and organic, and associated contaminants are preferentially deposited in areas of low hydrodynamic energy, while in areas of higher energy, fine particulate matter is mixed with coarser sediment particles which generally have smaller binding capacity for contaminants. This dilution effect will cause lower and variable contaminant concentrations in the resulting sediment. Obviously, grain size and organic matter are important factors controlling the distribution of natural and anthropogenic components in sediments. It is, therefore, essential to normalise for the effects of grain size or organic carbon in order to provide a basis for reliable assessments of temporal trends and for meaningful comparisons of the occurrence of substances in sediments of variable bulk properties with background (assessment) criteria and environmental assessment criteria derived for a defined sediment composition.

In sediment of varying bulk properties, contaminant concentrations will be closely related to the distribution of fine grained material, and any effects of other sources of contaminants, for example anthropogenic sources, will be at least partly obscured by grain size differences. Also in temporal trend monitoring, differences in sediment bulk properties can obscure trends, but if samples have a considerable and constant percentage of fine material, the influence of grain size distribution is of minor importance and may probably be neglected.

## Normalisation procedures

Two different approaches to correct for variable sediment compositions are widely used:

a.	Isolation of the fine fraction by sieving, e.g. <20 µm, <63 µm, can be regarded as means to reduce the differences in sediment granulometric compositions and is applicable to both metals and organic contaminants (e.g. Ackermann et al. 1983; Klamer et al. 1990; QUASH, 2000). Consequently the coarse particles, which usually do not bind anthropogenic contaminants and dilute their concentrations, are removed from the sample. Then, contaminant concentrations measured in these fine fractions can be directly compared. Subsequently, the differences in sediment composition due to geochemical nature remaining after sieving can be further corrected for by the use of co-factors. Thus, sieving is a powerful first step in normalisation;

b.	Normalisation can be performed by relating the contaminant concentration with components of the sediment that represents its affinity for contaminants, i.e. binding capacity. Normalisation of contaminant concentrations can be performed by linear regression against cofactors (Cato, 1977; Smedes, 1997; Smedes et al., 1997). Another procedure takes into account that the coarse sediment fraction contains natural metal concentrations in the crystal structure before the normalisation is performed (see section 4). Combinations of co-factors, possibly identified from multiple regression analysis, can be used.

## Normalisation using co-factors

a.	The binding capacity of the sediments can be related to the content of fines, primary factor, in the sediments. Normalisation can be achieved by calculating the concentration of a contaminant with respect to a specific grain-size fraction such as <2 µm, i.e. the clay factor, <20 µm or <63 µm;

b.	As the content of fines is represented by the contents of major elements of the clay fraction such as aluminium (Windom et al. 1989) or an appropriate trace element enriched in that fraction such as lithium (Loring 1991), these can also be used as co-factors, secondary factors. Both, aluminium and lithium behave conservatively, as they are not significantly affected by, for instance, the early diagenetic processes and strong redox effects frequently observed in sediments. Problems may occur when the sediment is derived from glacial erosion of igneous rocks, with significant amounts of aluminium present in feldspar minerals contributing to the coarse fraction. In such cases, lithium may be the preferable co-factor (Loring 1991);

c.	Organic matter, usually represented by organic carbon, is the most common co-factor for organic contaminants due to their strong affinity to this sediment component. In some environments, trace metal concentrations can also be normalised using organic carbon content especially in surface sediments (Cato 1977). However, due to the non-conservative nature of organic matter, its suitability as co-factor has to be checked prior to an assessment.

Figure 1:	Relationship between the contaminant C and the cofactor N (from Smedes, 1997).

## Theory

The general model for normalisation taking into account the possible presence of contaminants and cofactors in the coarse material is given in figure 1 (Cato, 1977; Smedes et al.1997; Kersten and Smedes, 2002). Cx and Nx represent the contaminant and the co-factor contents, respectively, in pure sand. These “intercepts” can be estimated from samples without fines and organic material. The line of regression between the contaminant and co-factor will originate from that point. That means that regression lines of sample sets with a different pollution level and consequently different slopes will have this point in common (i.e. pivot point) (OSPAR 2008). When this pivot point is known, only one sample is required to estimate the slope. This allows determination of the contaminant content for any agreed (preselected) co-factor content (Nss) by interpolation or extrapolation. The slope (PL) for a sample with a contaminant content Cs and a cofactor content of Ns can be expressed as follows:

(1)

The extrapolation to an agreed co-factor content, Nss, follows the same slope:

(2)

Rewriting gives the contaminant content, Css, that is normalised to Nss:

(3)

Results of different samples normalised to the agreed Nss can be compared directly.

Normalisation by this model can be applied with different cofactors. Here primary and secondary cofactors can be distinguished. A primary cofactor like the clay fraction or organic carbon is not present in the coarse fraction and consequently has no intercept (Nx=0). Al and Li are present in the coarse fraction and therefore are considered to be secondary cofactors. Provided Nx and Cx are known, the model allows recalculation of total samples to a co-factor content usually found in sieved fractions, either <20 or <63µm. However such an extrapolation for a coarse grained sample will be associated with a large error due to the uncertainty of the intercepts and the analysed parameters. For a more fine grained sample, or a sieved fraction, the uncertainty of the normalised result is much lower than for normalisation of a coarse grained sample to the agreed cofactor content and will result in a more accurate result. The model presented also applies to the normalisation of organic contaminants using organic carbon but in that case the intercepts Nx and Cx will not differ significantly from zero.

Principally, the result allows comparison of data of total and sieved samples, irrespective of the sieving diameter but the error has to be taken into account. Through propagation of errors the standard error of the result can be calculated from the analytical variation and the natural variation of the intercept Nx (Smedes et al., 2005). Results can therefore always be reported with a standard deviation.

## Considerations on co-factors

The clay mineral content is the most important cofactor for trace metals. In the model above the Nx will be zero for clay and only the intercept due to the content of the trace metal in the coarse fraction (Cx) has to be taken into account. However, current intercomparison exercises do not include this parameter. Presently other parameters such as aluminium or lithium are used to represent the clay content.

The aluminium content in the sandy fraction may vary from area to area. For some areas aluminium contents in the sandy fractions are found at the same level as found in the fines (Loring, 1991) and therefore the intercept Nx becomes very high. In equation (3) this implies that the denominator is the result of subtracting two large numbers, that is the normaliser content in the sample (Ns) and the normaliser content in only sand (Nx). Consequently, due to their individual uncertainties, the result has an extremely high error. Obviously, normalisation with low intercepts is more accurate. Much lower intercepts are found if partial digestion methods are used that digest the clay minerals, but not the coarse minerals. Using partial digestion, the spatial variability of the results of aluminium analyses in the sandy fraction has been found to be much smaller than with total methods. Although normalising concentrations of contaminants in fine grained material will always give more accurate results, an error calculation will identify whether using coarse samples (and total methods, e.g. HF, X-ray fluorescence, litium tetraborate fusion) allows the requirements of the programme to be met.

For most areas the lithium content in the sandy fraction is much lower than in the fine fraction. In addition, results from partial digestion and total methods do not differ significantly. There is only little spatial variability of the lithium content in the sandy fraction. Generally, compared to aluminium, more accurate normalised data can be expected using lithium.

As for clay, no intercept (Nx) applies for organic matter, which is usually represented by organic carbon. Organic matter also occurs in the coarse fraction but is even then a cofactor that contributes to the affinity for contaminants, whereas the aluminium in the coarse fraction does not. Furthermore, organic matter in a sample is not always well defined as it can be composed of material with different properties. The most variable properties will be found in the organic matter present in the coarse fraction and not associated with the fines. In fine sediments or in the sieved fine fractions the majority of the organic matter is associated with the mineral particles and it is assumed to be of more constant composition than in the total sample. In addition, the nature of the organic matter may show spatial and temporal variations. For samples with low organic carbon content close to the detection limit, normalisation using this cofactor suffers from a large relative error. This results from the detection limit and the insufficient homogeneity that cannot be improved due to the limited intake mass for analysis.

For further interpretation of data the proportion of fines determined by sieving can be useful. Provided, there are no significant amounts of organic matter in coarse fractions, the proportion can be used as a co-factor, particularly for organic contaminants. The error in the determination of fines has to be taken into account and will be relatively high for coarse samples.

## Considerations on contaminants

Almost all trace metals, except mercury and in general also cadmium, are present in the coarse mineral matrix of samples. The metal concentrations show a spatial variability depending on the origin of the sandy material. In sandy sediments, partial digestion techniques result in lower values than are obtained from total digestion techniques. This implies that partial digestion results in lower intercepts (pivot point is closer to the zero). However, the partial digestion must be strong enough so the clay will be totally digested (as is the case with HF digestion techniques), and the measured aluminium content remains representative for the clay. It was demonstrated that analyses of fine material gave similar results for several trace elements using both total and strong partial methods (Smedes et al. 2000; Kersten and Smedes, 2002, cf. Technical Annex 6)

For organic contaminants the situation is more complex. In general, correlations of organic contaminants with organic carbon have no significant intercept, i.e. the contaminants are primarily associated with organic matter. Thus, for sediment samples that contain low concentrations of organic carbon (e.g. very sandy sediments), concentrations of these contaminants can be below or very close to the analytical detection limit. Application of the normalisation procedure using organic carbon to such samples is inappropriate, since it will greatly magnify the analytical error. The influence of these errors can be minimised by analysing muddy sediments, or by analysing a fine fraction sieved from the bulk sandy sediment.

In some cases, PAHs in sediment are found associated with materials such as soot or ash. Concentrations of PAHs can be quite high in these materials, and this can result in high concentrations of PAHs in grain size fractions where soot, ash, etc. are concentrated. These materials generally are present in small quantities, and the PAHs associated with them have little biological activity, and therefore are of limited environmental significance. Although the available data are not comprehensive, existing information indicates that PAH concentrations in sieved fine fractions (e.g. <63 um) are not significantly affected by the presence of small amounts of soot, ash etc.

## Isolation of fine fractions for analyses

The Sample preparation

Samples should be sieved at 2 mm as soon as possible after sampling to remove large detritus and benthic organisms. Otherwise during further sample handling like storage, freezing or ultrasonic treatment, biotic material will deteriorate and become part of the sediment sample. Until the final sieving procedure that isolates the fines, the sample can be stored at 4°C for about a week and up to 3 months when frozen at –20°C, although direct wet sieving is preferred. For prolonged storage freeze-drying of samples can be considered. In this case contamination and losses of contaminants during freeze-drying have to be checked. Air-drying is not appropriate due to high contamination risks and checks are needed. Besides, samples may be difficult to be disaggregated and mineral structures may be affected.

Requirements for Sieving

A wet sieving procedure is required to isolate the fine-grained fractions, <63 µm or <20 µm. Wet sieving re-suspends fine particles that would otherwise remain attached to coarser particles in the sample. Sediments should be agitated during sieving to prevent to disaggregate agglomerates of fines and to prevent clogging of the mesh. Freeze-dried samples need to be re-suspended using ultrasonic treatment. Seawater, preferably from the sampling site, should be used for sieving as it reduces the risk of physico-chemical changes in the sample i.e. losses through leaching or contamination. Furthermore seawater assists the settling of fine particles after the sieving. If water from the sampling site is not available, then seawater of an unpolluted site, diluted with deionised water to the required salinity, can be used. The amount of water used for sieving should be kept to a minimum and be reused for sieving subsequent batches.

To minimise or prevent contamination it is recommended to use large sample amounts of sediment for sieving. No significant contaminant losses or contamination was detected when at least 25 g of fine fraction is isolated.

Methodology

Both automated and manual methods are available for sieving. A video presentation of these methods can be provided by the QUASH Project (QUASH 1999).

- The automatic sieving method pumps seawater over a sieve that is clamped on a vibrating table (Klamer et al. 1990). The water passing the sieve is led to a flow-through centrifuge that retains the sieved particles and the effluent of the centrifuge is returned to the sieve by a peristaltic pump. Large sample amounts, up to 500 g, can be handled easily.

- The second method is a manual system sieving small portions 20-60 g using an 8-cm sieve in a glass beaker placed in an ultrasonic bath (Ackermann et al. 1983). Particles are isolated from the water passing the sieve by batch wise centrifugation. The water can be reused for a subsequent batch of sediment. In case of sandy samples, when large amounts of sediments have to be sieved, removal of the coarse material by a pre-sieving over e.g. 200-µm mesh can facilitate the sieving process.

Isolated fine fractions have to be homogenised thoroughly, preferably by a ball mill, as centrifugation produces inhomogeneous samples due to differences in settling speed of different grain-size fractions.

## Limitations of normalisation

The purpose of normalisation is to reduce the variability between samples arising from differences in bulk sediment properties. However, it has been observed in some areas that the correlations between contaminant and cofactor concentrations may be weak or even absent. This may happen, e.g., if the cofactor used is inappropriate for the contaminant of concern, the degree of contamination is very variable with time or space, or there is significant additional variance arising from the measurements of the concentration of the chosen cofactor.

Contracting Parties may specify additional cofactors other than Al, Li or TOC to be used for the normalisation of concentrations of particular contaminants in their monitoring data. The effectiveness of the normalisation should be accessed through the effect of application of normalisation on the residual variance about time series, as described above. When making proposals, it will be necessary for Contracting Parties to ensure that pivot values and Background Concentrations expressed in relation to the same cofactors are also available.

Current procedures applied in OSPAR trend assessments include the application of smoothers or, for short time series, linear regressions. Normalisation using cofactors should be applied if this results in a reduction of the residual variance around the fitted smoother or regression in time series, but should not be applied if the residual variance is not reduced. In case the residual variance can be reduced for time series, normalisation should also be applied to check whether observed concentrations of contaminants are at or close to Background (Assessment) Concentrations and whether they comply with the Environmental Assessment Criteria.

Furthermore, as the composition of sand-sized material may differ significantly between different parts of the Convention area, pivot values (cf. Section 5) can vary too. In addition, they can vary with the analytical method, i.e. with partial or total digestion for metals analysis. The use of inappropriate pivot values could have significant impact on the calculated normalised concentrations (cf. Section 5), particularly for sediment samples containing relatively small proportions of fine grained material. Therefore, Contracting Parties may propose derived pivot values appropriate to particular parts of the Convention area to OSPAR/ICES for review. Such regionalised pivot values should be applicable over large parts of the Convention area, for example across entire (sub-)Regions

The current Background (Assessment) Concentrations may be inappropriate for application throughout the Convention area, as they were derived from a data set that emphasises the northern part of the Convention area. In addition, the Background Concentrations are currently expressed as normalised values (to 5% aluminium for metals and 2.5% TOC), and these “reference” values for the cofactors may not be appropriate for all areas. The use of inappropriate values for Background Concentrations could result in misleading assessments, e.g., as to whether concentrations in sediment are at or close to background. Therefore, Contracting Parties may propose derived Background Concentrations and associated cofactor values that they consider to be appropriate to particular parts of the Convention area. OSPAR/ICES will review if the combinations of Background Concentrations and associated cofactor values are consistent with the way in which pivot values to be used in the assessment of the field data are expressed, to allow the construction of straight lines joining pivot values and Background Concentrations. Such regionalised Background Concentrations should be applicable over large parts of the Convention area, for example across entire (sub-)Regions

## Recommendations

1.	For monitoring, it would be ideal to analyse samples with equal composition. This could be confirmed by determination of co-factors Al, Li, TOC and parameters of the grain size distribution (e.g. clay content, proportion <20μm, proportion <63μm). However, this situation will seldom occur.

2.	New temporal trend programs should be carried out by the analysis of fine sediments or a fine-grained fraction, isolated by sieving. Existing temporal trend programs could be continued using existing procedures, provided that assessment of the data indicates that the statistical power of the programs is adequate for the overall objectives.

3.	Contaminant concentrations in whole sediments can be subjected to normalisation using co-factors for organic matter, clay minerals etc., by taking into account the presence of both co-factors and target contaminants in the mineral structure of the sand fraction of the sediment. Taking into account these non-zero intercepts of regressions of contaminant concentrations with co-factors, normalisation to preselected co-factor content will reduce the variance arising from different grain sizes. Normalised values for sandy sediments will have greater uncertainties than for muddy sediments. The propagated error of the variables used for normalisation may be unacceptably high for sandy sediments, if both contaminant and co-factor concentrations are low, particularly when approaching detection limits. In that case, in order to reduce the overall uncertainty, alternative procedures, such as sieving, need to be used to minimise the impact of this error structure.

4.	The natural variance of sample composition will be smaller in the fraction <20 µm than in the fraction <63 µm. Therefore, for trace metals, the fraction <20 µm should be preferred over the fraction <63 µm. However, separation of the fraction <20 µm can be considerably more laborious than the separation of the fraction <63 µm and might be an obstacle to its wide application. For this practical reason, the fraction <63 µm is an acceptable compromise for monitoring programmes. For organic contaminants, the fraction < 63 μm should be used for analyses, as it may be difficult to incorporate the organic matter with the highest binding capacity for organic contaminants in the fine grained fraction < 20 μm completely. Thus, variances due to separating the fine fraction can be reduced.

5. There will still be some residual variance arising from differences in the composition (mineralogy and organic carbon content) of the sediments. Therefore, the preferred approach is analyses of contaminants in fine sediments or in the fraction <63 μm, followed by normalisation of analytical results using cofactors (see section 3). Current scientific knowledge indicates that this procedure minimises the variances arising from differences in grain size, mineralogy and organic matter content. Application of this two-tiered approach to fractions < 20 μm gives results that can be directly compared to results found by normalisation of concentrations measured in fractions < 63 μm.

6.	In order to clarify aspects of data interpretation, analytical data for field samples should be accompanied by information on limits of detection and long term precision. In order to contribute to environmental assessment, data for field samples should include the grain size distribution, as a minimum the proportion of the analysed fraction in the original whole sediment. Aluminium (Al) and total organic (TOC) concentrations should be reported for use as potential cofactors. If possible, the determination of Li as an additional potential cofactor is recommended.

7. In order to take into consideration potential regional differences in sediment composition in monitoring contaminants in sediments and its assessment, cofactors others than those mentioned in section 3 may be used. Furthermore, regionalised pivot points for calculating normalised contaminant concentrations as well as regionalised Background (Assessment) Concentrations may be derived for different regions.

## References

Ackermann, F., Bergmann, H., and Schleichert, U. (1983) Monitoring of heavy metals in coastal and estuarine sediments – A question of grain-size: <20 µm versus <60 µm. Environmental Technology Letters, 4: 317-328.

Cato, I. (1977): Recent sedimentological and geochemical conditions and pollution problems in two marine areas in south-western Sweden. Striae 6, 158 pp. Uppsala.

Gobeil, C., MacDonald, R. W. & Sundby, B. (1997): Diagenetic separation of cadmium and manganese in suboxic continental margin sediments. Geochim. Cosmochim. Acta 61, 4647-4654.

Kersten, M., and Smedes, F. 2002. Normalisation procedures for ssediment contaminants in spatial and temporal trend monitoring – a critical review, J. Environ. Monit., 4: 109-115

Klamer, J. C., Hegeman, W. J. M. & Smedes, F. (1990): Comparison of grain size correction procedures for organic micropollutants and heavy metals in marine sediments. Hydrobiologia 208, 213-220.

Loring, D. H. (1991): Normalisation of heavy-metal data from estuarine and coastal sediments. ICES J. mar. Sci. 48, 101-115.

OSPAR 2008. CEMP Assessment Manual. Coordinated Environmental Monitoring Programme Assessment Manual for contaminants in sediment and biota.

QUASH (1999) Sediment Sieving Techniques, QUASH Project Office, FRS Marine Laboratory, PO Box 101, Victoria Road, Aberdeen, AB11 9DB, Scotland

Smedes, F. (1997) Grainsize Correction Procedures, Report of the ICES Working Group on Marine Sediments in Relation to Pollution. ICES CM 1997/Env:4, Ref. E, Annex 6.

Smedes, F., Lourens, J., and Wezel, van A. (1997) “Zand, Slib en Zeven, Standardisation of contaminant contents in marine sediments, Report RIKZ-96.043 (Dutch), ISSN 0927-3980, RIKZ, PO Box 20907, 2500 EX, The Hague.

Smedes, F. Davies, I.M., Wells, D., Allan, A., Besada, V. (2000): Quality Assurance of Sampling and Sample Handling (QUASH) –Interlaboratory study on sieving and normalisation of geographically different sediments; QUASH round 5 (sponsored by the EU Standards, Measurements and Testing Programme)

Smedes, F., Davies, I.M., and Fryer, R. J. 2005. Pragmatic estimation of uncertainty in normalised concentrations of contaminants in sediments. ICES CM 2005/Z:04.

Windom, H. L., et al. (1989): Natural trace metal concentrations in estuarine and coastal marine sediments of the southeastern United States. Environ. Sci. Technol. 23, 314-320.

## Appendix: Testing normalisation methods

As normalisation should correct for sediment composition, a criterion for an adequate normaliser is that after normalisation of equally polluted sediment samples with different grain size distributions, the results should not differ significantly. However, sample sets to test normalisation approaches for this criterion are scarce. An alternative approach is to take one sample and to produce subsamples with varying grain size distributions (Smedes 1997, Smedes et al. 1997, Smedes et al. 2000). Both the fine and coarse subsamples are analysed for contaminants and potential normalisers. In this way a higher variability for the normaliser concentrations, i.e. a worst case than ever will occur in nature, can be obtained which provides a sensitive test for the usefulness of potential normalisers.

Normalisation is intended to correct for sediment composition for sediments that are equally polluted. Here equally polluted means that the sediments are in equilibrium with the same water. Normalised results should not significantly differ for sediment samples with different grain size distributions

To test which parameters, i.e. co-factors, are suitable for a certain area, a set of equally polluted samples should be collected. In practice this is often problematic as often pollution is not homogeneous in the area and/or the range in grain-size that can be collected is too limited to properly demonstrate relations between co-factors and contaminants.

However, this can also be addressed through an active approach which is applicable to all areas, excepting areas where sediment is dominated by only sand or gravel. Smedes et al. 1997 used pairs of sieved and un-sieved samples to test co-factors. In the EU QUASH project, survey and intercalibration samples were actively separated in different grain-size fractions (Smedes et al., 2000). To adopt this approach, the following procedure is suggested. A large sediment sample, 3 litre or more, containing sand as well as fine material, is taken. This sample is transferred to a glass bottle and liquefied using local water and then shaken, tumbled or mixed for at least one month. The sediment is then separated into subsamples with different grain-size compositions by sieving and decantation. A range of fractions can be separated, for example <20µm, <63µm, >63µm etc and, of course, also the un-fractionated sediment is part of the set.

A decantation procedure will give another type of sample. Suspend the sediment in the local water used for shaking and wait a short time to allow the coarse material to settle. Then quickly pour off part of the upper water into a second container. Let the particles settle and pour the water back, with the residual coarse material, and repeat until sufficient fine material has been separated for analysis. It is also possible to sieve only at 20µm and mix the <20µm and the >20µm in different proportions creating a series of equidistant compositions.

It is suggested that the approach described above also includes the estimation of pivot values. Therefore a portion of coarse sediment, i.e. >63µm, is treated with ultrasonic so fine material attached to the coarse sediment is released. This fine material is washed out and if sufficient can be analysed also. The coarse sample is added to the sample set.

Results from such an exercise are given below. Here 10 kg sediment from 6 different positions was equilibrated by tumbling for 3 months in excess water. In this research project, organotin compounds were added to investigate their distribution over grain-size fractions (Smedes and Nummerdor, 2003). In Figure 1–4, the relations of co-factors and some metals are given for several stations. The extreme differences in composition caused by the separation process allow demonstration of the relations over large concentration ranges. Also, some rather extreme samples (like very coarse floating material that was sometimes present in low quantities, typically 0.1–0.5%) were isolated when present. This material had a very high organic carbon content, very low mineral cofactors and a higher OC/N ratio than the rest of the fractions. In Figure 4, this sample is the outlier (open symbols) in the relations. Basically these fractions have no meaning as they are of very low abundance but they give some indication of whether target elements or compounds show a preference for organic carbon, although it should be considered it is not the typical OC as is normally found from humic and fulvic residues.

Values close to the origin also allow derivation of pivot values, although this was not the focus of the QUASH project. Figure 5 shows cofactor and zinc data for all stations in the fraction >63µm; only a few of these were ultrasonically treated. For the Dutch coastal area, the pivot value for Zn can be estimated at about 14–15 mg/kg and for Al and Li at around 4 g/kg and 4 mg/kg respectively.

Application of this process will provide robust information and allow optimization of normalisation for a certain location and will show what bias or variability may be expected from the use of non-regionalised values for pivot points in the procedure for normalisation.

Figure 1	Cd and cofactors in Rotterdam harbour area.

Figure 2.	Cu and cofactors in Nieuwe Waterweg towards Sea.

Figure 3.	Hg and cofactors in sludge dump site at Sea.

Figure 4.	Pb and cofactors in front of IJmuiden Harbor. Note that one outlier is omitted. This is from coarse floating material with high OC content and representing less than 0.2% of the sample weight.

Figure 5.	Zn and cofactors in only the >63 samples.

# Technical Annex 6: Determination of metals in sediments – analytical methods

## 1.	Introduction

This technical annex provides advice on the determination of metals (including metalloids and some non-metals like Se) in whole sediment and in sieved fractions. Determinations of trace metals can be achieved by acid digestion of the sediment followed by analysis of the digest solution by spectroscopic or spectrometric methods, or non-destructive techniques such as X-ray fluorescence analysis (XRF), instrumental neutron activation analysis (INAA) etc. The guidelines are intended to assist analytical chemists both in starting up metals analyses in sediments, and to those already performing such analyses. They do not provide full detail on specific laboratory procedures. Further guidance may be sought from specialised laboratories and publications (e.g. Loring and Rantala., 1991; Popek, 2003) or general guidance for selection of analytical methods (e.g. Larsen et al., 2011). Analyses should be carried out by experienced staff and the procedure validated.

Trace metals may occur in both fine and sand fractions of sediments. However, most natural and anthropogenic substances (metals and organic contaminants) show a much higher affinity to fine particulate matter than the coarse fraction. Iron and manganese oxy-hydroxide coatings, and constituents such as organic matter and clay minerals, contribute to the affinity for contaminants for this fine material.

Total methods, such as procedures involving total dissolution of sediment samples with hydrofluoric acid (HF) prior to analysis, or non-destructive methods without digestion such as neutron activation analysis (INAA) and X-ray fluorescence analysis, determine total trace metal contents in the whole sediment sample. In contrast, methods using a partial digestion with only strong acids, e.g. nitric acid or aqua regia, mainly measure trace metals in the fine fraction, and only extract small amounts of trace metals from the coarse fraction. For fine material, similar results have been obtained using both total and strong partial methods (Smedes et al, 2000; QUASH/QUASIMEME intercalibrations).

## 2.	Sampling, pre-treatment and storage

Sampling sediments for metals analysis should preferably be done using cleaned plastic equipment, but this may not always be possible (e.g. at sea). Where metal sampling gear such as grabs must be used, care must be taken to avoid contamination of the sample, for instance by sub-sampling only sediment that has had no contact with the walls of the sampling device (maintain at least 1cm distance from sides). Sample thickness should be chosen according to the monitoring proposes.

For ordinary surveys, the upper 2 cm of the sediment are sampled, but for other purposes like retrospective surveys, core samples can be taken. If knowledge exists about about the sedimentation rate, the sampling strategy can be based on this (e.g. Wadden Sea sampling of the upper 1 mm).

Sediments can be stored in closed plastic or glass containers. Samples must be sieved at 2 mm as soon as possible after sampling to remove large debris as well as large detritus and benthic organisms. Otherwise during further sample handling like storage, freezing or ultrasonic treatment, biotic material will deteriorate and become part of the sediment sample. Samples may then be further wet sieved to a smaller size fraction. Further details on sieving procedures are available in the Technical Annex 5: Normalisation of Contaminant Concentrations in Sediments.

For total analysis, metals are usually not very sensitive with regard to storage conditions, so other measured parameters may determine how to store the samples. For total analysis of metals the sample can be stored at 4°C for a few weeks and for extended periods when frozen at –20°C, although direct wet sieving is preferred. For prolonged storage freeze-drying of samples can be considered. In this case contamination and losses of contaminants during freeze-drying have to be checked, in particular for volatile parameters (e.g. volatile organics) to be analysed in the same samples. Air-drying is not appropriate due to high contamination risks. Besides, samples may be difficult to disaggregate and mineral structures may be affected.

Once sieved and dried, samples should be homogenised and ground to a fine powder in a non-contaminating mill (e.g. made of agate or silicon nitride), and stored in plastic or glass containers until analysis.

## 3.	Blanks and contamination

Any contact between the samples and metals should be avoided. If metallic implements are required during sampling (e.g. grab jaws), they should be of stainless steel and contact between the sub-sample and metal should be minimised.

Plastic and glassware should be cleaned using a laboratory washing machine incorporating an acid wash, or by an equivalent cleaning procedure. Some plastic ware may not need to be cleaned before first use for metals work, but this feature must be thoroughly examined (e.g. using acid leaching tests) before proceeding with any real samples.

Blanks should be taken through the whole procedure. In practice, this will generally represent the time from acid addition to a sample container through to the final measurement. There should be at least one analytical blank in a batch of 10-20 samples, representing 5-10% of the sample number.

For core-samples, care should be taken not to contaminate lower samples with upper samples in the process of cutting up the sediment core.

## 4.	Digestion

### 4.1	Hydrofluoric acid digestion

HF digestions should be performed in polytetrafluorethylene (PTFE or PFA) vessels or equal quality, since the vessel must be metal-free and resist attack by the acid itself. Dried samples (normally 0.2-1g) should be accurately weighed into the vessel. Under fume extraction, the acid(s) are added. Some workers add HF first and leave the mixture to stand overnight, others add HF and nitric acid; others use a perchloric acid mixture etc. In general, the mixtures are left to stand for a period (1 hour – overnight) to avoid problems with violent reactions, which may be prompted by the presence of organic matter in the sediment. Note that perchloric acid and organic matter can promote an explosive reaction, so this acid must be treated with great caution if applied to sediments. Specially designed fume hoods should be used for HF and perchloric acid treatments.

HF is corrosive and toxic. It is therefore necessary to either remove the acid or render it less harmful to the measurement instruments. The acid may either be boiled off, which requires specialised facilities to extract the toxic fumes, or neutralised with boric acid (H3BO3), which is itself toxic.

Samples may be digested in a programmable heating block, with HF removal by evaporation. Alternatively, microwave digestions provide a rapid way to digest sediments. Some systems may allow the evaporation of HF, but in general microwaves use closed systems which allow pressure and temperature effects to rapidly dissolve the sediment. The most common methods use polytetrafluorethylene (PTFE or PFA) lined and sealed digestion vessels (Nakashima et all 1988; Loring and Rantala, 1990). Since these closed systems retain the HF, boric acid is added after the HF digestion to complex remaining HF and make the resulting solution less hazardous, as well as preventing aluminium fluoride precipitation. The solution should be made up to volume with ultra pure water and left to stand for at least 24 hours prior to analysis to precipitate excess boric acid. Others use adjusted amounts of boric acid and head the digest to accelerate the process (Maham et al 1987). Typical methods are described, for example, in Cook et al (1997), Jones and Laslett (1994), Wu et al. (1996), Quelle et al. (2011).

If HF is to be removed by evaporation, care should be taken to ensure that mercury is not lost from sample solutions (Delft and Vos, 1988). It can be difficult to avoid mercury contamination with total digestion, but usually mercury is not bound strongly, so mercury can alternatively be analysed using strong acid digestion or by direct analysis (Taylor et al., 2012).

### 4.2	Strong acid digestion

Partial digestions follow broadly similar procedures to HF digestions, as above, for example using HNO3 or aqua regia and deionised water to ca. 0.5 g sample.. Microwave digestion is the preferred technique but alternative methods applying high pressure and temperature can be used. The method used needs to be checked. Adequate performance is achieved when digestion dissolves all the Al and Li from the clay fraction. It can easily be tested whether a method meets this requirement through parallel analyses of very fine grained samples by the partial method in use and a total method e.g. HF. If results for Al and Li do not differ significantly, the partial method used is sufficiently strong. To optimise the tests and to further normalise results, sieving to 20 or 63 μm grain size can be used, also reducing problems with detection limits in sandy sediments. A more general discussion on normalization can be found in the Technical Annex 5: Normalisation of Contaminant Concentrations in Sediments.

If the partial method results in lower contents than the total method, the conditions for the partial digestion such as time, temperature, acid concentration etc. need to be adjusted. Usually boiling with aqua regia is insufficient for a complete dissolution of Al. Historically, aqua regia has been used for strong acid digestions, but hydrochloric acid produces interferences for multi-element analysis by ICP and Cd in graphite furnace, so concentrated nitric acid alone may be used as a substitute (Christensen et al., 1982; Krumgalz and Fainshtein, 1989; Koopmann and Prange, 1991). However, collision or reaction cell technology in ICP-MS can be used to reduce the interfering effect of chloride and other multi-element interferences, down to levels of <1% mass overlap for double charged or multi-element species, thus minimising correction

formulas for standard mass-corrections.

## 5.	Analysis and detection

Analysis of metals in solution resulting from digestion may be performed by a variety of means, but usually involve spectrometric or spectroscopic detection. Flame or graphite furnace atomic absorption spectroscopy used to be the major method used for analysis of metals (Welz, 1985). Alternatively, non-destructive methods, i.e. XRF (e.g. Jenkins, 1999; Potts, 1992;, Williams, 1987; Bertin, 1984) and INAA (Alfassi, 1998), which do not require a preceding digestion step, can be used. Multielement techniques like inductively coupled plasma attached to either an emission spectrometer (ICP-AES) or mass spectrometer (ICP-MS) allow much more rapid analysis of a wide range of metals (Kimbrough and Lauenstein, 2006; Duzgoren- Aydin et al., 2011; Castillo et al., 2012).

Interferences in analysis may arise through the presence of other components in the sample. Use of 3-point standard additions may highlight where these occur and can be used to correct for suppression or enhancement effects. Interferences occurring with multi-element analytical techniques can be complex and require skilled personnel to identify and minimise such effects (Cook et al, 1997).

Mercury can be detected by fluorescence spectrometry or cold vapour atomic absorption spectrometry. Direct methods for analysing mercury use pyrolysis combined with a gold trap and fluorescence or atomic absorption detection are sensitive enough to measure sediments directly (Maggi et al., 2009; Kelly et al., 2012). ICP-MS is also sufficiently sensitive to measure Hg, but care should be taken about controlling carry over memory effects. It should be ensured that the limits of detection of the analytical technique selected meets the requirements of the respective monitoring programme. Typical detection limits using different methods are given in Table 1.

Table 1: Typical limits of detection for the determination of trace metals with different techniques (in mg/kg d.w.) based on typical sample intakes (0.5 – 1 g)

|  | Al | Li | As | Cd | Cr | Cu | Hg | Ni | Pb | Zn |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| AAS / flame | 5 | 0.2 |  | 0.5 | 5 | 2 |  | 5 | 5 | 10 |
| AAS / graphite furnace, hydride technique, cold vapour | <1 | <1- | 0.2 | 0.02 | <1 | <1 | 0.05 | <1 | <1 | - |
| ICP – AES with hydride generation | 10 | 10 | 10 1 | 0.5 | 1 | 1 | - | 2 | 5 | 1 |
| ICP – MS | 40 | 0.1 | 1 | 0.01 | 0.2 | 0.1 | 0.05 | 0.2 | 0.2 | 2 |
| X-ray fluorescence analysis (XRF) | 1000 | - | - | - | 10 | 10 | - | 10 | 10 | 20 |
| Neutron activation analysis (INAA) | - | - | 0.3 | 1 | 0.8 | - | 0.1 | - | - | 2 |
| Fluorescence, AAS spectrometry (direct or cold vapour/hydride generation) | - | - | 0.2 | - | - | - | 0.005 | - | - | - |
| Direct Mercury Analyzer (AA) |  |  |  |  |  |  | 0.005 |  |  |  |

## 6.	Metal speciation

Several methods are in use to examine metal speciation in sediments, mainly by use of sequential extraction (e.g. Gleyzes et al., 2002; Scouller et al., 2006; Sutherland, 2010; Duzgoren-Aydin et al., 2011), but currently also by passive samplers (for metals primarily DGTs) in porewater (Peijnenburg et al., 2014).

## 7.	Limits of detection

The limit of detection for each metal is normally determined by analysing a blank solution (containing acid to the dilution it is present in the sample) at least ten times. The limit of detection is calculated from 3 times the standard deviation of the blank taken through the whole procedure. For typical limits of detection, see Table 1.

## 8.	Calibration and standards

Calibrations are usually performed using multi-element stock solutions, using at least a 4-point calibration covering the range of concentrations expected. Multi-element solutions are commercially available, and may be used provided that they are of a similar matrix to the analyte. A crosscheck solution from a separate batch, or from a different supplier or an internal reference standard, should be used to check the calibration. Differences should not exceed 5%.

For non-destructive methods, appropriate certified reference sediments are required for calibration purposes.

## 9.	Quality assurance

Every determinand should have its own Quality Control and Quality Assessment (QC – QA) scheme that includes regular blanks and calibration checks, the use of internal reference materials and certified reference materials and quality control charts. A system suitability check should be included in each batch to confirm that measuring instrument is operating correctly. In each batch of samples at least one standard addition (from the start of the digestion) should be included to demonstrate that matrix effects do not occur, and also a duplicate sample analysed in a different batch.

At least one laboratory reference material should be included in each batch of samples in order to check the long-term performance. A quality control Shewhart chart should be constructed for selected trace metals. If the warning limits are exceeded, the method should be checked for possible errors. When alarm limits are exceeded, the results should not be reported.

Certified reference materials (CRMs) for sediments are commercially available for both total methods and partial digestion methods. The data provided by such materials provide an independent check on the analytical performance. Table 2 contains information on certified reference materials available for use in marine monitoring.

Table 2: Certified Reference Materials for metals in marine sediments.

1IRMM: Institute for Reference Materials and Measurements (Europe)

2NRC: National Research Council (Canada)

3NIST: The National Institute of Standards and Technology (USA)

Participation in an international proficiency-testing scheme e.g. QUASIMEME is highly recommended to improve comparability between laboratories. Relevant quality assurance data should be reported e.g. to ICES, together with concentration data.

## 10	References

Alfassi ZB (1998) Instrumental multi-element chemical analysis. Kluwer Academic Publishers. Bertin EP (1984) Priniples and practice of X-ray spectrometric analysis. Plenum Press. Christensen TH, Pedersen LR, Tjell JC (1982) Comparison of four methods for digestion of sewage sludge samples for the analysis of metals by atomoc absorption spectrophotometry. Intern. J. Environ. Anal. Chem., 12, 41-50.

Castillo MLA, de Torres AG, Alonso EV, Cordero MTS, Pavon JMC (2012) Multi-element determination of Pt, Pd and Ir traces in environmental samples by ICP-MS after preconcentration. Talanta, 99, 853-858.

Cook JM, Robinson JJ, Chenery SR, Miles DL (1997). Determining cadmium in marine sediments by inductively coupled plasma mass spectrometry: attacking the problems or the problems with the attack? Analyst, 122, 1207-1210

Delft Wv, Vos G (1988) Comparison of digestion procedures for the determination of mercury in soils by cold-vapor atomic absorption spectrometry. Analytica Chimica Acta, 209, 147-156.

Duzgoren-Aydin NS, Avula B, Willett KL, Khan IA (2011) Determination of total and partially extractable solid-bound element concentrations using collision/reaction cell inductively coupled plasma-mass spectrometry and their significance in environmental studies. Environmental Monitoring Assessement, 172 (1-4), 51–66.

Gleyzes C, Tellier S, Astruc M (2002). Fractionation studies of trace elements in contaminated soils and sediment: a review of sequential extraction procedures. Trends in Analytical Chemistry, 21, 451-467.

Jones BR, Laslett RE (1994). Methods for analysis of trace metals in marine and other samples. DFR Lowestoft. AEP Analytical methods no. 11 pp29 ISSN 0953-4466.

Jenkins R (1999). X-ray fluorescence spectrometry, 2nd ed. John Wiley and Sons.

Kelly JG, Han FX, Su Y, Xia Y, Philips V, Shi Z, Monts DL, Pichardo ST, Xia K (2012) Rapid Determination of Mercury in Contaminated Soil and Plant Samples Using Portable Mercury Direct Analyzer without Sample Preparation, a Comparative Study. Water Air Soil Pollut., 223, 2361–2371.

Kimbrough KL, Lauenstein GG (Editors) (2006) Major and Trace Element Analytical Methods of the National Status and Trends Program: 2000-2006. Silver Spring, MD. NOAA Technical Memorandum NOS NCCOS 29, 19 pp.

Koopmann C, Prange A (1991) Multielement determination in sediments from the German Wadden Sea – investigations on sample preparation techniques. Spectrochimica Acta, 46B, 1395-1402.

Krumgalz B, Fainshtein G (1989) Trace metal contents in certified reference sediments determined by nitric acid digestion and atomic absorption apectrometry. Analytica Chimica Acta, 218, 335-340.

Larsen MM, Søndergaard J, Asmund G, Parmentier K, Vermaercke P (2011) Trace Elements. In: Philippe Quevauviller PR, Gert Verreet, editors. Chemical Marine Monitoring: Policy Framework and Analytical Trends. 10. John Wiley and Sons Ltd., West Sussex, 2011, pp. 71-100.

Loring DH, Rantala RT (1990) Sediments and suspended particulate matter: Total and partial methods of digestion. ICES Techniques in Marine Environmental Sciences, No. 9, 14pp.

Loring DH, Rantala RTT (1991) Manual for the geochemical analyses of marine sediments and suspended particulate matter. Earth-Science Review, 32: 235:283. Elsevier Science Publishers B.V. Maggi C, Berducci MT, Bianchi J, Giani M, Campanella L (2009) Methylmercury determination in marine sediment and organisms by Direct Mercury Analyser. Analytica Chemical Acta, 641, 32-36.

Mahan IK, Foderaro TA, Garza TL, Marinez RM, Maoney GA, Trivisonno MR, Willging EM (1987) Microwave digestion techniques in the sequential extraction of Calcium, Iron, Mangenes, Lead, and Zinc in sediments; Anal. Chem, 59, 938-945.

Nakashima S, Sturgeon RE, Willie SN, Berman SS (1988) Acid digestion of Marine samples for trace element analysis using microwave heating. Analyst, 113, 159-163.

Parsons C, Grabulosa EM, Pili E, Floor GH, Roman-Ross, G, Charlet, L (2013) Quantification of trace arsenic in soils by field-portable X-ray fluorescence spectrometry: Considerations for sample preparation and measurement conditions. Journal of Hazardous Materials, 262, 1213-1222.

Peijnenburg WJGM, Teasdale PR, Reible D, Mondon J, Bennett W, Campbell GC (2014) Passive Sampling Methods for Contaminated Sediments: State of the Science for Metals; Integrated Environmental Assessment and Management, 10 (2), 179-196.

Popek EP (2003) Sampling and Analysis of Environmental Chemical Pollutants. A Complete Guide. Elsevier. ISBN: 978-0-12-561540-2.

Potts PJ (1992) A handbook of silicate rock analysis. Blackie. ISBN: 978-0-216-93209-8 (Print) 978-1-4615-3270-5 (Online).

Quelle C, Besada V, Andrade JM, Gutiérrez N, Schultze F, Gago J, González JJ (2011) Chemometric tools to evaluate the spatial distribution of trace metals in surface sediments of two Spanish rías. Talanta, 87, 197-209.

Scouller RC, Snape I, Stark JS, Gore DB (2006) Evaluation of geochemical methods for discrimination of metal contamination in Antartc marine sediments: A case study from Casey Station. Chemosphere, 65, 294-309.

Smedes F, Davies, IM, Wells D, Allan A, Besada V (2000) Quality assurance of sampling and sample handling (QUASH) – Interlaboratory study on sieving and normalisation of geographically different sediments; QUASH round 5.

Sutherland RA (2010) BCR-701: A review of 10 years of sequential extraction analyses; AnalyticaChimica Acta, 680, 10-20.

Taylor DL, Linehan JC, Murray DW, Prell WL (2012) Indicators of sediment and biotic mercury contamination in a southern New England estuary. Marine Pollution Bulletin, 64(4): 807-819.

Welz B (1985) Atomic Spectroscopy; VCH publishers, Wernheim, Germany.

Williams KL (1987) An introduction to X-ray spectrometry – X-ray fluorescence and electron microprobe analysis. Allen and Win.

Wu SL, Zhao YH, Feng XB, Wittmeier A (1996) Application of inductively coupled plasma mass spectrometry for total metal determination in silicon-containing solid samples using the microwave-assisted nitric acid-hydrofluoric acid-hydrogen peroxide-boric acid digestion system. Journal of Analytical Atomic Spectrometry, 11 (4), 287-296.

# Technical Annex 7: Determination of PBDEs in sediment

## 1	Introduction

This annex provides advice on polybrominated diphenyl ether (PBDE) analysis for sediment. The analysis of PBDEs in sediment generally involves extraction with organic solvents, clean-up and gas chromatographic separation with mass-spectrometric detection. All stages of the procedure are susceptible to insufficient recovery and/or contamination. Where possible, quality control procedures are recommended in order to check the method’s performance. These guidelines are intended to encourage and assist analytical chemists to reconsider their methods and to improve their procedures and/or the associated quality control measures where necessary.

Polybrominated diphenyl ethers (PBDEs) constitute a group of additive flame retardants that are predominately found in electrical equipment, textiles and furniture. PBDEs are used as additives to polymers and resins and are thought to be more easily released to the environment compared to reactive flame retardants. PBDEs consist of two phenyl rings, connected by an ether bridge, each ring containing up to 5 bromine atoms. There are a possible 209 PBDE congeners depending on the position and number of bromines, with molecular weights ranging from 249 to 960 daltons. Congeners are named according to the International Union of Pure and Applied Chemistry (IUAPAC) numbering format developed for chlorobiphenyl (CB) congeners. However, PBDE technical mixtures used as flame retardants contain only a limited number of these congeners (~20). Commercial PBDE mixtures are classified according to the degree of bromination. The penta mix contains mainly tetra- to hexa-BDEs, the octa mix mainly hexa- to octa-BDEs and the deca mix containing mainly deca-BDE. Penta-BDE is primarily used in furniture and upholstery, octa-BDE in plastics, and deca-PBDEs in textiles and polymers. In the EU, a restriction on the use of the penta and octa technical mixture was put in place on 15 August 2004, restricting the use of the penta and the octa technical mixtures to a limit of 0.1% by mass for all articles placed in the market according to the European Directive 2003/11/EC¹, 24 th amendment of 76/769/EEC.

PBDEs can be released to the environment during their production, while manufacturing other products, and during disposal of products containing these chemicals. In addition, PBDEs may continue to leak out of treated material and constitute a diffuse source of these compounds to the environment. Atmospheric transportation is a major pathway for PBDEs into the marine environment. Other possible pathways include direct discharge from point sources such as storm waters and waste water.

Due to the similarity in structure between PBDEs and CBs, PBDEs are expected to persist in the marine environment and exhibit similar toxic properties. PBDEs have high (Log Kow >4) octanol water partition coefficients ranging from 4.3 for di-BDE to 10.33 for deca-BDE (Table 1). PBDEs are hydrophobic and therefore tend to associate with particulate material and will accumulate in sediment particularly if it has a high organic carbon content.

## 2	Sampling and short-term storage

Plastic materials must not be used for sampling due to the possible absorption of PBDEs by the container material (Hard polyethylene (HPE), Polypropylene(PP) or polytetrafluorethene can only be applied for a short time period, few days, or when in frozen condition i.e. −20°C). Samples should be stored in solvent washed aluminium cans or glass jars. Aluminium cars are better as glass jars are more susceptible to breakage. All glassware should be pre-baked before use (heat at 450oC overnight). Samples should be transported in closed containers; a temperature of 25°C should not be exceeded. If samples are not analysed within 48 h after sampling, they must be stored in the short term at 4°C. Storage over several months is only possible for frozen (<−20(C) and dried samples.

## 3	Pretreatment and long-term Storage

To increase comparability of data, samples can be wet sieved to reduce the variation of grain size distribution. This is particularly important for samples with less than 0.5% organic carbon. PBDEs can be extracted from wet or dried samples, although storage, homogenisation and extraction are much easier when the samples are dry. Drying the samples however may alter the concentrations, e.g. by the loss of compounds through evaporation or by contamination. Losses and contamination during drying must be shown to be insignificant.

Chemical drying can be performed by grinding with Na2SO4 or MgSO4 until the sample reaches a free-flowing consistency. It is essential that there are at least several hours between grinding and extraction to allow for complete dehydration of the sample; residual water will decrease the extraction efficiency. A parallel determination of dry weight should be performed to allow recalculation to dry weight. A further representative subsample should be used for determination of organic carbon to allow normalisation of data.

Freeze-drying is a popular technique, although its application should be carefully considered. Possible losses or contamination must be checked. Losses through evaporation are diminished by keeping the temperature in the evaporation chamber below 0°C. Contamination during freeze-drying is reduced by putting a lid, with a hole of about 3 mm in diameter, on the sample container.

Typically, the dry intake mass for PBDE analysis is between 10 and 100g, depending on the extraction method and the expected concentrations. Before taking a subsample for analysis, the samples should be sufficiently homogenised. Freeze dried samples can be stored at room temperature and wet sediment frozen, at −20(C or below.

More information is provided in the guidelines for monitoring contaminants in sediment

## 4.	Analysis

### 4.1	Precautionary Measures

Special precautions are required in the laboratory when analysing PBDEs due to their sensitivity to UV light. PBDEs are prone to photolytic degradation; if exposed to UV light debromination can occur, especially for BDE209 (Covaci et al., 2003; de Boer and Wells, 2006). Therefore, incoming light to the laboratory should be minimised by placing UV filters on the windows and over fluorescent lightings, or by not using any artificial lighting within the laboratory. It is recommended that all calibration and spiking standards are prepared and stored in amber glassware.

The use of plastics should be avoided as they can contain PBDEs. BDE209 can adsorb to dust particles and can be a source of contamination in the laboratory. Therefore, it is recommended that an ioniser be placed in the laboratory and the laboratory kept as dust free as possible. Heating of glassware in an oven (e.g. at 450(C overnight) can also be useful for removing PBDE contamination. In addition, all glassware should be covered with solvent-washed aluminium foil to keep out any dust. The degree of contamination, and its sources, will vary between laboratories. Blanks should be significantly lower than the concentrations found in field samples. In practice, analysts should adopt a methodical approach to precautionary measures against contamination to determine the measures that are necessary in their particular circumstances to reduce blanks to acceptably low values, of acceptable variance.

### 4.2	Solvent Purity and Blanks

PBDEs, and especially BDE209, can stick to glassware (or any other materials with suitable sorption characteristics). This can result in contamination of glassware. For work at low concentrations, the use of high-purity solvents is essential, particularly when large solvent volumes are being used for column clean-up. All batches of solvents should be checked for purity by concentration of an aliquot of solvent by at least the same volume factor as used in the overall analytical procedure. Batches which show significant contamination, so as to interfere with analysis, should be rejected. All glassware should be solvent-rinsed immediately prior to use as it will collect contamination from the laboratory atmosphere during storage. Pre-cleaning of all reagents (alumina, silica, sodium sulphate, hydromatrix etc) is essential.

### 4.3	Preparation of materials

Solvents, reagents and adsorptive materials must be ‘free’ of PBDEs and other interfering compounds. If not, then they must be purified using appropriate methods. Reagents and absorptive materials should be purified by solvent extraction and/or by heating in a muffle oven as appropriate. Glass fibre materials (e.g. Soxhlet thimbles and filter papers used in Pressurised Liquid Extraction (PLE)) should be cleaned by solvent extraction or pre-baked at 450oC overnight. It should be borne in mind that clean materials can be re-contaminated by exposure to laboratory air, particularly in urban locations, and so the method of storage after cleaning is of critical importance. Ideally, materials should be prepared immediately before use, but if they are to be stored, then the conditions should be considered critically. All containers which come into contact with the sample should be made of glass or aluminium, and should be pre-cleaned before use. Appropriate cleaning methods would include washing with detergents, rinsing with water of known quality, and finally solvent rinsing immediately before use. This method should also be used for the first step of cleaning of PLE cells which should be further washed through a complete cycle of extraction using the PLE. Heating of glassware in an oven (e.g. at 400(C for 24 hours) can also be useful for removing PBDE contamination.

### 4.4	Extraction and clean-up

The similarity in structure of the PBDEs to CBs means that techniques used for the analysis of CBs may also be applied to the analysis of PBDEs (de Boer et al., 2001). PBDEs are hydrophobic and will have an affinity for particles and therefore can accumulate in sediment particularly if it has a high organic carbon content. A range of extraction methods have been used for the extraction of PBDEs from sediment. These include the more traditional methods such as Soxhlet and the newer automated methods such as Pressurised Liquid Extraction (PLE), Supercritical fluid extraction (SFE) has also been applied to PBDE extractions, although reproducibility was poor compared to Soxhlet (Covaci et al., 2003). However, most laboratories are still using the traditional Soxhlet extraction. For soxhlets, hexane/acetone or other mixtures such as pentane/dichloromethane have been used for the extraction of PBDEs combined with an extraction time of between 6 and 24 h. Hexane/acetone mixtures are also used with PLE (if no fat retainers used) with an extraction time of ~ 10 min per sample. Other solvents such as dichloromethane or toluene may be used for PLE. PLE or soxhlet are therefore the preferred methods with PLE having the advantage of using less solvent, being fully automated and taking less time than Soxhlet. All glassware should be cleaned as indicated above, and septa replaced each time.

Sediment extracts will always contain many compounds other than PBDEs, and a suitable clean up is necessary to remove those compounds which may interfere with the subsequent analysis. Different techniques may be used, either singly or in combination, and the choice will be influenced by the selectivity and sensitivity of the final measurement technique and also by the extraction method employed. The most commonly used clean-up methods involve the use of alumina or silica adsorption chromatography, but gel permeation chromatography (GPC) is also employed, and is particularly effective at removing sulphur, which must be removed from the extract. Iso-hexane can be used elute alumina or silica columns. However, whatever method and solvent is used, the elution pattern of PBDEs should be determined and carefully checked, particularly for BDE209. When applying gel permeation chromatography (GPC), two serial columns are sometimes used to remove potentially interfering substances. Solvent mixtures such as dichloromethane/hexane or cyclohexane/ethyl acetate can be used as eluents for GPC. However, a second clean-up step is often required to separate the PBDEs from other organohalogenated compounds. One advantage of GPC is that it can also be used to remove sulphur from the extracts. When silica columns are used, the PBDEs will elute in the second, more polar, fraction (along with the organochlorine pesticides). However, this will be dependent on the solvents used and the adsorbents and the degree of deactivation. PBDEs are stable under acid conditions; therefore treatment with sulphuric acid or acid impregnated silica columns may be used in the clean-up.

One advantage of using PLE extraction is that it is possible to combine the clean up with the extraction, especially where mass spectrometry will be used as the detection method. Methods have been developed by Lund University for online clean-up and fractionation of dioxins, furans and PCBs with PLE for food, feed and environmental samples (Sporring et al., 2003). The first method utilises a fat retainer for the on-line clean-up of fat. Silica impregnated with sulphuric acid, alumina and florisil have all been used as fat retainers. A non-polar extraction solvent such as hexane should be used if fat retainers are used during PLE. This method can also be applied to the extraction of PBDEs in sediment as well as biota. However, problems have been highlighted with BDE209 which can be lost during PLE extraction through adsorption on to the extraction system tubing. However, with careful optimisation it is possible to use PLE for BDE209. Losses of BDE209 may be accounted for by using labeled 13C BDE209 as an internal standard.

For GC/MS analysis, sulphur should be removed from the extracts in order to protect the detector. This can be achieved by the addition of copper powder, wire or gauze during or after Soxhlet extraction. Ultrasonic treatment might improve the removal of sulphur. As an alternative to copper, other methods can be used (Smedes and de Boer, 1997).

### 4.5	Pre-concentration

Samples can safely be concentrated using a Kuderna Danish system. Alternatively more modern Turbo-vap sample concentrators can be used to reduce solvent volume. This is a rapid technique, but needs to be carefully optimised and monitored to prevent both losses (both of volatiles and solvent aerosols) and cross-contamination. The use of rotary-film evaporators is more time consuming but more controllable. However, evaporation of solvents using this technique should be performed at low temperature (water bath temperature of ≤ 30(C) and under controlled pressure conditions, in order to prevent losses of the more volatile PBDEs. For the same reasons, evaporation to dryness should be avoided at all costs. Syncore systems are also more controllable but as rapid as Turbo-vaps and have the advantage of automatically rinsing down the sides of the vial (if the flushback module fitted) while concentrating. Again water-bath temperatures should be minimised to prevent losses. When reducing the sample to the required final volume, solvents can be removed by a stream of clean nitrogen gas. Suitable solvents for injection into the gas chromatograph (GC) include hexane, heptane, toluene and iso-octane.

### 4.6	Selection of PBDEs to be determined

PBDE technical mixtures used as flame retardants contain only a limited number of the possible 209 congeners (~20). The penta mix contains mainly tetra- to hexa-BDEs, the octa mix mainly hexa- to octa-BDEs and the deca mix containing mainly deca-BDE. Nine BDE congeners have been detected in the penta mix, the major ones being BDE47 (37%) and BDE99 (35%). The octa mix contains hexa- to octa-brominated congeners, with the main congener being BDE183, a hepta-brominated congener. The deca mix contains 98% decaBDE (BDE209).

Concentrations of PBDE congeners currently analysed vary considerably, however the congener pattern found in environmental samples is relatively consistent. Most laboratories analyse for the penta-mix compounds, tetra- to hexa-BDEs. In addition, these congeners are thought to be the most toxic and likely to bioaccumulate. In sediment BDE28, 47, 85, 99, 100, 153, 154 are normally found. BDE183 is occasionally found but as a representative of the octa-mix should also be included in any congener list. Other BDE congeners also measured and occasionally found include BDE66 and 85, a tetra- and penta-BDE, respectively. BDE 209 is less frequently measured, due to the analytical difficulties, but when it is it can often be the dominant congener in sediment. Law et al. (2006) proposed a minimum congener set for use when determining BDEs to cover all three technical mixtures and what is commonly found in biota and sediment. This list consisted of BDE28, BDE47, BDE99, BDE100, BDE153, BDE154, BDE183 and BDE209. This list is consistent with the congeners required by the QUASIMEME Scheme for both biota and sediment and are routinely measured by the majority of laboratories. However, it is apparent that other congeners are found in marine samples (e.g. BDE 66 and 85) and so should also be analysed.

Standards are available for all these congeners. Table 1 lists the PBDEs most commonly monitored

Table 1	Congeners commonly monitored in environmental samples along with their degree of bromination, chemical name and the octanol water partition coefficient (Log KOW), where available (Braekevelt et al., 2003).

| PBDE Congener | Number of Br | Name | Log KOW |
| --- | --- | --- | --- |
| BDE17 | 3 | 22’,4-tribromodiphenyl ether | 5.74 |
| BDE28* | 3 | 2, 44’-tribromodiphenyl ether | 5.94 |
| BDE75 | 4 | 2, 44’, 6-tetrabromodiphenyl ether |  |
| BDE49 | 4 | 2, 34, 5’-tetrabromodiphenyl ether |  |
| BDE71 | 4 | 2, 3’, 4’, 6-tetrabromodiphenyl ether |  |
| BDE47* | 4 | 2, 2’,4, 4’-tetrabromodiphenyl ether | 6.81 |
| BDE66 | 4 | 2, 3’,4, 4’-tetrabromodiphenyl ether |  |
| BDE77 | 4 | 3, 3’,4, 4’-tetrabromodiphenyl ether |  |
| BDE100* | 5 | 2, 2’,4, 4’, 6-pentabromodiphenyl ether | 7.24 |
| BDE119 | 5 | 2, 3’,4, 4’, 6-pentabromodiphenyl ether |  |
| BDE99* | 5 | 2, 2’,4, 4’, 5-pentabromodiphenyl ether | 7.32 |
| BDE85 | 5 | 2, 2’,3, 4, 4’-pentabromodiphenyl ether | 7.37 |
| BDE154* | 6 | 2, 2’,4, 4’, 5, 6’-hexabromodiphenyl ether | 7.82 |
| BDE153* | 6 | 2, 2’,4, 4’, 5, 5’-hexabromodiphenyl ether | 7.90 |
| BDE138 | 6 | 2, 2’,3, 4, 4’, 5’-hexabromodiphenyl ether |  |
| BDE190 | 7 | 23 3’,44’,56-heptabromodiphenyl ether |  |
| BDE183* | 7 | 22',34 4',5',6-heptabromodipheny l ether | 8.27 |
| BDE209* | 10 | Decabromodiphenyl ether | 10.33 |

* Congeners proposed by Law et al. as a minimum congener set for use when determining BDEs; they are also included in the QUASIMEME scheme

### 4.7	Instrumental determination of PBDEs

Splitless, pulsed-splitless, programmed temperature vaporiser (PTV) and on-column injectors have been used for the determination of PBDEs, all of which are capable of yielding good results if optimised. Automatic sample injection should be used wherever possible to improve the reproducibility of injection and the precision of the overall method. For PBDE analysis, the cleanliness of the liner is very important if adsorption effects and discrimination are to be avoided, and the analytical column should not contain active sites to which PBDEs, particularly BDE209, can be adsorbed. Helium is the preferred carrier gas, and only capillary columns should be used. Mainly non-polar columns are used, e.g. HT-8, DB1701, DB5 and STX-500 (DB1 is usually used for BDE209) Korytar et al. (2005) provide comprehensive information on various capillary columns used for PBDE analysis. Baseline separation should be achievable for all BDEs listed in Table 1. However, BDE31 may coelute with BDE28. Because of the wide boiling range of the PBDEs to be determined and the surface-active properties of the higher PBDEs, the preferred column length is 25–50 m, with an internal diameter of 0.1 mm to 0.3 mm. Film thicknesses around 0.2 µm are generally used.

BDE209 can be measured in the same run but will give a smaller and broader peak compared to other PBDEs. Detection limits will be approximately 10 fold higher for BDE209. Since the retention time is long, the determination of BDE209 is often done separately using thinner films (0.1 µm) and/or a shorter column, both of which have been found to improve the detection of BDE209.

### 4.8	Detection Methods

#### 4.8.1	General

Either gas chromatography-mass spectrometry (GC-MS) or GC- MS-MS (ion trap or triple quadropole) should be used. Both high and low resolution GC-MS can be used in conjunction with either electron ionisation (EI) or electron capture negative ionisation (ECNI). Although gas chromatography-high resolution mass spectrometry with electron impact ionisation (GC-HRMS) is the best method to unambiguously identify and quantify PBDEs in environmental samples, the expense and limited availability means that most laboratories use low resolution GC-MS normally in ECNI mode. Lower brominated PBDEs (mono- and di-BDEs) show better sensitivity in EI mode. However, the higher brominated PBDEs (>3 bromines) give better sensitivity using the ECNI mode; limits of detection for these congeners are approximately 10 fold lower in ECNI compared to EI. ECNI shows improved sensitivity compared to positive impact chemical ionisation (PCI). Therefore, GC-ECNIMS is used most frequently for the analysis of PBDEs in environmental samples. Either ammonia or methane may be used as the reagent gas when using chemical ionisation.

#### 4.8.2	GC-MS

The base ions detected using ECNI are the bromine ions (m/z = 79/81) for the tri- to hepta-BDEs. BDE congeners show the typical 79Br (50.5%) and 81Br (49.5%) isotope distribution pattern. One of the drawbacks of the CI mode is that isotopically labelled standards (13C) cannot be used as internal standards for quantification purposes when only the bromide ions are monitored. However, mono fluorinated BDEs may be used as internal standards. Alternatively using GC-ECNI-MS a recovery standard can be added prior to extraction. CB198 and other halogenated compounds not present in environmental samples can be used as recovery standards. Larger fragment ions, necessary for confirmation, are only found for BDE209. These are formed by the cleavage of the ether bond to give the pentabromo phenoxy ion (m/z = 484/486). In general an internal standard method should be used for the quantification of PBDEs.

One advantage of using EI is that 13C labelled internal standards may be used. The major ions formed in EI mode are the molecular ions which can be used for identification and quantification purposes. Other fragment ions are also formed in EI mode which can be used as confirmatory ions.

#### 4.8.3	Possible pitfalls and solutions

Degradation of PBDEs, particularly BDE209, can occur on the GC. The presence of a hump or rising baseline before BDE209 is an indication of degradation during injection, whereas the presence of lower brominated BDE (nona-, octa- and eventually other lower brominated BDEs) indicates possible degradation during extraction and clean-up. To minimise this, the GC liners and injection syringe should be changed regularly. Silanising both the syringe and liner may help. When using on-column injection, the choice of retention gap can also have an effect on the degradation of BDE209 during analysis. Deactivated fused silica retention gaps are often used. The QUASIMEME (Quality Assurance of Information for Marine Environmental Monitoring) external quality assurance scheme has also highlighted the difficulties with the analysis of BDE209 with CV% for this congener ranging from 40 – 256%. As a result, many laboratories do not analyse for BDE209.

## 5	Calibration and Quantification

### 5.1	Standards

Standard solutions of known purity should be used for the preparation of calibration standards. Contaminants in the standard must not interfere with determination of any of the target analytes. If the quality of the standard materials is not guaranteed by the producer or supplier (as for certified reference materials), then it should be checked by GC-MS analysis. Solid standards should be weighed to a precision of 0.1–0.5%. In addition, certified standard solutions are available from QUASIMEME and other suppliers for cross-checking. Calibration standards should be stored in the dark because some PBDEs are photosensitive, and ideally solutions to be stored should be sealed in amber, glass ampoules. Otherwise, they can be stored in a refrigerator in stoppered measuring cylinders or flasks that are gas tight to avoid evaporation of the solvent during storage.

Ideally, internal standards should fall within the range of the compounds to be determined, and should not include compounds which may be present in the samples. A range of 13C-labelled PBDEs are available for use as internal standards in PBDE analysis using GC-EIMS. However, when using GC-ECNIMS these are of little value as, for the majority of congeners, only the bromine ions can be monitored. For BDE209 a high molecular weight fragment is formed during GC-ECNIMS and, therefore, 13C labelled BDE209 should be used. When GC-ECNIMS is used mono fluorinated BDEs may be used as internal standards or a recovery standard added to each sample prior to extraction and the recovery calculated as a check on the method.

### 5.2	Calibration

Multilevel calibration with at least five calibration levels is preferred to adequately define the calibration curve. In general, GC-MS calibration is linear over a considerable concentration range but exhibits non-linear behaviour when the mass of a compound injected is low due to adsorption. The use of a syringe standard is recommended, for example BDE190. Quantification should be conducted in the linear region of the calibration curve, or the non-linear region must be well characterised during the calibration procedure. Internal standardisation should be used for the quantification of PBDEs. Linearity of response in samples may be controlled using further internal standards at different concentrations, or a standard addition technique can be used.

## 6	Analytical Quality Control

Planners of monitoring programmes must decide on the accuracy, precision, repeatability, and limits of detection and determinaton which they consider acceptable. Minimum achievable limits of determination for each individual component should be as follows:

- for GC-ECNIMS measurements: 0.05 (g kg(1 dry weight for tri- to hepta-BDE and 0.50 (g kg(1 dry weight for BDE209; Often lower LOD could be achieved : 0.005 to 0.05 µg kg–1 dry weight (BDE209 0.01 to 0.12 µg kg–1;

- for GC-EIMS: 0.5 (g kg(1 dry weight.

A procedural blank should be measured with each batch of samples, and should be prepared simultaneously using the same chemical reagents and solvents as for the samples. Its purpose is to indicate sample contamination by interfering compounds, which will result in errors in quantification. Recoveries should be checked for all samples using selected recovery internal standards. A second confirmation of recovery may be obtained by passing a standard through the whole analytical procedure Recoveries should be between 70 and 120%; if not analyses should be repeated. The procedural blank is also very important in the calculation of limits of detection and limits of quantification for the analytical method. In addition, a laboratory reference material (LRM) should be analysed within each sample batch. No certified reference materials are available for sediment. The LRM must be homogeneous and well-characterised for the determinands of interest within the analytical laboratory. Ideally the LRM determinand concentrations should be in the same range as those in the samples. The data produced for the LRM in successive sample batches should be used to prepare control charts. It is also useful to analyse the LRM in duplicate from time to time to check within-batch analytical variability. The analysis of an LRM is primarily intended as a check that the analytical method is under control and yields acceptable precision. At regular intervals, the laboratory should participate in an intercomparison or proficiency exercise in which samples are circulated without knowledge of the determinand concentrations, in order to provide an independent check on performance.

## 7	Data Reporting

The calculation of results and the reporting of data can represent major sources of error. Control procedures should be established in order to ensure that data are correct and to obviate transcription errors. Data stored on databases should be checked and validated, and checks are also necessary when data are transferred between databases. If possible data should be reported in accordance with the latest ICES reporting formats.

## 8	References

de Boer, J., Allchin, C. R., Zegers B., and Boon J. P. 2001. Method for the analysis of polybrominated diphenyl ethers, Trends in Anal. Chem., 20: 591–599.

de Boer, J., and Wells, D. E. 2006, Pitfalls in the analysis of brominated flame retardants in environmental, human and food samples – including results of three international interlaboratory studies, Trends in Anal. Chem., 25: 364–572.

Braekevelt, E., Tittlelier, S. A., Tomy, G. 2003, Direct measurement of octanol-water partition coefficients of some environmentally relevant brominated diphenyl ether congeners, Chemosphere, 51: 563–567.

Covaci, A., Voorspoels, S., and de Boer, J. 2003. Determination of brominated flame retardants, with emphasis on polybrominated diphenyl ethers (PBDEs) in environmental and human samples – a review, Environ. Int., 29: 735–756.

Korytár, P., Covaci, A., de Boer, J., Gelbin, A., and Brinkman, U. A.Th. 2005. Retention-time database of 126 polybrominated diphenyl ether congeners and two Bromkal technical mixtures on seven capillary gas chromatographic columns. Journal of Chromatography A, 1065: 239–249.

Law, R. J., Allchin, C. R., deBoer J., Covaci, A.., Herzke, D., Lepom, P., Morris, S., Tronczynski, J., and deWit, C. A. 2006. Levels and trends of brominated flame retardants in the European environment, Chemosphere, 64: 187–208.

OSPAR Commission. 1999. JAMP Guidelines for Monitoring Contaminants in Sediment.

Smedes, F., and de Boer, J. 1997. Chlorobiphenyls in marine sediments: guidelines for determination. ICES Techniques in Marine Environmental Sciences, No. 21.

Sporring, S., Wiberg, K., Bjorklund, E., and Haglund, P. 2003. Combined extraction/Clean-up strategies for fast determination of PCDD/Fs and WHO PCBs in food and feed samples using accelerated solvent extraction, Organohalogen Compounds, 60–65, Dioxin 2003, Boston.

# Technical Annex 8: Determination of hexabromocyclododecane (HBCD) in sediment

## 1	Introduction

This annex provides advice on hexabromocyclododecane (HBCD) analysis for sediment. The analysis of HBCD in sediment generally involves extraction with organic solvents, clean-up and either gas chromatographic separation with mass-spectrometric (MS) detection or liquid chromatography with MS detection. All stages of the procedure are susceptible to insufficient recovery and/or contamination. Where possible, quality control procedures are recommended in order to check the method’s performance. These guidelines are intended to encourage and assist analytical chemists to reconsider their methods and to improve their procedures and/or the associated quality control measures where necessary.

HBCD is produced by the bromination of cycldodec-15 9-triene and has been used since the late 1970s. HBCD is an additive flame retardant that is predominately used in foams and expanded polystyrene and in textile back coatings. HBCD can be released to the environment during its production and while manufacturing other products, and during disposal of products containing this chemical. In addition, HBCD may continue to leak out of treated material and constitute a diffuse source of this compound to the environment. Atmospheric transportation is thought to be a major pathway for HBCD into the marine environment; HBCD has been found in remote areas of Sweden and Finland and in the Arctic.

Theoretically, there are sixteen possible stereoisomers of HBCD; 6 enantiomeric pairs and 4 meso forms. However, in technical HBCD mixtures mainly three of the 6 enatiomeric pairs are found, namely α-, β- and γ-HBCD, with the dominant isomer being γ-HBCD (Law et al., 2005). In sediment the γ- isomer also dominates but in biota the major isomer is α-HBCD. β-HBCD is always a minor component. HBCD has a high octanol water partition coefficient (Log Kow = 5.8). HBCD is hydrophobic and therefore will tend to associate with particulate material and will accumulate in sediment particularly if it has a high organic carbon content.

## 2	Sampling and short-term storage

Sample contamination may occur during sampling, sample handling, pre-treatment and analysis, due to the environment, the containers or packing materials used, the instruments used during sample preparation, and from the solvents and reagents used during the analytical procedures. Controlled conditions are therefore required for all procedures on-board ship. It is important that the likely sources of contamination are identified and steps taken to preclude sample handling in areas where contamination can occur. A ship is a working vessel and there can always be procedures occurring as a result of the day-to-day operations (deck cleaning, automatic overboard bilge discharges, etc.) which could affect the sampling process. One way of minimising the risk is to conduct any sample manipulation in a clean area, such as within a laminar-flow hood, away from the deck areas of the vessel. Plastic materials must not be used for sampling due to the possible absorption of contaminants by the container material (if not avoidable hard polyethylene (HPE), Polypropylene(PP) or polytetrafluorethene can only be applied for a short time period, few days, or when in frozen condition, i.e. −20°C). Samples should be stored in solvent washed aluminium cans or glass jars. Aluminium cans are better as glass jars are more susceptible to breakage. Samples should be transported in closed containers; a temperature of 25°C should not be exceeded. If samples are not analysed within 48 h after sampling, they must be stored in the short term at 4°C. Storage over several months is only possible for frozen (<-20(C) and dried samples.

## 3	Pre-treatment and long term Storage

To increase comparability of data, samples can be wet sieved to reduce the variation of grain size distribution. This is particularly important for samples with less than 0.5% organic carbon. HBCD can be extracted from wet or dried samples, although storage, homogenisation and extraction are much easier when the samples are dry. Drying the samples however may alter the concentrations e.g. by the loss of compounds through evaporation or by contamination. Losses and contamination during drying must be shown to be insignificant. Chemical drying can be performed by grinding with Na2SO4 or MgSO4 until the sample reaches a free-flowing consistency. It is essential that there are at least several hours between grinding and extraction to allow for complete dehydration of the sample; residual water will decrease extraction efficiency. A parallel determination of dry weight should be performed to allow recalculation of analytical results to a dry weight basis. A further representative subsample should be used for determination of organic carbon to allow normalisation of data.

Freeze-drying is a popular technique, although its application should be carefully considered. Possible losses or contamination must be checked. Losses through evaporation are diminished by keeping the temperature in the evaporation chamber below 0°C. Contamination during freeze-drying is reduced by putting a lid, with a hole of about 3 mm in diameter, on the sample container.

Before taking a subsample for analysis, the samples should be sufficiently homogenised. Freeze dried samples should be stored at room temperature and wet sediment frozen, at -20(C or below.

More information is provided in the guidelines for monitoring contaminants in sediment.

## 4	Analysis

### 4.1	Solvent Purity and Blanks

For work at low concentrations, the use of high-purity solvents is essential and particularly when large solvent volumes are being used for extraction and column clean-up. All batches of solvents should be checked for purity by concentration of an aliquot of solvent by at least the same volume factor as used in the overall analytical procedure. Batches which show significant contamination, which will interfere with analysis, should be rejected. All glassware should be solvent-rinsed immediately prior to use as it will collect contamination from the laboratory atmosphere during storage. Heating of glassware in an oven (e.g. at 450(C for 24 hours) can also be useful in removing contamination. Pre-cleaning of all reagents (alumina, silica, sodium sulphate, hydromatrix, etc.) is essential.

### 4.2	Preparation of materials

Solvents, reagents and adsorptive materials must be free of HBCD and other interfering compounds. If not, then they must be purified using appropriate methods. Reagents and absorptive materials should be purified by solvent extraction and/or by heating in a muffle oven as appropriate. Glass fibre materials (e.g. Soxhlet thimbles and filter papers used in pressurised liquid extraction (PLE)) should be cleaned by solvent extraction or pre-baked at 450oC overnight. It should be borne in mind that clean materials can be re-contaminated by exposure to laboratory air, particularly in urban locations, and so storage after cleaning is of critical importance. Ideally, materials should be prepared immediately before use, but if they are to be stored, then the conditions should be considered critically. All containers which come into contact with the sample should be made of glass or aluminium, and should be pre-cleaned before use. Appropriate cleaning methods would include washing with detergents, rinsing with water and finally solvent rinsing immediately before use. This method should also be used for the first step of cleaning of PLE cells which should be further washed through a complete cycle of extraction using the PLE.

### 4.3	Extraction and clean-up

HBCD is hydrophobic and will have an affinity for particles and therefore can accumulate in sediment particularly if it has a high organic carbon content. HBCD can be extracted using extraction techniques used for other lipophilic, non-polar compounds such as CBs and PBDEs (Morris et al., 2006). A range of extraction methods have been used for the extraction of HBCD from sediment. These include the more traditional methods such as Soxhlet or Ultra Turrax homogenisation and newer automated methods such as pressurised liquid extraction (PLE). However, most laboratories are still using the traditional Soxhlet extraction. For Soxhlets, hexane/acetone mixtures are commonly used combined with an extraction time of between 6 and 24 hrs. Hexane/acetone mixtures are also used with PLE (if no fat retainers used) with an extraction time of ~ 10 min per sample. PLE or Soxhlet are therefore the preferred methods with PLE having the advantage of using less solvent, being fully automated and taking less time than Soxhlet.

Sediment extracts will always contain many compounds other than HBCD, and a suitable clean up is necessary to remove those compounds which may interfere with the subsequent analysis. Different techniques may be used, either singly or in combination, and the choice will be influenced by the selectivity and sensitivity of the final measurement technique and also by the extraction method employed. The most commonly used clean-up methods involve the use of alumina or silica adsorption chromatography, but gel permeation chromatography (GPC) can also be employed. For GPC, two serial columns are often used. Solvent mixtures such as dichloromethane/hexane or cyclohexane/ethyl acetate can be used as eluents for GPC. Depending on the detection method being used it may be necessary to use a second clean-up step to separate HBCD from other orgnaohalogenated compounds. This is especially critical when using electron capture detection (ECD). HBCD is stable under acid conditions; therefore treatment with sulphuric acid or acid impregnated silica columns may be used in the clean-up.

One advantage of using pressurised liquid extraction (PLE) is that it is possible to combine the clean up with the extraction, especially where mass spectrometry is being used as the detection method. Methods have been developed by Lund University for online clean-up and fractionation of dioxins, furans and PCBs with PLE for food, feed and environmental samples (Sporring et al. 2003). The first method utilises a fat retainer for the on-line clean-up of fat. Silica impregnated with sulphuric acid, alumina and florisil have all been used as fat retainers. A non-polar extraction solvent such as hexane should be used if fat retainers are used during PLE. This method can also be applied to the extraction of HBCD in sediment as well as biota. However, if tetrabromobisphenol A (TBBP-A) is also to be extracted, this method is not possible due to retention on the fat retainer.

For GC/MS analysis, sulphur should be removed from the extracts in order to protect the detector. This can be achieved by the addition of copper powder, wire or gauze during or after Soxhlet extraction. Ultrasonic treatment might improve the removal of sulphur. As an alternative to copper, other methods can be used (Smedes and de Boer, 1997).

### 4.4	Pre-concentration

Turbo-vap sample concentrators can be used to reduce solvent volume. The use of rotary-film evaporators is more time consuming but more controllable. Buchi Syncore systems are also more controllable and are as rapid as Turbo-vaps and have the advantage of automatically rinsing down the sides of the vial (if flushback module fitted) while concentrating. In contrast to PBDEs and CBs where the evaporation steps have to be carefully optimised to avoid losses of the lower brominated/chlorinated compounds, loss of HBCD during concentrations is not an issue. When reducing the sample to final a volume, solvents can be removed by a stream of clean nitrogen gas. Suitable solvents for injection into the gas chromatograph (GC) include pentane, hexane, heptane and iso-octane. For analysis by LC-MS samples are normally taken to dryness and reconstituted in methanol.

### 4.5	Instrumental determination of HBCD

Analysis of HBCD is less straightforward than the analyses of PBDEs and a different approach is normally required. HBCD can be determined by gas chromatography-mass spectrometry (GC-MS), but the analysis can be problematic. The uncertainty is greater than for PBDEs analysed using the same method (Covaci et al., 2003). In addition, the three main HBCD diastereoisomers found in technical mixtures cannot be separated by GC and a total concentration only can be determined. A liquid chromatography (LC) method is required to separate the three diastereoisomers, with separation of enantiomers being possible with a chiral HPLC column.

4.5.1	GC-MS

Few publications analyse HBCD along with the PBDEs by GC-MS, although it has been done using both GC-electron capture negative ionisation (ECNI) and high resolution GC-MS. GC-electron capture detection (ECD) is rarely used due to the limited linear range, and lack of selectivity. If GC-ECD is used then the clean-up will need to separate out all other organohalogenated compounds which may give co-elution problems. Splitless, pulsed-splitless, programmed temperature vaporiser (PTV) and on-column injectors have been used for the determination of HBCD. Automatic sample injection should be used wherever possible to improve the reproducibility of injection and the precision of the overall method. Mainly non-polar columns are used with the most commonly used columns being HT-8, DB1701, STX-500 and DB1. Both high and low resolution GC-MS can be used in conjunction with either electron ionisation (EI) or ENCI. Most laboratories using GC for HBCD use low resolution GC-MS normally in ENCI mode. ENCI shows improved sensitivity compared to EI or positive impact chemical ionisation (PCI). When GC-ENCIMS is used, the bromide ion is monitored. One of the drawbacks of the CI mode is that isotopically labelled standards (13C) cannot be used as internal standards for quantification purposes when only the bromide ions are monitored. Larger fragment ions, required for structural confirmation are not formed in ENCI mode. Either ammonia or methane may be used as the reagent gas when using chemical ionisation.

HBCD isomers interconvert at temperatures >160oC, therefore the three HBCD diastereoisomers cannot be separated and a broad hump is obtained in the GC chromatogram. In addition, the three diastereoisomers will have different response factors and, therefore, the concentration of HBCD cannot be determined accurately by GC-MS (Wells and de Boer, 2006). Furthermore HBCD degrades at 240oC, therefore, there may be significant losses of HBCD during GC analysis. Cold on-column injection, short GC columns and thin stationary films can minimise the degradation of HBCD. When analysing for HBCD by GC-MS, the liner should be changed after each batch of samples to keep it as clean as possible. Co-elution of HBCD with certain PBDEs can also be a problem.

4.5.2	LC-MS

A reverse phase column should be used for analysis of HBCD by LC-MS. The three diastereoisomers found in the technical mixture should separate easily using a column such as a C18 and either methanol/water or acetonitrile/water, normally buffered with ammonium acetate (10 mM), as the mobile phase. Typically the flow rate will be around 250 µl min-1 and a gradient programme will be required. HPLC with chiral columns such as permethylated β-cyclodextrin columns can also be used to separate the enantiomers of the α, β, γ-HBCD diastereoisomers. Either electrospray or atmospheric pressure chemical ionisation (APCI) can be used. However, electrospray is more sensitive and is therefore recommended. Clean-up of the samples before analysis is important to avoid matrix effects and ion suppression. The deprotonated molecular ion (m/z = 640.7) should be the major ion, fragment ions may also be identified to be used as qualifier ions. LC-MS has been reported to have poorer detection limits compared to GC-MS, with the sensitivity being approximately 10 times less than that of the GC-ENCIMS method. Using LC-MS and with an injection volume of ~15 μl, it should be possible to detect around 0.5 ng on column (Morris et al., 2004).

## 5	Calibration and Quantification

### 5.1	Standards

Crystalline HBCD standard solutions for each of the three major stereoisomers (α-, β- and γ-HBCD) of known purity should be used for the preparation of calibration standards. If the quality of the standard materials is not guaranteed by the producer or supplier (as for certified reference materials), then it should be checked by GC-MS analysis. In addition, certified standard solutions are available from QUASIMEME and other suppliers for cross-checking. Calibration standards should be stored in the dark, and ideally solutions to be stored should be stored in sealed amber glass ampoules. Otherwise, they can be stored in a refrigerator in stoppered measuring cylinders or flasks that are gas tight to avoid evaporation of the solvent during storage.

Ideally, internal standards should fall within the range of the compounds to be determined, and should not include compounds which may be present in the samples. Deuterated and 13C-labelled HBCD standards are available for the three major diastereoisomers for use as internal standards in HBCD analysis using GC-EIMS or LC-MS. However, deuterated standards are less expensive and are therefore the preferred option. As HBCD is prone to ion suppression it is recommended that a labelled standard should be used for each isomer being analysed by LC-MS. When using GC-ENCIMS these are of little value as only the bromine ions can be monitored. When GC-ENCIMS is used for the analysis a recovery standard should be added to each sample prior to extraction and the recovery calculated as a check on the method.

### 5.2	Calibration

Multilevel calibration with at least five calibration levels is preferred to adequately define the calibration curve. In general, GC-MS or LC-MS calibration is linear over a considerable concentration range but exhibits non-linear behaviour when the mass of a compound injected is low due to adsorption. Quantification should be conducted in the linear region of the calibration curve, or the non-linear region must be well characterised during the calibration procedure. External standardisation is used for HBCD with GC-ENCIMS as the bromine ions only are monitored. An internal standard method may be used when GC-EIMS or LC-MS is used.

## 6	Analytical Quality Control

Planners of monitoring programmes must decide on the accuracy, precision, repeatability, and limits of detection and determination which they consider acceptable. Achievable limits of determination for each individual component are as follows:

- for GC-ENCIMS: 0.05 (g kg(1 wet weight

- for LC-MS: 0.5 (g kg(1 wet weight.

- for LC-MS/MS: 0.05(g kg(1 wet weight

A procedural blank should be measured with each batch of samples, and should be prepared simultaneously using the same chemical reagents and solvents as for the samples. Its purpose is to indicate sample contamination by interfering compounds, which will result in errors in quantification. The procedural blank is also very important in the calculation of limits of detection and limits of quantification for the analytical method. For GC-EIMS or LC-MS analysis, labelled standards can be added after or prior to extraction, whilst those from which the absolute recovery will be assessed are added prior to GC-MS injection. This ensures that the calculated HBCD concentrations are corrected for the recovery obtained in each case. For GC-ECNI-MS, recovery of HBCD should be checked and reported. In the case of GC-ECNI-MS a recovery standard such as CB198 should be added prior to extraction and the recovery calculated for each sample, by reference to an external standard.

In addition, a laboratory reference material (LRM) or certified reference material (CRM) should be analysed within each sample batch if available. The LRM must be homogeneous and well-characterised for the determinands of interest within the analytical laboratory. Ideally the LRM or CRM should be of the same matrix type (e.g., liver, muscle, mussel tissue) as the samples, and the determinand concentrations should be in the same range as those in the samples. The data produced for the LRM or CRM in successive sample batches should be used to prepare control charts. It is also useful to analyse the LRM or CRM in duplicate from time to time to check within-batch analytical variability. The analysis of an LRM is primarily intended as a check that the analytical method is under control and yields acceptable precision. A CRM may be analysed periodically in order to check the method bias. The availability of biota CRMs certified for HBCD is very limited. At regular intervals, the laboratory should participate in an intercomparison or proficiency exercise in which samples are circulated without knowledge of the determinand concentrations, in order to provide an independent check on performance.

## 7	Data Reporting

The calculation of results and the reporting of data can represent major sources of error. Control procedures should be established in order to ensure that data are correct and to obviate transcription errors. Data stored on databases should be checked and validated, and checks are also necessary when data are transferred between databases. If possible data should be reported in accordance with the latest ICES reporting formats.

## 8	References

De Boer, J., and Wells, D. E. 2006, Pitfalls in the analysis of brominated flame retardants in environmental, human and food samples – including results of three international interlaboratory studies, Trends in Anal. Chem., 25: 364–572.

Covaci, A., Voorspoels, S., and de Boer, J. 2003. Determination of brominated flame retardants, with emphasis on polybrominated diphenyl ethers (PBDEs) in environmental and human samples – a review, Environ. Int., 29: 735–756.

Law, R. J., Kohler, M., Heeb, N. V., Gerecke, A. C., Schmid, P., Voorspoels, S., Covaci, A., Becher, G., Janak, K., and Thomsen, C., 2005. Hexabromocyclododecane challenges scientists and regulators, July 1, 281A–287A.

Morris, S., Allchin, C. R., Zegers, B. N., Haftka, J. H.., Boon, J. P, Belpaire, C., Leonards, P. E. G., Van Leeuwen , S. P. J., and d e Boer, J. 2004. Distribution and fate of HBCD and TBBP-A brominated flame retardants in North Sea estuaries and aquatic food webs, Environ. Sci. Technol., 38: 5497–5504.

Morris, S., Bersuder, P., Allchin, C. R., Zegers, B., Boon, J. P., Leonards, E. G., and de Boer, J. 2006. Determination of the brominated flame retardant, hexabromocyclododecane, in sediments and biota by liquid chromatography-electrospray ionisation mass spectrometry, Trends in Anal. Chem., 25: 343–349.

OSPAR Commission, 1999. Guidelines for Monitoring Contaminants in Sediment.

Sporring, S., Wiberg, K., Bjorklund, E., and Haglund, P. 2003. Combined extraction/Clean-up strategies for fast determination of PCDD/Fs and WHO PCBs in food and feed samples using accelerated solvent extraction, Organohalogen Compounds, 60–65, Dioxin 2003, Boston.

# Technical Annex 9:	Analysis of perfluorinated compounds (PFCs) in sediment

## Introduction

Perfluorinated and polyfluorinated compounds (PFCs) are man-made chemicals and are ubiquitous in the environment (Giesy and Kannan, 2001). PFCs are widely used as processing additives during fluoropolymer production and as surfactants in consumer applications, including surface coatings for carpets, furniture and paper products. They are also components in breathable, waterproof fabrics, fire-fighting foams and insulators for electric wires (Kissa, 2001). From the production and use of these products, PFCs can be released into the environment.

In this document, the name PFCs refers to compounds with a hydrophilic functional group and a hydrophobic fully fluorinated chain which can vary in chain length. The polyfluorinated acids have moderate water solubilities, low pKa values and are therefore dissociated at environmentally relevant pH values (Kissa, 2001). Perfluorinated sulfonamides and fluorotelomer alcohols (FTOHs) are neutral compounds with a moderate vapour pressure currently discussed as precursors to perfluorooctane sulfonate (PFOS) and perfluorinated carboxylic acids (PFCAs) (Ellis et al., 2004).

The objective of this technical annex is to provide advice on the analysis of PFCs in sediment. The detection of PFCs at ppb to ppt levels is complex because of a risk of contamination during sample handling, storage, preparation and instrumental analysis. Only a few methods to determine PFCs in sediment are applied in various laboratories, but they generally apply extraction with polar solvents, clean-up steps and liquid-chromatography (LC) with mass spectrometric detection (MS). The International Standards Organisation (ISO) has already promoted a standard for the determination of PFOS and perfluorooctanoic acid (PFOA) in water (ISO 25101, 2009), but at present no standard is available for the analysis of these compounds in sediment samples.

## 2.	Analyses

Table 1 gives an overview of relevant PFCs for analysis in sediments. They are chosen from the following groups: Perfluorinated sulfonates (PFSAs), perfluorinated sulfinates (PFSiAs), PFCAs and perfluorinated sulfonamides. For monitoring purposes, the high-volume chemicals PFOS and PFOA are considered the most important PFCs and are highly recommended to be included in sediment monitoring. Although most studies have focused mainly on PFOS, it is suggested that long-chained PFCs (≥ C8) should be included in analysis due to their adsorption potential to sediment.

Table 1: Full names, acronyms, formulas and Chemical Abstract System (CAS) numbers of native and mass-labelled PFCs relevant for sediment analysis.

| Analyte | Acronym | Formula | CASa-Number |
| --- | --- | --- | --- |
| Perfluorobutanoic acid | PFBA | C3F7COOH | 375-22-4 |
| Perfluoropentanoic acid | PFPA | C4F9COOH | 2706-90-3 |
| Perfluorohexanoic acid | PFHxA | C5F11COOH | 307-24-4 |
| Perfluoroheptanoic acid | PFHpA | C6F13COOH | 375-85-9 |
| Perfluorooctanoic acid | PFOA | C7F15COOH | 335-67-1 |
| Perfluorononanoic acid | PFNA | C8F17COOH | 375-95-1 |
| Perfluorodecanoic acid | PFDA | C9F19COOH | 335-76-2 |
| Perfluoroundecanoic acid | PFUnDA | C10F21COOH | 4234-23-5 |
| Perfluorododecanoic acid | PFDoDA | C11F23COOH | 307-55-1 |
| Perfluorotridecanoic acid | PFTriDA | C15F25COOH | 72629-94-8 |
| Perfluorotetradecanoic acid | PFTeDA | C13F27COOH | 376-06-7 |
| Perfluorohexadecanoic acid | PFHxDA | C15F31COOH | 67905-19-5 |
| Perfluorobutane sulfonate | PFBS | C4F9SO2O- | 29420-49-3 (potassium salt) |
| Perfluorohexane sulfonate | PFHxS | C6F13SO2O- | 3871-99-6 (potassium salt) |
| Perfluoroheptane sulfonate | PFHpS | C7F15SO2O- | n.a. |
| Perfluorooctane sulfonate | PFOS | C8F17SO2O- | 1763-23-1 (sodium salt) |
| Perfluoro-1-decanesulfonate | PFDS | C10F21SO2O- | 13419-61-9 (sodium salt) |
| 1H,1H,2H,2H-perfluorooctane sulfonate | THPFOS (6:2 FTS) | C6F13C2H4SO3- | 27619-97-2 |
| Perfluorooctane sulfinate | PFOSi | C8F17SO2- | n.a. |
| Perfluorooctane sulfonamide | PFOSA | C8F17SO2NH2 | 754-91-6 |
| Internal Standards |  |  |  |
| Perfluoro-n-(1,2,3,4-13C4)butanoic acid | [13C4]-PFBA | [2,3,4-13C3]F713COOH | n.a. |
| Perfluoro-n-(1,2-13C2)hexanoic acid | [13C2]-PFHxA | C4F9[2-13C]F213COOH | n.a. |
| Perfluoro-n-[1,2,3,4-13C4]octanoic acid | [13C4]-PFOA | C4F9[2,3,4-13C3]F613COOH | n.a. |
| Perfluoro-n-[1,2,3,4,5-13C5]nonanoic acid | [13C5]-PFNA | C4F9[2,3,4,5-13C4]F813COOH | n.a. |
| Perfluoro-n-[1,2-13C2]decanoic acid | [13C2]-PFDA | C8F1713CF213COOH | n.a. |
| Perfluoro-n-[1,2-13C2]undecanoic acid | [13C2]-PFUnDA | C9F1913CF213COOH | n.a. |
| Perfluoro-n-[1,2-13C2]dodecanoic acid | [13C2]-PFDoDA | C10F2113CF213COOH | n.a. |
| Perfluoro-1-hexane[18O2]sulfonate | [18O2]-PFHxS | C6F13S[18O2]O- | n.a. |
| Perfluoro-1-[1,2,3,4-13C4]octanesulfonate | [13C4]-PFOS | C4F9[1,2,3,4-13C4]F8SO2O- | n.a. |
| Perfluoro-1-[1,2,3,4-13C4]octanesulfinate | [13C4]-PFOSi | C4F9[1,2,3,4-13C4]F8SO2- | n.a. |
| a, Chemical Abstract System; n.a., not available |

## Sampling, transportation and storage

The sampling should be carried out by trained personnel being aware of the risk of contamination of samples if incorrectly handled. Materials and clothes that contain or can adsorb fluorinated compounds must be avoided. In particular the containers or bags that come in direct contact with the sample should not contain fluorinated polymers like Teflon™. Instead, containers and equipment made of polypropylene, glass or stainless steel should be used. After collection, samples should be stored in closed containers at a temperature lower than -20°C until sample preparation. The handling time at room temperature should be short to minimize possible degradation of precursors to PFCAs and PFSAs.

## 4.	Sample preparation

Sample preparation requires clean conditions on a clean bench. The laboratory should be free from any material that can contain fluorinated compounds (e.g. Teflon™). Every material that can come in contact with the sample must be free of fluorinated compounds. Materials used in the PFC analysis should be cleaned with solvents such as methanol and acetone and covered with solvent rinsed aluminium foil to keep out any dust. The septa of vials should be Teflon™-free such as Barrier™ septa made of silicone polymer and aluminium. Solvents including water should be of highest purity and must be tested for residues of PFCs prior to use.

Within each sample batch, a method blank should be analysed. If measurable blanks occur, the analytical instrumentation and every sample preparation step have to be checked for contamination and appropriate measures have to be taken before analysis continues.

### 4.1	Pre-treatment

It is advised to determine the water content or to dry samples before extraction. Freeze-drying is becoming available in an increasing number of laboratories. However, its application should be carefully considered, since losses of volatile PFCs or contamination may occur. Losses through evaporation are diminished by keeping the temperature in the evaporation chamber below 0°C. Alternatively, air-drying to constant weight at room temperature on a clean bench or drying in an oven may be considered. However, degradation of precursor compounds can change the composition profile of PFCs in the sediment sample. In addition, PFCs can be lost by volatilization depending on temperature and drying time.

Before taking a subsample for analysis, the samples should be sufficiently homogenised. Depending on matrix and expected concentrations, an appropriate sample amount is weighed in polypropylene tubes for extraction. Then, the extract is spiked with a mass-labelled internal standard (IS) mixture at concentrations close to the environmental level. Before extraction, the sample should be incubated with the IS for about 12 h at 4° C so that the IS can interact with the matrix.

### 4.2	Extraction

Three methods have been described in the scientific literature for the extraction of PFCs from sediments (Powley et. al, 2005, Higgins et al. 2005; Washington et al. 2008). Powley et al. (2005) used a wrist-action shaker operated at maximum deflection to extract PFCs from sediments with methanol, followed by a graphitized carbon adsorbent clean-up. Higgins et al. (2005) used an acetic acid wash, followed by repeated extraction with methanol/1% acetic acid in water (90:10, v/v) in a heated (60 °C) sonication bath and subsequent clean-up using C18 cartridges. The method described by Washington et al. (2008) includes sonication with acetonitrile/water (60:40, v/v) and ion pairing clean-up.

Alternatively, extraction can be performed by shaking placed on a wrist-action shaker set at maximum deflection. However, all extraction methods should include a minimum of three extractions, each with a solvent volume that corresponds to ten times the sample volume and 30 min extraction time. After the extraction, the three extracts are combined prior to clean-up.

### 4.3	Clean-up

Because of matrix effects on ionisation (enhancement/suppression of signal) in electrospray tandem mass spectrometry (ESI-MS-MS), a clean-up of the extracts is necessary. Different methods can be used, either separately or in combination, depending on extraction solvent and concentration level.

An appropriate clean-up method is described by Powley et al. (2005). Briefly, 25 mg of graphitized carbon adsorbent (e.g. ENVI-Carb™, 100 m2 g-1, 120/400 mesh) and 50 µL acetic acid are added into a small tube. The extract is concentrated to 1 mL and transferred into this tube. The extract is mixed, centrifuged and finally, 0.5 mL of the supernatant is transferred to another flask. Additional clean-up might be required, depending on sample type and concentration levels (Higgins et al. 2005; Washington et al. 2008).

Sample extracts should be concentrated according to the required sensitivity. Concentration techniques at low temperature (< 40°C) and controlled pressure conditions are preferred in order to avoid losses of the more volatile PFCs. Evaporation to dryness should be avoided in all cases.

An injection standard (InjS) can be added to the final extract for correction of the injection volumes and calculation of the recoveries of the mass-labelled IS. The InjS should not occur in environmental samples, hence, the use of a mass-labelled InjS is recommended.

The solvent composition of the final extract should correspond to the mobile phase of the LC method in order to obtain a satisfactory peak shape of the compounds, in particular of early eluting short-chain PFCs. Unless the samples are analysed immediately, the vials should be kept at < 4°C and analysed within one week.

## 5.	Instrumental analysis

LC coupled with a tandem mass spectrometer and interfaced with an electrospray ionisation source in a negative-ion mode (LC-(-)ESI-MS/MS) (Hansen et al., 2001) or LC coupled with an (-)ESI time-of-flight mass spectrometer (LC-ESI-QTOF-MS) (Berger and Haukas, 2005) can be used for PFC analysis. Tandem MS and QTOF-MS have the advantage of low instrumental noise with a high selectivity.

### 5.1	Liquid chromatography

For the liquid-chromatography C8 or C18 reserved phase columns can be used. A guard column may improve the peak performance and extend the lifetime of the chromatographic column. Mixtures of water and methanol or acetonitrile can be used as mobile phase, both with 2-10 mM ammonium acetate as an ionisation aid. Gradients from 10% to 100% methanol or acetonitrile are required for the separation of the compounds listed in Table 1.

Modifications of the instrument might be necessary to minimise contact with fluorine-containing materials (Yamashita et al., 2004). For example, Teflon™-containing tubing, filters for the mobile phase solvents and degassers can be sources of contaminations. A scavenger cartridge can be installed between the pump and injector to trap contaminants originating from the degasser, connecting tubes and mobile phase.

To ensure stability of retention times, the use of a temperature controlled column oven is strongly recommended.

### 5.2	Detection methods

The most widely used technique for detection of PFCs is by tandem MS operated in the MRM mode. Typical precursor and product ions are given in Table 2. MS-parameters for the individual compounds, such as collision energy, declustering potential and cone voltage, have to be optimised for each instrument. The sensitivity of tandem MS is usually about one order of magnitude higher than that of QTOF-MS (Berger et al., 2004).

Table 2: Precursor and product ions for PFCs analysed using LC-(-)ESI-MS/MS.

| Analyte | Precursor ion (m/z) | Product ion (m/z) |
| --- | --- | --- |
| PFBA | 112.9 | 168.7 |
| PFPA | 262.8 | 218.9 |
| PFHxA | 312.9 | 268.8 |
| PFHpA | 362.9 | 318.9 |
| PFOA | 413.0 | 368.9 |
| PFNA | 462.9 | 418.9 |
| PFDA | 512.9 | 469.0 |
| PFUnDA | 562.9 | 519.0 |
| PFDoDA | 613.0 | 568.9 |
| PFTriDA | 663.1 | 618.9 |
| PFTeDA | 713.0 | 669.0 |
| PFHxDA | 812.8 | 769.1 |
| PFBS | 298.9 | 79.8 |
| PFHxS | 398.9 | 79.8 |
| PFHpS | 449.0 | 79.3 |
| PFOS | 499.0 | 79.7 |
| PFDS | 598.9 | 79.5 |
| THPFOS (6:2 FTS) | 426.9 | 406.7 |
| PFOSi | 482.8 | 418.9 |
| PFOSA | 497.9 | 77.9 |
| [13C4]-PFBA | 216.8 | 171.8 |
| [13C2]-PFHxA | 314.9 | 269.9 |
| [13C4]-PFOA | 417.0 | 371.8 |
| [13C5]-PFNA | 467.9 | 423.0 |
| [13C2]-PFDA | 514.9 | 469.8 |
| [13C2]-PFUnDA | 565.0 | 519.8 |
| [13C2]-PFDoDA | 614.9 | 569.9 |
| [18O2]-PFHxS | 403.0 | 83.9 |
| [13C4]-PFOS | 502.9 | 79.5 |
| [13C4]-PFOSi | 486.9 | 422.9 |

## 6.	Calibration and quantification

### 6.1	Standards

The use of commercially available standards with a purity of > 99% is recommended. The purity of standards should be verified, as impurities from the same homologue group and isomers can occur.

Suggestions for mass-labelled IS are given in Table 1. It is strongly recommended to use IS for PFC-analysis, so as to compensate for signal enhancement/suppression or losses during sample preparation. The IS and InjS have to be added before the extraction and the measurement, respectively. If possible, the corresponding mass-labelled IS should be used for each target analyte. In case a mass-labelled standard is not available, an IS with physicochemical characteristics and recovery rates similar to that of the target compound can be used but matrix suppression/ enhancement effects must first be checked in LC-ESI-MS/MS.

### 6.2	Calibration

The calibration curves must include the IS and InjS in the same range as the spike level for the samples. Linearity has to be checked for the calibration range and the correlation coefficient (R) should be better than 0.99. The lower end of linear range is determined by the quantification limits and blank levels. The blank response should be lower than 20 % of the lowest calibration standard. A multilevel calibration should have at least five calibration levels.

In case of matrix effects, standard addition may be an alternative calibration option.

### 6.3	Quantification

Every detection and quantification must comply with defined criteria for quality assurance (U.S. DHHS/FDA/CDER/CVM, 2001). If possible, two mass transitions should be recorded for each target analyte, one for quantification (quantifier) and one for identification (qualifier). The abundance ratio of these two masses in the sample is compared with that of the calibration standards obtained under identical chromatographic conditions. A substance is considered identified:

if the relative retention time of the target compound in the sample is within ± 0.3 min of that in the calibration standard and

if the abundance ratio of the two masses in the sample deviates less than 30 % from the average abundance ratio calculated from the calibration standards.

For quantification, the signal to noise ratio for the HPLC peak has to be at least 10 for all target compounds. The peak height of the target compound should exceed the measured blank as a minimum by a factor of 5.

Some PFSAs and sulfonamides show more than one peak in the chromatogram, which is due to the presence of branched isomers. The ratio of linear and branched isomers can differ between the calibration standard and environmental samples. Branched isomers cannot be quantified precisely because of the lack of proper calibration standards. If the peak area of the branched isomer exceeds 10 % of that of the linear isomer, it is recommended to estimate its concentration based on the response factor of the linear standard.

The PFCAs and PFSAs are almost completely dissociated in environmental matrices. If salts are used for the preparation of calibration standards, quantification results should be calculated for the corresponding acids.

## 7.	Quality Assurance and Quality Control

Prior to the analysis of environmental samples, the method should be subject to a full in-house validation according to the requirements of the monitoring programme. This should include the determination of limits of detection, limits of quantification, trueness, precision, linearity of calibration, measurement uncertainty and robustness.

Every sample batch should include a procedural blank that is prepared in the same way as the samples. The number of samples per batch may differ between laboratories and depend on how many samples can be processed under comparable conditions.

If mass labelled internal standards are used, absolute recoveries between 50% and 150% are acceptable. In all other cases, recoveries should be between 70% and 120%.

Within each sample batch, at least one sample should be extracted in duplicate and a laboratory control samples should be included. The results should be recorded and monitored in control charts.

At present, no certified reference material is available for PFCs in sediment. Possible bias in the analytical method should be checked by the analysis of spiked laboratory control samples.

Laboratories should demonstrate their competence by participation in laboratory proficiency testing schemes relevant for the monitoring programme. Such exercises are still rarely offered by proficiency testing providers, but a recent interlaboratory study aiming at method validation demonstrated acceptable performance of laboratories in analysing PFC in biota and water (van Leeuwen et al., 2009).

## 8.	Data Reporting

For routine analysis, the data report should be in accordance with the relevant monitoring programme; it should e.g. include information about sampling, sample processing, storage and analysis. Results should be reported along with the associated measurement uncertainty.

## 9.	References

Berger, U., Langlois, I., Oehme, M., Kallenborn, R. 2004. Comparison of three types of mass spectrometer for high-performance liquid chromatography/ mass spectrometry analysis of perfluoroalkylated substances and fluorotelomer alcohols. Eur. J. Mass. Spectrom., 10: 579-588.

Berger, U., Haukas, M. 2005. Validation of a screening method based on liquid chromatography coupled to high-resolution mass spectrometry for analysis of perfluoroalkylated substances in biota. J. Chromatogr. A, 1081: 210-217.

Ellis, D. A., Martin, J. W., Mabury, S. A., De Silva, A. O., Hurley, M. D. 2004. Sulbaek Anderson, M. D.; Wallington, T. J. Degradation of fluorotelomer alcohols: A likely atmospheric source of perfluorinated carboxylic acids. Environ. Sci. Technol., 38: 3316-3321.

Giesy, J. P., Kannan, K. 2001Global distribution of perfluorooctane sulfonate in wildlife. Environ. Sci. Technol., 35: 1339-1342.

Hansen, K. J., Clemen, L. A., Ellefson, M. E., Johnson, H. O. 2001. Compound-specific, quantitative characterization of organic fluorochemicals in biological matrices. Environ. Sci. Technol., 35: 766-770.

Higgins, C. P., Field, J. A., Criddle, C. S., Luthy, R. G., 2005. Quantitative determination of perfluorochemicals in sediments and domestic sludge. Environ. Sci. Technol., 39: 3946-3956.

International Standards Organisation, 2009. Water quality – Determination of perfluorooctanesulfonate (PFOS) and perfluorooctanate (PFOA) – Method for unfiltered samples using solid phase extraction and liquid chromatography/mass spectrometry, ISO 25101 2009.

Kissa, E. 2001. Fluorinated Surfactants and Repellents. Marcel Dekker, 97.

Powley, C. R., George, S. W., Ryan, T. W., Buck, R. C. 2005. Matrix effect-free analytical methods for determination of perfluorinated carboxylic acids in environmental matrixes. Anal. Chem., 77: 6353-6358.

U.S. Department of Health and Human Services, Food and Drug Administration (FDA), Center for Drug Evaluation and Research (CDER), Center for Veterinary Medicine (CVM). 2001. Guidance for Industry – Bioanalytical Method Validation,.

van Leeuwen, S. P. J., C. P. Swart, de Boer, J. 2009. Significant improvements in the analysis of perfluorinated compounds in water and fish: results from an interlaboratory method evaluation study. J. Chromatogr. A, , 1216: 401-409.

Washington, J. W., Henderson, W. M., Ellington, J., Jenkins, T. M., Evans, J. J., 2008. Analysis of perfluorinated carboxylic acids in soils II: optimization of chromatography and extraction. J. Chromatogr. A, 1181, 21–32.

Yamashita, N., Kannan, K., Taniyasu, S., Horii, Y., Okazawa, T., Petrick, G., Gamo, T. 2004. Analysis of perfluorinated acids at parts-per-quadrillion levels in seawater using liquid chromatography-tandem mass spectrometry. Environ. Sci. Technol., 38: 5522-5528.

# Technical Annex 10: Analysis of dioxins, furans and dioxin-like PCBs in sediments

## 1.	Introduction

Polychlorinated dibenzo-p-dioxins and dibenzofurans (PCDD/Fs) are ubiquitous in the environment, primarily as unintentional by-products of combustion and industrial processes. They enter the aquatic environment via several routes, including atmospheric deposition. As PCDD/Fs are strongly hydrophobic compounds, sediments are the eventual sink in the aquatic environment, providing a source of potential exposure to aquatic organisms (Hurst et al., 2004). This guideline only addresses the 17 tetra- through octa-2,3,7,8-substituted PCDD/F congeners, and the non- and mono-ortho substituted polychlorinated biphenyls (PCBs), which exhibit similar effects as the 2,3,7,8-substituted PCDD/Fs. The general chemical structures of PCDD/Fs and PCB congeners are given in Figure 1.

In this guideline, the term “dioxin-like PCBs” (dl-PCBs) is used for the non-ortho and mono-ortho PCB congeners listed in Table 1. The coplanar structure of non-ortho PCB congeners allows a configuration similar to that of PCDD/Fs. Mono-ortho substituted PCBs may take a steric position close to coplanarity and are consequently less toxic than non-ortho PCBs. Nevertheless, they have been considered in this guideline due to their relatively high concentrations in sediments compared to those of non-ortho PCBs or PCDD/Fs (e.g. Castro-Jiménez et al., 2008; Helm et al., 2008).

PCDD/Fs and dl-PCBs have been shown to produce various toxic responses, including immunotoxicity, developmental and reproductive effects and carcinogenesis (OSPAR, 2005). The initial mechanism of toxicity is via the aryl hydrocarbon receptor (AhR), leading to changes in gene expression, cell growth and cell differentiation (Nebert et al., 1993; Hurst et al., 2004). Due to their persistence, high toxicity, bioaccumulation potential and ability for long-range transport, they are controlled under the Stockholm Convention for Persistent Organic Pollutants (POPs). Spatial and temporal trend monitoring of PCDD/Fs in the aquatic environment is important for the evaluation of risks to wildlife and human health (Hurst et al., 2004). Due to the low concentrations at which adverse effects can be observed, the analytical methodology for the analysis of PCDD/Fs and dl-PCBs differs from that for other organochlorine compounds.

Figure 1	General structure of PCDDs, PCDFs and PCBs. The possible number of chlorine atoms results in 75 PCDD congeners, 135 PCDF congeners (x=1–4, y=0–4), and 209 PCB congeners (x=1–5, y=0–5).

The objective of this guideline is to give general advice on the analysis of PCDD/Fs and dl-PCBs in marine sediments. It is not a complete review of possible methods or an in-depth discussion of specific methods.

## 2.	Analytes

Environmental monitoring should include the 17 tetra- through octa-chlorinated 2,3,7,8-PCDD/F congeners and the dl-PCBs listed in Table 1. Concentrations of individual PCDD/Fs and dl-PCB congeners in sediment are normally reported in pg/g dry weight (dw), with additional information on dry matter and organic carbon content (see chapter “Data reporting”). To assess overall toxicity, concentrations may additionally be expressed as toxicity equivalents (TEQs). However, although common practice to compare contamination levels, the use of TEQs derived from WHO TEFs is of limited relevance in abiotic environmental matrices (van den Berg et al., 2006) and is therefore not recommended. The ICES guideline on PCDD/Fs and dl-PCBs in biota gives further information on the TEF systems in use (ICES, 2010).

Table 1	Chlorinated dibenzo-p-dioxins (PCDDs), chlorinated dibenzofurans (PCDFs) and dl-PCBs recommended for environmental monitoring

| Homologous group | Congener | IUPAC no. |
| --- | --- | --- |
| PCDDs |
| TCDD | 2,3,7,8 |  |
| PeCDD | 1,2,3,7,8 |  |
| HxCDD | 1,2,3,4,7,8 |  |
|  | 1,2,3,6,7,8 |  |
|  | 1,2,3,7,8,9 |  |
| HpCDD | 1,2,3,4,6,7,8 |  |
| OCDD | 1,2,3,4,6,7,8,9 |  |
| PCDFs |
| TCDF | 2,3,7,8 |  |
| PeCDF | 1,2,3,7,8 |  |
|  | 2,3,4,7,8 |  |
| HxCDF | 1,2,3,4,7,8 |  |
|  | 1,2,3,6,7,8 |  |
|  | 1,2,3,7,8,9 |  |
|  | 2,3,4,6,7,8 |  |
| HpCDF | 1,2,3,4,6,7,8 |  |
|  | 1,2,3,4,7,8,9 |  |
| OCDF | 1,2,3,4,6,7,8,9 |  |
| Non-ortho PCBs |
| TeCB | 3,3',4,4' | 77 |
| TeCB | 3,4,4’,5 | 81 |
| PeCB | 3,3',4,4',5 | 126 |
| HxCB | 3,3',4,4',5,5' | 169 |
| Mono-ortho PCBs |
| PeCB | 2,3,3',4,4' | 105 |
|  | 2,3,4,4',5 | 114 |
|  | 2,3',4,4',5 | 118 |
|  | 2',3,4,4',5 | 123 |
| HxCB | 2,3,3’,4,4’,5 | 156 |
|  | 2,3,3',4,4',5 | 157 |
|  | 2,3',4,4',5,5' | 167 |
| HpCB | 2,3,3',4,4',5,5' | 189 |

## 3.	Sediment samples

OSPAR (2005) presented a monitoring strategy for PCDD/Fs in the environment, which identified marine sediments as one of the most important matrices (the other one being biota). Marine sediments, in particular those with a high organic carbon content, may accumulate hydrophobic compounds like PCDD/Fs and dl-PCBs to considerably higher levels than those of the surrounding waters. The sampling strategy depends on the purpose of the monitoring programme and the natural conditions of the region to be monitored and typically includes fixed-station sampling, stratified random sampling or stratified fixed sampling. Muddy sediments, i.e. containing a high proportion of fine material, are preferable for organic contaminant monitoring although sieving of sediments may be an alternative (OSPAR, 2002).

In general, the same recommendations are valid as described for other organochlorine compounds, i.e. in the OSPAR guideline on organic contaminants (OCs) in marine sediments (OSPAR, 2002), which also contains details on sample handling. It should be pointed out, however, that the risk of sample contamination is considerably higher, given the extremely low concentrations of PCDD/Fs and dl-PCBs in most environmental samples. The staff collecting and handling the samples should be well-trained and properly instructed in how to avoid any contamination.

## 4.	Analytical methods

Prior to systematic monitoring, it will be meaningful to perform an initial screening of the area under consideration, e.g. to check the relevance of monitoring stations. For this purpose, several suitable methods are available. In particular, bioassays and fast semi-quantitative GC-MS screening methods can give an indication of the extent of the contamination (e.g. Schrock et al., 2009).

For a full quantitative analysis of individual congeners, state-of-the-art GC-MS is the preferred analytical method. Multi-dimensional gas chromatography (GCxGC) could be an alternative for PCDD/F and dl-PCB analysis, even in combination with ECD, as this will offer enough sensitivity and the selectivity will exceed that of single-column GC analysis provided a proper orthogonal combination of columns is selected (Haglund et al., 2008). GCxGC can also be used in combination with LRMS Time-of-Flight (ToF)-MS (Skoczynska et al., 2008).

An example of a suitable method for the analysis of sediment samples is summarised in Figure 2.

### 4.1	Preparatory steps

It is essential to avoid contamination during all analytical steps. Reagents should be of high purity, and where appropriate be cleaned by e.g. extraction or solvent rinse. All solvents used must be checked for the presence of residues of target or interfering compounds (e.g. polychlorinated diphenyl ethers). The purity of standards should be checked. Reusable glassware should be rinsed with solvent, disassembled, washed with a detergent solution and further rinsed with ultrapure water and solvent. Baking glassware at > 400°C is common practice as part of the cleaning process, but the formation of active sites on the glass surface that may adsorb the target compounds has been reported (USEPA, 1994). New glassware should be used from time to time as scratched glassware has more active sites.

The preparation of stock solutions and standards can follow the guidelines developed for OCs in sediment. However, care has to be taken to monitor and to avoid contamination. Furthermore, the high toxicity of the compounds might require a particularly careful handling; see comments under “Safety”. Commercially available diluted stock solutions can be used to reduce safety issues. As valid for the entire analytical method, only trained personnel should perform these steps.

PCDD/Fs and dl-PCBs are normally determined by isotope dilution, using high resolution gas chromatography and high resolution mass spectrometry (HRGC/HRMS). 13C-labelled standards of all the congeners to be analysed are added prior to extraction of the samples. These internal standards correct for errors and recovery losses, to some extent. 13C-labelled standards are commercially available of all individual congeners and should preferably be used. The minimum number of internal standards to be used for the quantification of PCDD/Fs congeners is given in Table 2. Details on spike procedures are given by e.g. USEPA (1994).

Table 2	Minimum number of internal standards to be used for calibration of PCDD and PCDF homologue groups

| Substance | PCDD-Homologues | PCDF-Homologues |
| --- | --- | --- |
|  | Native | 13C12-labelled | Native | 13C12-labelled |
| Tetrachloro homologues | 2,3,7,8 | 2,3,7,8 | 2,3,7,8 | 2,3,7,8 |
| Pentachloro homologues | 1,2,3,7,8 | 1,2,3,7,8 | 1,2,3,7,8 2,3,4,7,8 | 1,2,3,7,8 2,3,4,7,8 |
| Hexachloro homologues | 1,2,3,4,7,8 1,2,3,6,7,8 1,2,3,7,8,9 | 1,2,3,7,8,9 | 1,2,3,4,7,8 1,2,3,6,7,8 1,2,3,7,8,9 2,3,4,6,7,8 | 2,3,4,6,7,8 |
| Heptachloro homologues | 1,2,3,4,6,7,8 | 1,2,3,4,6,7,8 | 1,2,3,4,6,7,8 1,2,3,4,7,8,9 | 1,2,3,4,6,7,8 |

### 4.2	Extraction

The sample weight used for the extraction must be sufficient to fulfil the requirements with respect to sensitivity. 10 g of dried sediment are typically used to accurately measure PCDD/Fs and dl-PCBs by gas chromatography-high resolution mass spectrometry (GC-HRMS) (USEPA, 1994). The samples are spiked with the 13C-labelled standards as described above.

For extraction of solid samples, Soxhlet is widely accepted as a robust liquid–solid extraction technique. Immediately prior to use, the Soxhlet apparatus should be pre-extracted with e.g. dichloromethane:hexane (1:1) for approximately 3 hours (USEPA, 1994). The EPA method 1613B recommends to Soxhlet extract the sediment samples in toluene for 16-24 hours. Other typical solvents for Soxhlet extraction in the literature are dichloromethane (Koh et al., 2004), dichloromethane:hexane 1:1 (Liu et al., 2006) and toluene:acetone 4:1 (Stern et al., 2005) with extraction times between 16-24h. To remove sulphur compounds, copper granules can be either mixed with sediment during extraction or added to the extract.

More recently, pressurised liquid extraction (PLE) has become a common and faster alternative to Soxhlet extraction (Antunes et al., 2008; Kishida et al., 2010). PLE uses organic solvents at temperatures above their boiling point maintained in the liquid phase under high pressure. The extraction cell which contains the sample is heated (ex: 100°C-150°C) and filled up with an appropriate solvent (example: toluene, dichloromethane) up to a pressure of 140 bars. The minimum extraction time should be 10 minutes in static mode, and several extraction cycles are recommended (n = 2-3). To further reduce analysis time, PLE can be combined with in-line clean-up procedures (Chuang et al., 2009). Mixed (polar/non-polar) solvent combinations cannot be used with this technique because of their different boiling points. Provided the proper conditions are chosen, the combination of pressure and temperature is sufficient to extract all PCDD/Fs and dl-PCBs from the matrix.

### 4.3	Clean-up

The extracts are concentrated using suitable evaporation devices, e.g. rotary evaporation, Turbo-Vap, Syncore, Kuderna-Danish. The risk of cross-contamination is fairly high for rotary evaporation, so the evaporator should be pre-cleaned, e.g. by 100 mL of clean solvent.

Due to the very low levels of PCDD/Fs in sediment samples, the elimination of interferences is essential, both with regard to matrix effects and co-eluting compounds. Often, a combination of clean-up steps will be required, including e.g. gel permeation chromatography (GPC) and adsorption chromatographic techniques (preferably with a Florisil and/or acid silica, alumina and/or carbon column). The most common solvents used in this step are hexane and/or dichloromethane and toluene. If the extracts are to be cleaned up by adsorption chromatography on e.g. silica gel, a solvent change to hexane is essential.

Another possibility is the use of two-dimensional HPLC with two columns coupled in series. Nitrophenylpropylsilica (Nucleosil, 5 µm particles, 250 x 4.6 mm) and PYE (Cosmosil, 5 µm particles, 150 x 4.6 mm) columns enable the separation according to the number of aromatic rings and planarity, i.e. non-ortho and mono-ortho PCBs can be separated from each other as well as from PCDD/Fs (Bandh et al., 1996). The eluting solvent is a non-polar solvent such as iso-hexane. Coupled to a fraction collector, the use of a HPLC system allows the automatic clean-up of a considerable number of samples. Alternatively, HPLC systems equipped with porous graphitised carbon can be used. Column sizes are in the order of 50 x 4.7 mm and care has to be taken that the column is not overloaded. Similarly to PYE columns, they will separate non-ortho PCBs from other PCBs and from PCDD/Fs. Fully automated clean-up systems are also available commercially (e.g. PowerPrep™ system).

The European research project DIFFERENCE recommended at least three clean-up or fractionation steps to ensure sufficiently clean extracts (Van Loco et al., 2004).

### 4.4	Concentration and injection standards

After clean-up, a keeper is added (e.g. iso-octane or nonane) and the extracts are concentrated to near dryness, i.e. 10-20 µl. An injection standard mix should also be added to evaluate the recovery of labelled internal standards. For example 13C12 -1,2,3,4-TCDD can be used for recovery determinations of TCDD/Fs and PeCDD/Fs internal standards while 13C12 -1,2,3,7,8,9-HxCDD can be used for recovery determinations of HxCDD/Fs, HpCDD/Fs and OCDD/F internal standards.

## 5.	HRGC/HRMS

The PCDD/F levels in environmental samples are commonly monitored using high resolution gas chromatography (HRGC) and high resolution mass spectrometry (HRMS), but low resolution mass spectrometry (LRMS) may be a suitable and cost effective alternative if the required minimum performance criteria are met (see “HRGC/LRMS”).

### 5.1	GC-analysis

The GC analysis should be optimized with regard to separation and sensitivity. Gas chromatographic separation of isomers must be sufficient (< 25 % peak to peak between 1,2,3,4,7,8-HxCDF and 1,2,3,6,7,8-HxCDF). Fishman et al. (2007) provided a comprehensive review of GC columns available for dioxin analysis. Generally, 50-60 m, 5% diphenyl 95% dimethylpolysiloxane columns are a common choice. However, these columns could exhibit multiple co-elutions for both PCBs and PCDD/Fs (Reiner et al., 2006), depending on the matrix to be analyzed. The use of RTx-Dioxin 2 columns has been reported in the literature as a suitable alternative to DB-5 columns. Combining this phase with reduced inner diameter and phase thickness (for example a 40m x 0.18mm x 0.18µm) enables the analysis of the 17 PCDD/F congeners in 40 minutes, with data fulfilling QA/QC requirements and providing better selectivity, especially for 2,3,7,8-TCDD and 2,3,7,8-TCDF (Robinson et al., 2004; Reiner et al., 2006).

Potential interferences for dl-PCBs on common GC-columns are summarized in Table 3 (Reiner et al., 2006). Complete separation can be achieved by multi-analysis on columns of different polarity. The GC separation of congener CB-123 from interferences is critical. Possibilities of full separation of relevant PCB congeners on one column have been reported, e.g. on an SGE HT8-PCB capillary column (Larsen et al., 1995).

Table 3	Possible interferences for selected dl-PCBs using a 5% phenyl column (Reiner et al. 2006)

| PCB congener | Potential interference |
| --- | --- |
| CB-81 | CB-87 |
| CB-77 | CB-110 |
| CB-123 | CB-149 |
| CB-126 | CB-178 and CB-129 |
| CB-156 | CB-171 |
| CB-157 | CB-201 |

Various injection techniques are possible, e.g. on-column injection, splitless injection, pressure-pulsed splitless injection and programmed temperature vaporizing (PTV) injection. The most suitable injection volume depends on the target concentrations in the sample and the sensitivity of the instrumental analysis. In HRGC/HRMS analysis, 1-2 µl are common injection volumes. With PTV injection volumes of up to 50 µl can be achieved. This has the potential to significantly lower detection limits, which is particularly helpful for low resolution MS techniques. Helium is normally used as carrier gas.

Regarding temperature programmes, the USEPA method recommends to start the GC oven programme at 200˚C, but other methodologies in the literature start from 90, 140 or 160˚C (Zhang et al., 2008; Robinson et al., 2004; Loganathan et al., 2008). However, the initial oven temperature is linked to the keeper solvent and the injection technique and should ensure that no solvent effects and peak discrimination occur.

### 5.2	Compound identification

The HRMS system should be operated at a minimum of 10,000 resolving power, and resolution should be checked regularly during the sequence of runs. The individual dl-PCBs, PCDD/Fs or labelled compounds are identified by comparing the GC retention time and ion abundance ratio of two exact masses monitored (Tables 4 and 5) with the corresponding retention time of an authentic labelled internal standard and the theoretical or acquired ion abundance ratio of the two exact masses. The congeners for which there are no labelled analogues are identified when relative retention time and ion abundance ratios agree within predefined limits. The following criteria should be met for identification of an individual dl-PCB, PCDD/F or labelled compound in a standard, blank or sample:

- The signal for the two exact masses specified in Tables 4 and 5 should be present and within ( 2 s.

- The signal-to-noise ratio (S/N) for the GC peak at each exact mass has to be at least 3 for each congener detected in a sample extract, and at least 10 for all congeners in the calibration standard.

- The ratio of the integrated areas of the two exact masses specified in Tables 4 and 5 has to be within 15% of the theoretical one shown in Table 6.

- The relative retention time of a native dl-PCB, PCDD/F has to be within a time window of ( 0.003 based on the retention time of the corresponding 13C12-labelled standard. The relative retention time of congeners for which there are no labelled analogues has to be within ( 0.002.

If interferences preclude identification, extract a new, further cleaned up aliquot and analyse again. If interferences cannot be removed flag the data to indicate results are maximum concentrations.

### 5.3	Compound quantification

Quantitative analysis is performed using selected ion monitoring (SIM), in one of the two following ways:

- For the PCDD/Fs and dl-PCBs for which labelled analogues have been added to the sample, the GC/MS system is calibrated, and the concentration of each compound is determined using the isotope dilution technique.

- For the PCDD/Fs and dl-PCBs for which labelled analogues are not added to the sample (Table 2), the GC/MS system is calibrated for each compound using a labelled isomer with the most similar structure and the concentration of each compound is determined using the internal standard technique.

Calibration curves should be based on a minimum of 5 calibration points. Mass drift correction is mandatory, usually based on a lock-mass m/z of perfluorokerosene (PFK) or perfluorotributylamine (PFTBA, FC43).

Table 4	Masses m/z for the detection and quantification of PCDD/Fs

| Substance | Dibenzofurans (m/z) | Dibenzo-p-dioxins (m/z) |
| --- | --- | --- |
|  | Native | 13C12-labelled | Native | 13C12-labelled |
| Tetra-CDD/F | 303.9016 | 315.9419 | 319.8965 | 331.9368 |
|  | 305.8987 | 317.9389 | 321.8937 | 333.9339 |
| Penta-CDD/F | 339.8598 | 351.9000 | 355.8547 | 367.8949 |
|  | 341.8569 | 353.8970 | 357.8518 | 369.8919 |
| Hexa-CDD/F | 373.8208 | 385.8610 | 389.8157 | 401.8559 |
|  | 375.8179 | 387.8580 | 391.8128 | 403.8529 |
| Hepta-CDD/F | 407.7818 | 419.8220 | 423.7767 | 435.8169 |
|  | 409.7789 | 421.8190 | 425.7738 | 437.8140 |
| Octa-CDD/F | 441.7428 | 453.7830 | 457.7377 | 469.7779 |
|  | 443.7399 | 455.7801 | 459.7348 | 471.7750 |

Table 5	Masses m/z for the detection and quantification of PCBs

| Homologue groups | Native CBs (m/z) | 13C12-labelled CBs (m/z) |
| --- | --- | --- |
| Tetrachlorobiphenyls | 289.9223 | 301.9626 |
|  | 291.9194 | 303.9597 |
| Pentachlorobiphenyls | 325.8804 | 337.9207 |
|  | 327.8775 | 339.9177 |
| Hexachlorobiphenyls | 359.8415 | 371.8817 |
|  | 361.8385 | 373.8788 |
| Heptachlorobiphenyls | 393.8025 | 405.8427 |
|  | 395.7995 | 407.8398 |

The isotope ratio between the two ions of the molecular isotope cluster, which are recorded, has to match the theoretical value within ± 15 % (see Table 6) (USEPA, 1994).

Table 6	Tolerance limits of isotope ratios for PCDD/Fs and dl-PCBs

| Chlorine atoms | Isotope Ratio Lower Limit | Isotope Ratio Theoretical Value | Isotope Ratio Upper Limit |
| --- | --- | --- | --- |
| 4 | 0.65 | 0.77 (M/M+2) | 0.89 |
| 5 | 0.55 | 0.64 (M+4/M+2) | 0.75 |
| 6 | 0.69 | 0.81 (M+4/M+2) | 0.94 |
| 7 | 0.83 | 0.96 (M+4/M+2) | 1.10 |
| 8 | 0.76 | 0.89 (M+2/M+4) | 1.02 |

## 6.	HRGC/LRMS

Low resolution mass spectrometry (LRMS) has also been applied to the analysis of PCDD/Fs and/or dl-PCBs. Limits of detections are higher than those obtained with HRMS detectors, but can be compensated by e.g. larger injection volumes (see above). A very efficient extract clean-up is of the utmost importance to exclude any interferences. A technique commonly applied is GC-LRMS using ion trap mass analysers working in tandem mode (Eppe et al., 2004; Focant et al., 2005; Malavia et al, 2008). Table 7 provides information on precursor and product ions obtained by GC-ion trap MS. GC-LRMS (quadrupole) can be an option for dl-PCBs in particular.

Schrock et al. (2009) implemented a method capable of detecting the lowest calibration point of the EPA Method 1613B corresponding to sample concentrations of 1, 5 and 10 pg/g for tetra-, penta-hepta, and octa-chlorinated congeners, respectively, for a sample intake of 10 g of sediments when samples were sufficiently cleaned. Chromatograms generated by LRMS were quantified using the same identification and quantification criteria, achieving a resolution of 45 % between 2,3,7,8-TCDD and its closest eluting isomer.

The USEPA method 8280A is also focused on the analysis of PCDD/Fs by low resolution MS. This method is appropriate for the determination in environmental samples when the expected concentrations of the PCDD/Fs in soil samples are above 1, 2.5 or 5.0 µg/kg for tetra, penta-hexa-hepta, and octa-chlorinated congeners, respectively. The maintenance of the instrument is crucial and could be time consuming (e.g. frequent cleaning of the ion source). The sensitivity for 2,3,7,8-TCDD may be critical.

Table 7	Precursor ions (m/z) and product ions (m/z) for the determination of PCDD/Fs and dl-PCBs by HRGC-ion trap tandem MS

| Target Compounds | Native | 13C12-labelled |
| --- | --- | --- |
|  | Precursor Ion (m/z) | Product Ions (m/z) | Precursor Ion (m/z) | Product Ions (m/z) |
| TCDD | 322 (M+2) | 257 + 259 | 334 (M+2) | 268 + 270 |
| PeCDD | 356 (M+2) | 291 + 293 | 368 (M+2) | 302 + 304 |
| HxCDD | 390 (M+2) | 325 + 327 | 402 (M+2) | 336 + 338 |
| HpCDD | 424 (M+2) | 359 + 361 | 436 (M+2) | 370 + 372 |
| OCDD | 460 (M+4) | 395 + 397 | 472 (M+4) | 406 + 408 |
| TCDF | 306 (M+2) | 241 + 243 | 318 (M+2) | 252 + 254 |
| PeCDF | 340 (M+2) | 275 + 277 | 352 (M+2) | 286 + 288 |
| HxCDF | 374 (M+2) | 309 + 311 | 386 (M+2) | 320 + 322 |
| HpCDF | 408 (M+2) | 343 + 345 | 420 (M+2) | 354 + 356 |
| OCDF | 444 (M+4) | 379 + 381 |  |  |
| CB-81, 77 | 292 (M+2) | 220 + 222 | 304 (M+2) | 232 + 234 |
| CB-123, 118, 114, 105, 126 | 326 (M+2) | 254 + 256 | 338 (M+2) | 266 + 268 |
| CB-167, 156, 157, 169 | 360 (M+2) | 288 + 290 | 372 (M+2) | 300 + 302 |
| CB-189 | 394 (M+2) | 322 + 324 | 406 (M+2) | 334 + 336 |

ToF-MS and Orbitrap MS fill a gap between LR and HRMS and often offer an even higher resolution than HRMS instruments (Orbitrap : up to 100,000). This resolution is, however, mass dependent in contrast to HR sector instruments which normally offer a resolution of 10,000 or more, independent of the mass. To compare the resolution of HRMS and that of ToF and Orbitrap instruments, the resolution of the latter two should be reduced by ca. a factor 2, as they are measured at 50% peak height. Nonetheless, they require much less investment than an HRMS sector instrument does and are likely to offer enough sensitivity and selectivity (full scan options and high resolution) for monitoring of PCDD/Fs and dl-PCBs in sediments.

## 7.	Quality Assurance and Quality Control

The laboratory is required to operate a formal quality assurance programme. An example of a comprehensive QA/QC approach is described in method 1613 by USEPA (1994).

The analytical method requires high sensitivity and low detection limits for both PCDD/Fs and dl-PCB congeners and should meet the requirements for limits of quantification (LoQ) specified in the monitoring programme. The selectivity of the method should be sufficient to avoid interfering compounds, i.e. the individual congeners should be separated from each other and any interferences present. The recovery of the individual internal standards added prior to extraction should be between 60–120%.

All sample series should include procedural blanks and measurements of reference materials. Blanks should be as low as possible, at least below 20% of the lowest concentration of interest. The correction for blanks is not recommended. Certified reference materials should be analysed regularly, e.g. DX-1 and DX-2 from NWRI, Canada (de Boer and McGovern, 2001) or WMS-01 from Wellington Laboratories, Canada, a lake sediment with lower contamination levels. The laboratory should further prove its competence by regular participation in relevant laboratory proficiency tests. It is essential that the matrix and concentration range of the proficiency testing samples are comparable with the samples routinely analysed within the monitoring programme.

## 8.	Safety

The chemical compounds dealt with in this guideline are hazardous and must only be handled by trained personnel familiar with the handling of PCDD/F and dl-PCBs, and associated risks as well as precautionary measures. USEPA (1994) recommends that laboratories purchase diluted standard solutions instead of preparing primary solutions. The laboratory staff should be aware that other matrices might contain considerably higher levels of PCDD/Fs and dl-PCBs than marine sediments.

## 9.	Data reporting

Results are reported in pg/g dw (ng/kg dw). The water and organic carbon content of the samples should be reported as well, the latter being used for normalizing purposes. Concentrations are reported to two significant figures. Minimum performance criteria such as LoQ and measurement uncertainty along with information on blanks and reference materials should be included in the report.

## 10.	References

Antunes, P.; Viana, P.; Vinhas, T.; Capelo, J.L.; Rivera, J.; Gaspar, E.M.S.M. (2008). Optimization of pressurized liquid extraction (PLE) of dioxin-furans and dioxin-like PCBs from environmental samples. Talanta 75, 916-925.

Bandh, C.; Ishaq, R.; Broman, D.; Näf, C.; Rönquist-Nii, Y.; Zebühr, Y. (1996). Separation for subsequent analysis of PCBs, PCDD/Fs, and PAHs according to aromaticity and planarity using a two-dimensional HPLC system. Environ. Sci. Technol. 30, 214-219.

Castro-Jiménez; Mariani, G.; Eisenreich, S,J.; Christoph, E.H.; Hanke, G.; Canuti, E.; Skejo, H.; Umlauf, G. (2008). Atmospheric input of POPs into Lake Maggiore (Northern Italy): PCDD/F and dioxin-like PCB profiles and fluxes in the atmosphere and aquatic system. Chemosphere 73, S122-S130.

Chuang; J.C.; Van Emon, J.M.; Schrock, M.E. (2009). High-throughput screening of dioxins in sediment and soil using selective pressurized liquid extraction with immunochemical detection. Chemosphere 77, 1217-1223.

De Boer, J.; McGovern, E. (2001). Certified reference materials for organic contaminants for use in monitoring of the aquatic environment. Trends Anal. Chem. 20, 140-159.

PTV-LV-GC/MS/MS as screening and complementary method to HRMS for the monitoring of dioxin levels in food and feed. Talanta 63, 1135-1146.

Fishman, V. N.; Martin G.D.; Lamparski (2007). Comparison of a variety of gas chromatographic columns with different polarities for the separation of chlorinated dibenzo-p-dioxins and dibenzofurans by high-resolution mass spectrometry. J. Chromatography A 1139, 285-300.

Focant, J-F.; Picard, C.; Eppe, G.; De Pauw, E. (2005). Recent advances in mass spectrometric measurement of dioxins. J. Chromatography A, 1067, 265-275.

Haglund, P.; Korytár, P.; Danielsson, C.; Diaz, J.; Wiberg, K.; Leonards, P.; Brinkman, U.A.T.; de Boer, J. (2008). GCxGC-ECD: a promising method for determination of dioxins and dioxin-like PCBs in food and feed. Anal. Bioanal. Chem. 390, 1815-1827.

Helm, P.A.; Gewurtz, S.B.; Whittle, D.M.; Marvin, C.H.; Fisk, A.T.; Tomy, G.T. (2008). Occurrence and biomagnification of polychlorinated naphthalenes and non- and mono-ortho PCBs in Lake Ontario sediment and biota. Environ. Sci. Technol. 42, 1204-1031.

Hurst, M.R.; Balaam, J.; Chan-Man, Y.L.; Thain, J.E.; Thomas, K.V. (2004). Determination of dioxin and dioxin-like compounds in sediments from UK estuaries using a bio-analytical approach: chemical-activated luciferase expression (CALUX) assay. Marine Pollution Bulletin 49, 548-658.

ICES 2010. Report of the Marine Chemistry Working Group (MCWG) 2010, Annex 9.

Kishida, M.; Maekawa, T.; Bandow, H. (2010). Effect of extraction temperature on pressurized liquid extraction of polychlorinated dibenzo-p-dioxins, polychlorinated dibenzofurans, and dioxin-like polychlorinated biphenyls from a sediment sample using polar and non-polar solvents. Analytica Chemica Acta 659, 186-193.

Koh, C.-H.; Khim, J.S.; Kannan, K. (2004). Polychlorinated dibenzo-p-dioxins (PCDDs), dibenzofurans (PCDFs), biphenyls (PCBs), and polycyclic aromatic hydrocarbons (PAHs) and 2,3,7,8-TCDD equivalents (TEQs) in sediment from the Hyeongsan River, Korea. Environ. Pollut. 132(3), 489-501.

Larsen, B.; Cont, M.; Montanarella, L.; Platzner, N. (1995). Enhanced selectivity in the analysis of chlorobiphenyls on a carborane phenylmethylsiloxane copolymer gas chromatography phase (HT-8). J. Chromatography A 708, 115-129.

Liu H. ; Zhang Q. ; Song M. ; Jiang G. ; Cai Z. (2006). Method development for the analysis of polybrominated diphenyl ethers, polychlorinated biphenyls, polychlorinated dibenzo-p-dioxins and dibenzo-furans in single extract of sediment samples. Talanta 70, 20-25.

Loganathan B.G.; Kumar K.S.; Masunaga S.; Sajwan K.S. (2008). Polychlorinated Dibenzo-p-Dioxins, Dibenzofurans, and Dioxin-Like Polychlorinated Biphenyls in Sediment and Mussel Samplesfrom Kentucky Lake, USA. Arch. Environ. Contam. Toxicol. 54, 20–30.

Malavia, J.; Santos, F.J.; Galceran, M.T. (2008). Comparison of gas chromatography-ion trap tandem mass spectrometry systems for the determination of polychlorinated dibenzo-p-dioxins, dibenzofurans and dioxin-like polychlorinated biphenyls. J. Chromatography A 1186, 302-311.

Nebert, D.W.; Puga, A.; Vasiliou, V. (1993). Role of the Ah receptor and the dioxin-inducible (Ah) gene battery in toxicity, cancer and signal transduction. Ann. NY Acad. Sci. 685, 624-640.

OSPAR (2002). JAMP Guidelines for Monitoring Contaminants in Sediments. OSPAR Commission. Monitoring guidelines, ref. no. 2002-16.

OSPAR (2005). Background document on dioxins. Hazardous Substances Series. OSPAR Commission, update 2005.

Reiner, E.J.; Clement, R.E.; Okey, A.B.; Marvin, C.H. (2006). Advances in analytical techniques for polychlorinated dibenzo-p-dioxins, polychlorinated dibenzofurans and dioxin-like PCBs. Anal. Bioanal. Chem. 386, 791-806.

Robinson, C.; Blow, P.; Dorman, F. (2004). Rapid dioxin analysis using accelerated solvent extraction (ASE), multi-column sample cleanup and Rtx-Dioxin2 gas chromatography column. Organohalogen Compounds 66, 100-105.

Schrock, M.; Dindal, A.; Billets, S. (2009). Evaluation of alternative approaches for screening contaminated sediments and soils for polychlorinated dibenzo-p-dioxins and polychlorinated dibenzofurans. J. Environ. Management 90, 1289-1295.

Skoczynska, E.; Korytár, P.; de Boer, J. (2008). Maximizing chromatographic information from environmental extracts by GCxGC-ToF-MS. Environ. Sci. Technol. 42, 6611-6618.

Stern, G.A.; Braekevelt, T.W.; Helm, P.A.; Bidleman, T.F.; Outdidge, P.M.; Lockhart, W.L.; McNeeley, R.; Rosenberg, B.; Ikonomou, M.G.; Hamilton, P.; Tomy, G.T.; Wilkinson, P. (2006). Modern and historical fluxes of halogenated organic contaminants to a lake in the Canadian Arctic, as determined from annually laminated sediment cores. Science of the Total Environment 342, 223–243.

USEPA (1994). Tetra- through Octa-chlorinated dioxins and furans by isotope dilution HRGC/HRMS. Method 1613. Revision B. US Environmental Protection Agency. Office of Water, Engineering and Analysis Division (4304), October 1994.

Van den Berg, M.; Birnbaum, L.S.; Denison, M.; De Vito, M.; Farland, W.; Feeley, M.; Fiedler, H.; Hakansson, H.; Hanberg, A.; Haws, L.; Rose, M.; Safe, S.; Schrenk, D.; Tohyama, C.; Tritscher, A.; Tuomisto, J.; Tysklind, M.; Walker, N.; Peterson, R.E (2006). The 2005 World Health Organization reevaluation of human and mammalian toxic equivalency factors for dioxins and dioxin-like compounds. Toxicol. Sci. 93, 223-241.

Van Loco, J.; Van Leeuwen, S.; Roos, P.; Carbonelle, S.; de Boer, J.; Goeyens, L.; Beernaert, H. (2004). The international validation of bio and chemical screening methods for dioxins and dioxin-like PCBs: The DIFFERENCE project round 1 and 2. Talanta 63, 1169-1182.

Zhang, H.; Ni, Y.; Chen, J.; Su, F.; Lu, X.; Zhao, L.; Zhang, Q.; Zhang, X. (2008). Polychlorinated dibenzo-p-dioxins and dibenzofurans in soils and sediments from Daliao River Basin, China. Chemosphere 73 (2008) 1640–1648.

Figure 2	Analytical method suitable for analysis of sediment samples within environmental monitoring.

# Footnotes

Revised in 2018

Addition of Technical Annexes 7 and 8 agreed in 2008

Replacement of Technical Annex 3 (PAHs in sediment) in 2009

Revised Technical Annex 5 (normalisation of contaminant concentrations in sediment) in 2009

Revised Technical Annex 2 (chlorobiphenyls) agreed in 2010

Addition of Technical Annex 9 (perfluorinated compounds) agreed in 2010

Addition of Technical Annex 10 (dioxins, furans and dioxin-like PCBs in sediments) in 2011

Revised Guideline text and Technical Annex 5 agreed in 2015

More info on https://srmors.nist.gov/view_detail.cfm?srm=1941B

Smedes, F., and Nummerdor, G.A.,. 2003. Grain-size correction for the contents of butyl compounds in sediment.  RIKZ\2003.035.  ISBN 03693477x, National Institute of Coastal and Marine Management (Rijksinstituut voor Kust en Zee),  RIKZ, PO Box 20907, 2500 EX, The Hague, The Netherlands.

# Text boxes

benzofluoranthenes

benzo[a]pyrene

perylene

benzo[e]pyrene

indeno[123-cd]pyrene

benzo[ghi]perylene

| Code | Organization | Matrix |
| --- | --- | --- |
| BCR 277R | IRMM1 | Estuarine sediment |
| BCR 320R | IRMM | Channel sediment |
| BCR CC580 | IRMM | Estuarine sediment (only Hg and CH3Hg) |
| BCR 667 | IRMM | Estuarine sediment |
| HISS-1 | NRC2 | Marine sediment |
| MESS-3 | NRC | Marine sediment |
| PACS-2 | NRC | Marine sediment (Harbour) |
| SRM 1646a | NIST3 | Estuarine sediment |
| SRM 1944 | NIST | Marine sediment |
| SRM 2702 | NIST | Marine sediment |