## OSPAR_Windfarms
ID No | Country | Name | Distance to coast | Operator | Device Type | No of Devices | Current Status | Capacity | Foundation/anchor type | Water depth | Height | EIA | Remarks
Be001 | Belgium | C-power | 27 | C-power | Wind Turbine | 54 | operational | 325.2 | gravity-based (first 6), jacket (rest) | 10-25 | 130 | yes | Project layout in 2 blocks,Six 5 MW turbines operational from 2008 and thirty 6 MW turbines operational from 2012, Installation of remainder of eightteen 6 MW windturbines during 2013. Park is ful operational since september 2013.
Be002 | Belgium | Northwind | 37 | Parkwind | Wind Turbine | 72 | operational | 216 | monopile | 16-38 | 130 | yes | (old name: Eldepasco)
Be003 | Belgium | Belwind phase 1 | 46 | Parkwind | Wind Turbine | 56 | operational | 171 | monopile | 25-50 | 126 | yes | 55 turbines of Phase I installed in 2010. Operational from end 2010. September 2013: installation Alstom Haliade 6MW: operational from september 2014. In 2015 Belwind was partially transferred to Nobelwind.
Be004 | Belgium | Rentel | 31 | Rentel | Wind Turbine | 51 | operational | 165 | monopile | 22-28 | 140 | yes | In construction. Full production expected in april 2017.
Be005 | Belgium | Norther | 22.5 | Norther | Wind Turbine | 42 | authorised | 309 | monopile | 13-22 | 130 | yes | Area concession granted in June 2009. Environmental permit granted on 8/2/2013,
Be006 | Belgium | Seastar | 41 | Seastar | Wind Turbine | 44 | authorised | 246 | monopile/tripod/other | 20-25 | 150 | yes | Area concession granted in June 2009. Environmental permit granted on 8/2/2013, Environmental permit cables granted on 8 april 2014
Be007 | Belgium | Mermaid | 50 | Parkwind | Wind Turbine | 24-80 | authorised | 224-305 | monopile/tripod/other | 25-50 | 150 | yes | Foundation type not decided yet, Area concession granted in July 2012. Application environmental permit recevied in september 2014 .In addition wave energy converters will be installed amongs the wind turbine.
Dk02 | Denmark | Horns Rev I | 14 | Vattenfall + Dong Energy | Wind Turbine | 80 | operational | 160 | monopile | 0-15 | 110 | yes | Wind turbines in 8 lines in a grid
Dk03 | Denmark | Frederikshavn | 1 | Dong Energy | Wind Turbine | 3 | operational | 7.6 | monopile | 0-5 | 123 | yes | Wind turbines on a line
Dk04 | Denmark | Roenland | 1 | Vindenergi Aps | Wind Turbine | 8 | operational | 17 | gravitation | 0-5 | 120 | yes | Wind turbines on a line
Dk05 | Denmark | Horns Rev II | 30 | Dong Energy | Wind Turbine | 91 | operational | 209 | monopile | 09-17 | 132 | yes | Wind turbines in curved polygon
Dk13 | Denmark | Frederikshavn Test Site | 4 | Frederikshavn Offshore Demo A/S | Wind Turbine | 6 | application | 36 |  | 10-25 | 182 | yes | Wind turbines on a line
Dk14 | Denmark | Anholt | 15 | Dong Energy | Wind Turbine | 111 | operational | 400 | monopile | 10-25 | 142 | yes | Wind turbines in curved polygon
Dk15 | Denmark | SprogÃ¸ | 0 | Sund & BÃ¦lt | Wind Turbine | 7 | operational | 21 | gravitation | 05-15 | 134 |  | Wind turbines on a line
Dk16 | Denmark | Middelgrunden | 2.8 | DONG Energy Nearshore Wind ApS + Middelgrunden VindmÃ¸llelaug | Wind Turbine | 20 | operational | 40 | gravitation | 02-06 | 102 | yes | Wind turbines on curved line
Dk17 | Denmark | TunÃ¸ Knob | 6 | SE Blue Renewables | Wind Turbine | 10 | operational | 5 | gravitation | 0-10 | 65
Dk18 | Denmark | Vindeby | 2 | Dong Energy Nearshore Wind ApS | Wind Turbine | 11 | operational | 5 | gravitation | 02-06 | 55 |  | Wind turbines in two parallel rows
Dk19 | Denmark | Nysted (RÃ¸dsand I) | 10 | Dong Energy + Pension Danmark + Stadtwerke LÃ¼beck | Wind Turbine | 72 | operational | 165 | gravitation | 0-10 | 110 | yes | Wind turbines in 8 parallel rows of 9 turbines
Dk20 | Denmark | RÃ¸dsand II | 1.7 | EON + SEAS-NVE | Wind Turbine | 92 | operational | 207 | gravitation | 05-15 | 126 |  | Wind turbines in curved polygon
Dk21 | Denmark | AvedÃ¸re | 0 | DONG Energy Nearshore Wind ApS + Hvidovre VindmÃ¸llelaug | Wind Turbine | 3 | operational | 11 | gravitation |  | 0
Dk22 | Denmark | Samsoe | 3.5 | Municipaliti of Samsoe + private owners | Wind Turbine | 10 | operational | 23 | gravitation |  | 102
FR01 | France | Cote d'Albatre | 7 | Enertrag | Wind Turbine | 21 | authorised, but court case in process | 105 | monopile | 10-25 | 0 | yes
De001 | Germany | alpha ventus | 45 | DOTI GmbH & Co.KG (Stiftung Offshore Windenergie) | Wind Turbine | 12 | operational | 60 | monopile / jacket | 25-50 | 150 | yes | (old name: Borkum West)
De002 | Germany | DanTysk | 50 | Dan Tysk Offshore Wind GmbH | Wind Turbine | 80 | operational | 288 | monopile | 10-25/25-50 | 130 | yes
De003 | Germany | Borkum Riffgrund West | 40 | Borkum Riffgrund West 1 GmbH (Dong Energy und Blitz H11-207 GmbH) | Wind Turbine | 80 | authorised | 280 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 120 | yes
De004 | Germany | Borkum Riffgrund 1 | 34 | Borkum Riffgrund I Offshore Windpark A/S GmbH&Co oHG | Wind Turbine | 78 | operational | 231 | monopile | 10-25/25-50 | 115 | yes
De005 | Germany | Amrumbank West | 35 | Amrumbank West GmbH | Wind Turbine | 80 | operational | 400 | monopile, tripod/tripile, jacket, gravity-based, other | 10-25 | 130 | yes
De006 | Germany | Nordsee Ost | 30 | Essent Wind Nordsee Ost Planungs- und Betriebsgesellschaft mbH Ein Unternehmen der RWE (RWE Innogy Windpower Hannover GmbH) | Wind Turbine | 48 | operational | 295 | jacket | 10-25 | 140 | yes | (old name: Amrumbank)
De008 | Germany | Butendiek | 34 | wpd nordsee offshore GmbH | Wind Turbine | 80 | operational | 231 | monopile | 10-25 | 130 | yes
De009 | Germany | GlobalTech I | 100 | Global Tech I Offshore Wind GmbH (Wetfeet Offshore Windenergy GmbH) | Wind Turbine | 80 | operational | 400 | tripod/tripile | 25-50 | 150 | yes
De010 | Germany | OWP Delta Nordsee 1 | 40 | Offshore Windpark Delta Nordsee GmbH | Wind Turbine | 48 | authorised | 240 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 130 | yes | (old name: ENOVA Offshore North Sea Windpower)
De011 | Germany | EnBW Hohe See | 90 | EnBW Nordsee Offshore GmbH | Wind Turbine | 80 | authorised | 492 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 110 | yes | (old name: Hochsee Windpark Nordsee)
De012a | Germany | Sandbank | 100 | Sandbank Power GmbH & Co, KG | Wind Turbine | 31 | authorised | 124 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 100 | yes
De012b | Germany | Sandbank | 100 | Sandbank Power GmbH & Co, KG | Wind Turbine | 41 | authorised | 164 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 100 | yes
De013 | Germany | Gode Wind 01 | 45 | Gode Wind I GmbH (Dong Energy) | Wind Turbine | 55 | operational | 320 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 125 | yes
De016 | Germany | Noerdlicher Grund | 84 | NÃ¶rdlicher Grund GmbH | Wind Turbine | 64 | authorised | 320 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 100 | yes
De017 | Germany | EnBW He Dreiht | 85 | EnBW Nordsee Offshore GmbH | Wind Turbine | 80 | authorised | 492 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 110 | yes | (old name: Hochsee Windpark He dreiht)
De018 | Germany | Nordergruende | 11 | wpd Offshore GmbH (Energiekontor GmbH) | Wind Turbine | 18 | authorised | 110 | monopile, tripod/tripile, jacket, gravity-based, other | 0-10/10-25 | 150 | yes
De019 | Germany | Riffgat | 14.5 | Offshore Windpark Riffgat GmbH & Co, KG (ENOVA Offshore Projektentwicklungs-GmbH & Co.KG) | Wind Turbine | 44 | operational | 220 | monopile, tripod/tripile, jacket, gravity-based, other | 10-25 | 180 | yes
De021 | Germany | BARD Offshore 1 | 87 | Bard Engineering GmbH | Wind Turbine | 80 | operational | 400 | tripile | 25-50 | 110 | yes
De022 | Germany | Deutsche Bucht | 87 | British Wind Energy GmbH (Eolic Power GmbH) | Wind Turbine | 31 | authorised | 248 | tripile | 25-50 | 110 | yes
De024 | Germany | Merkur Offshore (MEG Offshore I) | 45 | Merkur Offshore GmbH | Wind Turbine | 66 | authorised | 390 | tripod | 25-50 | 150 | yes
De025a | Germany | Trianel Windpark Borkum Phase 1 | 40 | Trianel Windkraftwerk Borkum II GmbH & Co, KG (Trianel Windkraftwerk Borkum GmbH & Co. KG) | Wind Turbine | 40 | operational | 200 | tripod | 10-25/25-50 | 150 | yes
De025b | Germany | Trianel Windpark Borkum Phase 2 | 40 | Trianel Windkraftwerk Borkum II GmbH & Co, KG (Trianel Windkraftwerk Borkum GmbH & Co. KG) | Wind Turbine | 18 | authorised | 108 | tripod/tripile | 10-25/25-50 | 150 | yes | Area 1
De025c | Germany | Trianel Windpark Borkum Phase 2 | 40 | Trianel Windkraftwerk Borkum II GmbH & Co, KG (Trianel Windkraftwerk Borkum GmbH & Co. KG) | Wind Turbine | 40 | authorised | 200 | tripod | 10-25/25-50 | 150 | yes | Part 1
De026 | Germany | Nordsee One | 40 | Nordsee One GmbH | Wind Turbine | 54 | authorised | 332 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 150 | yes | (old name: Enova 3, NorthSea Windpower III)
De027 | Germany | OWP Delta Nordsee 2 | 45 | Offshore-Windpark Delta Nordsee GmbH (OWP Delta Nordsee GmbH) | Wind Turbine | 32 | authorised | 160 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 160 | yes | (old name: Enova 2)
De028a | Germany | Borkum Riffgrund 2 | 51 | Dong Energy Borkum Riffgrund II GmbH | Wind Turbine | 52 | authorised | 416 | monopile/other | 25-50 | 199 | yes | Part 1, 32 monopiles and 20 suction bucket jackets
De028b | Germany | Borkum Riffgrund 2 | 56 | Dong Energy Borkum Riffgrund II GmbH | Wind Turbine | 4 | authorised | 32 | monopile | 25-50 | 194 | yes | Part 2
De029 | Germany | OWP West | 58 | Northern Energy OWP West GmbH (Norderland Projekt / Nothern Energy Unternehmensgruppe) | Wind Turbine | 42 | authorised | 480 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 150 | yes
De030 | Germany | Borkum Riffgrund West II | 52 | DONG Energy Borkum Riffgrund West II GmbH | Wind Turbine | 43 | application | 258 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 160 | yes | 2 parts
De031 | Germany | Kaskasi II | 35 | RWE Innogy Kaskasi GmbH | Wind Turbine | 34 | application | 170 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 130 | no | EIA required, (old name: Hochsee Testfeld Helgoland)
De032 | Germany | Gode Wind 02 | 38 | Gode Wind II GmbH (Dong Energy) | Wind Turbine | 42 | operational | 252 | monopile | 25-50 | 150 | yes | Was divided, part of old area Gode Wind II
De034 | Germany | Veja Mate | 89 | Veja Mate Offshore Project GmbH | Wind Turbine | 67 | authorised | 400 | tripod/tripile | 25-50 | 110 | yes
De036 | Germany | Meerwind Sued/Ost | 54 | Wind MW GmbH | Wind Turbine | 80 | operational | 288 | monopile, tripod/tripile, jacket, gravity-based, other | 10-25/25-50 | 110 | yes
De037 | Germany | Albatros | 105 | EnBW Albatros GmbH | Wind Turbine | 16 | authorised | 112 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 165 | yes
De048 | Germany | Atlantis (Atlantis I) | 83 | PNE WIND Atlantis II GmbH (BARD Holding GmbH) | Wind Turbine | 80 | application | 640 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 151 | no | EIA required
De058 | Germany | GlobalTech II | 70 | Northern Energy GlobalTech II GmbH | Wind Turbine | 79 | application | 486 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 150 | yes
De074a | Germany | Gode Wind III | 34 | PNE Gode Wind III GmbH (PNE Wind AG) | Wind Turbine | 10 | application | 80 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 150 | no | EIA required
De074b | Germany | Gode Wind III | 34 | PNE Gode Wind III GmbH (PNE Wind AG) | Wind Turbine | 4 | application | 32 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 150 | no | EIA required
De075 | Germany | EnWB He dreiht (Complementary application) | 85 | EnBW Nordsee Offshore GmbH | Wind Turbine | 39 | authorised | 240 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 110 | yes
De090 | Germany | Nordsee 2 | 40 | Nordsee Two GmbH | Wind Turbine | 48 | authorised | 240 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 150 | yes | (old name: Enova 3, NorthSea Windpower III)
De091 | Germany | Nordsee 3 | 40 | Nordsee Three GmbH | Wind Turbine | 60 | authorised | 300 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 150 | yes
De115 | Germany | Gode Wind 04 | 34 | Gode Wind II GmbH (Dong Energy) | Wind Turbine | 42 | authorised | 210 | monopile | 25-50 | 150 | yes | Part of old area Gode Wind II
De116 | Germany | Noerdlicher Grund Teil Sandbank | 88 | Vattenfall Europe Windkraft GmbH | Wind Turbine | 16 | authorised | 80 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 100 | yes
IE01 | Ireland | Arklow Bank | 10 | Arklow Energy subleased from Sure Partners | Wind Turbine |  | authorised | 400 | monopile | 05-30 | 125 | yes | Currently 7 x 3,6 MW turbines are in place. It is intended that the final output will be 520MV with all turbines with the area specified.
IE02 | Ireland | Codling Bank | 13 | Codling Wind Park Ltd | Wind Turbine | 220 | authorised | 1100 |  | 05-20 | 160 | yes | Phased development over the period 2009 to 2016,Foreshore Lease granted (copy available at http://www.dcmnr.gov.ie/NR/rdonlyres/665CD3AA-C74D-4FBE-9329-70186FC44F3E/0/MS538LForeshoreLease.pdf )
IE03 | Ireland | Oriel Wind Farm | 7 | Oriel Wind Farm Ltd | Wind Turbine | 55 | application | 330 |  | 15-30 | 160 | yes | Formal application submitted with EIS
IE04 | Ireland | Sceirde Rocks | 5 | Fuinneamh Sceirde Teoranta | Wind Turbine | 20 | application | 100 |  | 05-35 | 140 | yes | Formal application submitted with EIS
| Netherlands | OWF Beaufort | 24 | NUON (was WEOM) | Wind Turbine | 100 | withdrawn | 300 | monopile | 20-28 | 115 |  | coordinates in WGS 84, (old name: Katwijk)
| Netherlands | Breeveertien II | 65 | Breeveertien II Wind Farm BV | Wind Turbine | 79 | withdrawn | 285 | monopile | 19-25 | 130 |  | coordinates in WGS 84,
| Netherlands | Brown Ridge Oost | 74 | Brown Ridge Oost BV | Wind Turbine | 94 | withdrawn | 282 | monopile | 30 | 142 |  | coordinates in WGS 84
| Netherlands | Clearcamp | 56 | Clearcamp (was: Eolic Power GmbH) | Wind Turbine | 55 | withdrawn | 275 | tripile | 29-33 | 150 |  | coordinates in WGS 84, (old name: EP Offshore NL 1)
| Netherlands | Den Helder I | 63 | Den Helder Windfarm BV | Wind Turbine | 78 | withdrawn | 468 | monopile | 23 | 160 |  | Coordinates in WGS 84,
| Netherlands | Luchterduinen | 24 | Eneco WP Q10 | Wind Turbine | 43 | operational | 133 | monopile | 0-25 | 136.8 |  | coordinates in WGS 84,
| Netherlands | OWP Q4-WP | 24 | Q4 BV | Wind Turbine | 40 | withdrawn | 120 | monopile | 0-25 | 109 |  | coordinates in WGS 84,
| Netherlands | Tromp Binnen | 75 | RWE | Wind Turbine | 59 | withdrawn | 295 | gravity-based | 20-33 | 152 |  | coordinates in WGS 84,
| Netherlands | OWP West Rijn | 40 | West Rijn Wind Farm BV | Wind Turbine | 72 | withdrawn | 260 | monopile | 19-21 | 130 |  | coordinates in WGS 84
| Netherlands | Q4 West | 26 | Eneco Wind B.V. (was: Q4-West B.V.) | Wind Turbine | 70 | withdrawn | 210 | monopile | 0-25 | 136.8 |  | coordinates in WGS 84,
NL001 | Netherlands | OWF Prinses Amalia | 23 | Eneco | Wind Turbine | 60 | operational | 120 | monopile |  | 0
NL002 | Netherlands | OWF Egmond aan Zee | 18 | Noordzeewind | Wind Turbine | 36 | operational | 108 | monopile |  | 0
NL003 | Netherlands | OWF Luchterduinen | 23 | Eneco | Wind Turbine | 43 | operational | 129 | monopile |  | 0
NL004 | Netherlands | OWF Gemini ZeeEnergie | 85 |  | Wind Turbine | 75 | operational | 300 | monopile |  | 0
NL005 | Netherlands | OWF Gemini Buitengaats | 86 | Northland Power | Wind Turbine | 75 | operational | 301 | monopile |  | 0
NL006 | Netherlands | OWF Borssele I | 22 | DONG | Wind Turbine | 43 | authorised | 350 |  |  | 0
NL007 | Netherlands | OWF Borssele II | 22 | DONG | Wind Turbine | 43 | authorised | 351 |  |  | 0
NL008 | Netherlands | OWF Borssele III | 22 | Consortium Shell, Van Oord, Eneco en Mitsubishi/DGE | Wind Turbine | 43 | authorised | 352 |  |  | 0
NL009 | Netherlands | OWF Borssele IV | 22 | Consortium Shell, Van Oord, Eneco en Mitsubishi/DGE | Wind Turbine | 43 | authorised | 353 |  |  | 0
NO01 | Norway | Karmoy | 0 | StatoilHydro ASA | Wind Turbine | 1 | authorised |  |  |  | 0
NO02 | Norway | Havsul I | 6 | Havgul AS | Wind Turbine | 78 | authorised | 350 | other | 05-35 | 160 | yes | The turbine's specific information is based upon the most likely turbines to be used
NO13 | Norway | Siragrunnen | 1 | Siragrunnen AS | Wind Turbine | 40 | refused | 200 | gravitation (concrete) | 15-40 | 150 | yes
ES001 | Spain | Motriku | 0 | Ente Vasco de la EnergÃ­a (EVE) | Wave (coastal insfrastructure) | 16 | operational | 0.3 |  | 0-10 | 0 |  | The Mutriku Breakwater Wave Plant in the bay of Mutriku (in the Bay of Biscay)is the world's first breakwater wave power plant with a multiple turbine arrangement. It was inaugurated on July 8, 2011
ES002 | Spain | BIMEP | 1.7 | Variable - manufacturers of ocean energy |  |  | operational | 1 |  | 50-100 | 0 |  | bimep provides WEC manufacturers with the opportunity to install their equipment in open sea conditions. http://bimep.com/en/
ES003 | Spain | EnergÃ­a del Mar GijÃ³n Parte | 1.4 | EnergÃ­a del Mar GijÃ³n S.L. | Wave (floating) | 12 | application | 28.8 |  |  | 0 |  | EIA in progress
ES004 | Spain | Wave Energy Ferrol | 0.6 | Wave Energy Ferrol S.L. | Wave (floating) | 4 | application | 9.6 | other (floating structures) |  | 0 |  | EIA in progress
SE1 | Sweden | Stora Middelgrund | 35 | Universal Wind | Wind Turbine | 110 | authorised | 800 |  | 0-30 | 200 | yes | Near the Danish border, prolonged authorisation in 2014, application for Natura 2000 permit
SE2 | Sweden | Risholmen - Arendal | 1 | Goteborg Energi | Wind Turbine | 3 | refused | 9 | concrete | 0-12 | 150 | yes | turbines located in water refused, will be located on land instead
SE3 | Sweden | Lovstaviken | 0 | Falkenberg Energi | Wind Turbine | 5 | operational | 11.5 | monopile/gravity | 0-10 | 110 | yes | Wind-farm consisting of 5 wind turbines of which 4 are located on land
SE4 | Sweden | Skottarevet | 7.5 | Favonius | Wind Turbine | 30 | refused | 180 |  | 10-25 | 0 | yes | refused by Court of Appeal, same project as Kattegatt offshore which is now authorised
SE5 | Sweden | Kattegatt offshore | 8 | Favonius AB | Wind Turbine | 50 | authorised | 300 |  | 20-31 | 190 | yes | authorised by Court of Appeal 2015-12-08
SE6 | Sweden | Vindplats Goteborg | 1 | Goteborg Energi AB | Wind Turbine | 15 | refused | 54-90 |  | 0-15 | 190 | yes | refused by District Court, not subject to appeal to Court of Appeal
UK001 | UK | Aberdeen Bay Demo | 1.3347 | Aberdeen Offshore Wind Farm Limited |  |  | authorised | 92.4 | jacket | 2025-10-01 | 202 | Yes
UK002 | UK | Barrow Wind Farm | 7.1607 | Barrow Offshore Wind Limited |  |  | operational | 90 | monopile | 2025-10-01 | 165 | Yes
UK003 | UK | Beatrice | 13.3612 | Beatrice Offshore Wind Farm Limited |  |  | authorised | 588 | jacket | 25-50 | 198.4
UK004 | UK | Bluemull Sound | 0.071638 | Nova Innovation Limited |  |  | authorised | 0.51 |  | 25-50 | 0 | Yes
UK005 | UK | Blyth Demo (Phase 1) Wind Farm | 4.739 | Blyth Offshore Demonstrator Limited |  |  | operational | 41.5 | gravity-based | 25-50 | 191.5 | Yes
UK006 | UK | Blyth Demo (Phase 2 & 3) Wind Farm | 5.3756 | Blyth Offshore Demonstrator Limited |  |  | authorised | 58.4 |  | 50-100 | 0 | Yes
UK007 | UK | Blyth Wind Farm | 0.4841 | E.ON C&R UK Blyth Limited |  |  |  | 3.8 | monopile | 0-10 | 106 | Yes
UK008 | UK | Brims Tidal Array | 0.40365 | Brims Tidal Array Limited |  |  |  | 200 |  | 50-100 | 0
UK009 | UK | Brough Head | 0 | Brough Head Wave Farm Limited |  |  |  | 200 |  | 0-10 | 0
UK010 | UK | Brough Ness | 0.16381 | Sea Generation (Brough Ness) |  |  |  | 100 |  | 25-50 | 0
UK011 | UK | Buchan Deep Demo | 22.3034 | Hywind (Scotland) Limited |  |  | authorised | 30 | other | 100+ | 178 | Yes | Floating
UK012 | UK | Burbo Bank Extension Wind Farm | 6.8098 | Dong Energy Burbo Extension (UK) Limited |  |  | authorised | 259 | monopile | 2025-10-01 | 0 | Yes
UK013 | UK | Burbo Bank Wind Farm | 6.0197 | DONG Energy Burbo (UK) Limited |  |  | operational | 90 | monopile | 0-10 | 190.5 | Yes
UK014 | UK | Creyke Beck A Wind Farm | 130.9576 | Doggerbank Project 1 Bizco Limited |  |  | authorised | 1200 |  | 25-50 | 315 | Yes
UK015 | UK | Creyke Beck B Wind Farm | 130.8452 | Doggerbank Project 4 Bizco Limited |  |  | authorised | 1200 |  | 2025-10-01 | 315 | Yes
UK016 | UK | Docking Shoal Met Mast | 18.8878 | Centrica Renewable Energy Limited |  |  | decommissioned |  | monopile | 0-10 | 0 |  | anemometry mast
UK017 | UK | Dogger Bank East Met Mast | 205.7513 | Forewind Limited |  |  | operational |  | other | 25-50 | 110 | No | anemometry mast; suction bucket foundation
UK018 | UK | Dogger Bank West Met Mast | 148.3325 | Forewind Limited |  |  | operational |  | other | 2025-10-01 | 110 | No | anemometry mast; suction bucket foundation
UK019 | UK | Dudgeon Wind Farm | 31.9806 | Dudgeon Offshore Wind Limited |  |  | authorised | 402 | monopile | 2025-10-01 | 0 | Yes
UK020 | UK | East Anglia Northern Met Mast (ZE) | 100.1018 | East Anglia Offshore Wind Limited |  |  | operational |  | other | 2025-10-01 | 110 | No | anemometry mast; suction bucket foundation
UK021 | UK | East Anglia One North Wind Farm | 36.1215 | ScottishPower Renewables (UK) Limited |  |  |  | 800 |  | 25-50 | 0 | Yes
UK022 | UK | East Anglia One Wind Farm | 48.3696 | East Anglia One Limited |  |  | authorised | 714 | jacket | 25-50 | 0 | Yes
UK023 | UK | East Anglia Southern Met Mast (1B) | 56.309 | East Anglia Offshore Wind Limited |  |  | operational |  | other | 25-50 | 110 | No | anemometry mast; suction bucket foundation
UK024 | UK | East Anglia Three Wind Farm | 67.839 | East Anglia Three Limited |  |  | application | 1200 |  | 25-50 | 0 | Yes
UK025 | UK | East Anglia Two Wind Farm | 29.5944 | ScottishPower Renewables (UK) Limited |  |  |  | 800 |  | 25-50 | 0 | Yes
UK026 | UK | EMEC Billia Croo | 0 | EMEC Limited |  |  | operational |  | various | 50-100 | 0 | Yes | Managed Wave Test Facility
UK027 | UK | EMEC Fall of Warness | 0.00091598 | EMEC Limited |  |  | operational |  | various | 25-50 | 0 | Yes | Managed Tidal Test Facility
UK028 | UK | EMEC Scapa Flow | 0.37993 | EMEC Limited |  |  | operational |  | various | 2025-10-01 | 0 | Yes | Managed Wave Test Facility
UK029 | UK | EMEC Shapinsay Sound | 0.45384 | EMEC Limited |  |  | operational |  | various | 25-50 | 0 | Yes | Managed Tidal Test Facility
UK030 | UK | EMEC Stronsay Firth | 0.19592 | EMEC Limited |  |  |  |  | various | 25-50 | 0 | No | Managed Test Facility
UK031 | UK | FabTest Falmouth Bay | 2.2496 | Falmouth Harbour Commissioners |  |  | operational | 3 | various | 25-50 | 0 |  | Managed Wave Test Facility (Non-grid connected)
UK032 | UK | Fair Head | 0.66926 | DP Marine Energy Limited |  |  |  | 100 |  | 25-50 | 6
UK033 | UK | Firth of Forth Met Mast | 29.7523 | Seagreen Wind Energy Limited |  |  | authorised |  |  | 25-50 | 0 |  | anemometry mast, agreement to be determined.
UK034 | UK | Galloper Wind Farm | 28.2229 | Galloper Wind Farm Limited |  |  | authorised | 336 | monopile | 25-50 | 0 | Yes
UK035 | UK | Galson (Lewis 10MW) | 0.014094 | Lewis Wave Power Limited |  |  | authorised | 10 |  | 2025-10-01 | 0
UK036 | UK | Greater Gabbard Wind Farm | 24.7784 | Greater Gabbard Offshore Winds Limited |  |  | operational | 504 | monopile | 25-50 | 187 | Yes
UK037 | UK | Gunfleet Sands Demo Wind Farm | 8.4384 | Dong Energy Gunfleet Sands Demo (UK) Limited |  |  | operational | 12 | monopile | 2025-10-01 | 0 | Yes
UK038 | UK | Gunfleet Sands I Wind Farm | 6.3429 | Gunfleet Sands Limited |  |  | operational | 108 | monopile | 0-10 | 183 | Yes
UK039 | UK | Gunfleet Sands II Wind Farm | 8.3334 | Gunfleet Sands II Limited |  |  | operational | 65 | monopile | 0-10 | 183 | Yes
UK040 | UK | Gwynt y Mor Wind Farm | 12.3458 | Gwynt y Mor Offshore Windfarm Limited |  |  | operational | 576 | monopile | 2025-10-01 | 191 | Yes
UK041 | UK | Holyhead Deep | 4.8913 | Minesto UK Limited |  |  | application | 10 |  | 50-100 | 0 | Yes
UK042 | UK | Hornsea Met Mast | 115.5213 | Smart Wind Limited |  |  | operational |  | other | 25-50 | 103 | No | anemometry mast; twisted Jacket foundation
UK043 | UK | Hornsea Project 1 (Heron East) Wind Farm | 111.2445 | Heron Wind Limited |  |  | authorised | 406 | monopile | 25-50 | 0
UK044 | UK | Hornsea Project 1 (Heron West) Wind Farm | 102.1983 | Heron Wind Limited |  |  | authorised | 406 | jacket | 25-50 | 0
UK045 | UK | Hornsea Project 1 (Njord) Wind Farm | 105.5462 | Njord Limited |  |  | authorised | 406 | monopile | 25-50 | 0
UK046 | UK | Hornsea Project 2 (HOW02) Wind Farm | 89.4547 | Breesea Limited |  |  | authorised | 1800 |  | 25-50 | 0 | Yes
UK047 | UK | Hornsea Project 3 (HOW03) Wind Farm | 121.1159 | DONG Energy Hornsea Project Three (UK) Limited |  |  |  | 1600 |  | 25-50 | 0 | Yes
UK048 | UK | Hornsea Project 4 (HOW04) Wind Farm | 65.4526 | Smart Wind SPC6 Limited |  |  |  | 1200 |  | 25-50 | 0 | Yes
UK049 | UK | Humber Gateway Wind Farm | 7.9372 | E.ON C&R UK Humber Wind Limited |  |  | operational | 219 | monopile | 2025-10-01 | 192 | Yes
UK050 | UK | Inch Cape Met Mast | 22.5693 | Inch Cape Offshore Limited |  |  | operational |  | gravity-based | 25-50 | 169 |  | anemometry mast
UK051 | UK | Inch Cape Wind Farm | 15.0239 | Inch Cape Offshore Limited |  |  | authorised | 784 | jacket | 25-50 | 0 | Y
UK052 | UK | Inner Dowsing Wind Farm | 5.0628 | Inner Dowsing Wind Farm Limited |  |  | operational | 97 | monopile | 0-10 | 189 | Yes
UK053 | UK | Inner Sound | 0.43573 | MeyGen Limited |  |  | authorised | 398 |  | 25-50 | 0
UK054 | UK | Islay Demo Zone | 0.54647 | EMEC Limited |  |  |  |  | various | 25-50 | 0 | No | Third Party Managed Tidal Demonstration Zone
UK055 | UK | Isle of Islay | 4.5737 | DP Marine Energy Limited |  |  | application | 30 |  | 25-50 | 0
UK056 | UK | Kentish Flats Extension Wind Farm | 7.4964 | Vattenfall Wind Power Limited |  |  | operational | 49.5 | monopile | 0-10 | 196 | Yes
UK057 | UK | Kentish Flats Wind Farm | 8.3247 | Kentish Flats Limited |  |  | operational | 90 | monopile | 0-10 | 160 | Yes
UK058 | UK | Lashy Sound | 0.21827 | Scotrenewables Tidal Power Limited |  |  |  | 30 |  | 2025-10-01 | 0
UK059 | UK | Lincs Wind Farm | 6.3313 | Lincs Wind Farm Limited |  |  | operational | 270 | monopile | 2025-10-01 | 220 | Yes
UK060 | UK | London Array Wind Farm | 20.4253 | London Array Limited |  |  | operational | 630 | monopile | 2025-10-01 | 207 | Yes
UK061 | UK | Lynn Wind Farm | 5.238 | Lynn Wind Farm Limited |  |  | operational | 97 | monopile | 0-10 | 189
UK062 | UK | MacColl Wind Farm | 28.4792 | MacColl Offshore Windfarm Limited |  |  | authorised | 372 |  | 25-50 | 0 | Y
UK063 | UK | Methil (2-B Energy) Wind Farm | 1.1058 | Forthwind Limited |  |  |  | 14 | jacket | 2025-10-01 | 0 | Yes
UK064 | UK | Methil Demo Wind Farm | 0 | ORE Catapult Limited |  |  | operational | 7 | jacket | 0-10 | 196 | Yes
UK065 | UK | Moray Firth Met Mast | 26.5793 | Moray Offshore Renewables Limited |  |  | operational |  | gravity-based | 25-50 | 204 |  | anemometry mast
UK066 | UK | Mull of Galloway | 0.49833 | Marine Current Turbines Limited |  |  |  | 30 |  | 25-50 | 0
UK067 | UK | Mull of Kintyre | 0.10974 | Argyll Tidal Limited |  |  |  | 3 |  | 100+ | 0
UK068 | UK | Neart na Gaoithe Wind Farm | 15.462 | Neart Na Gaoithe Offshore Wind |  |  | authorised | 448 | jacket | 50-100 | 0 | Y
UK069 | UK | Ness of Duncansby | 0.56535 | ScottishPower Renewables |  |  |  | 100 |  | 25-50 | 0
UK070 | UK | NOAH Met Mast | 5.0395 | ORE Catapult Limited |  |  | operational |  | tripod | 25-50 | 104 |  | anemometry mast
UK071 | UK | Norfolk Boreas Wind Farm | 73.3108 | Vattenfall Wind Power Limited |  |  |  | 1800 |  | 25-50 | 0 | Yes
UK072 | UK | Norfolk Vanguard Wind Farm | 47.6462 | Norfolk Vanguard Limited |  |  |  | 1800 |  | 25-50 | 0 | Yes
UK073 | UK | North Devon Demo Zone | 0.162 | Wave Hub Limited |  |  |  |  | various | 2025-10-01 | 0 |  | Third Party Managed Wave Demonstration Zone
UK074 | UK | North Hoyle Wind Farm | 7.1788 | NWP Offshore Limited |  |  | operational | 60 | monopile | 0-10 | 147
UK075 | UK | North West Lewis (30MW) | 0 | Lewis Wave Power Limited |  |  | authorised | 30 |  | 2025-10-01 | 0
UK076 | UK | Ormonde Wind Farm | 9.0551 | Ormonde Energy Limited |  |  | operational | 150 | other | 2025-10-01 | 215 | Yes | quadrapod foundation
UK077 | UK | Perpetuus Tidal Energy Centre (PTEC) | 2.2742 | Isle of Wight Council |  |  | authorised | 30 | various | 50-100 | 9 |  | Managed Tidal Test Facility
UK078 | UK | Portland Bill | 1.6121 | Marine Current Turbines Limited |  |  |  | 30 |  | 25-50 | 0
UK079 | UK | Race Bank Wind Farm | 26.6879 | Race Bank Wind Farm Limited |  |  | authorised | 546 | monopile | 2025-10-01 | 0 | Yes
UK080 | UK | Rampion Wind Farm | 13.3424 | Rampion Offshore Wind Limited |  |  | authorised | 400.2 | monopile | 25-50 | 0 | Yes
UK081 | UK | Ramsey Sound | 0.24561 | Tidal Energy Limited |  |  | operational | 0.4 | gravity-based | 25-50 | 0
UK082 | UK | Rhyl Flats Wind Farm | 7.7288 | Rhyl Flats Wind Farm Limited |  |  | operational | 90 | monopile | 0-10 | 187 | Yes
UK083 | UK | Robin Rigg East Wind Farm | 8.5829 | EON C&R UK Robin Rigg East Limited |  |  | operational | 90 | monopile | 0-10 | 168
UK084 | UK | Robin Rigg West Wind Farm | 8.5808 | EON C&R UK Robin Rigg West Limited |  |  | operational | 90 | monopile | 0-10 | 168
UK085 | UK | Sanda Sound | 0.61553 | Oceanflow Development Limited |  |  | authorised | 0.035 |  | 2025-10-01 | 0
UK086 | UK | Scarweather Sands Met Mast | 8.0104 | EON UK PLC |  |  | decommissioned |  | monopile | 0-10 | 0 |  | anemometry mast
UK087 | UK | Scroby Sands Wind Farm | 3.8221 | E.ON Climate & Renewables UK Limited |  |  | operational | 60 | monopile | 0-10 | 148 | Yes
UK088 | UK | SeaGreen Alpha Wind Farm | 26.8264 | Seagreen Alpha Wind Energy Limited |  |  | authorised | 525 |  | 25-50 | 0
UK089 | UK | SeaGreen Bravo Wind Farm | 38.0146 | Seagreen Bravo Wind Energy Limited |  |  | authorised | 525 |  | 50-100 | 0
UK090 | UK | Shell Flats No. 1 (Western) Met Mast | 15.7864 | DONG Energy Wind Power A/S |  |  | operational |  | monopile | 0-10 | 0 |  | anemometry mast
UK091 | UK | Shell Flats No. 2 (Eastern) Met Mast | 10.0539 | DONG Energy Wind Power A/S |  |  | operational |  | monopile | 0-10 | 0 |  | anemometry mast
UK092 | UK | Sheringham Shoal Wind Farm | 16.7397 | SCIRA Offshore Energy Limited |  |  | operational | 317 | monopile | 2025-10-01 | 187 | Yes
UK093 | UK | Sound of Islay | 0.11626 | ScottishPower Renewables |  |  | authorised | 10 |  | 25-50 | 0
UK094 | UK | South Pembrokeshire Demo Zone | 12.9451 | Wave Hub Limited |  |  |  |  | various | 50-100 | 0 |  | Third Party Managed Wave Demonstration Zone
UK095 | UK | St David's Head | 0.089876 | Tidal Energy Dev'mts Sth Wales |  |  |  | 10 |  | 25-50 | 0
UK096 | UK | Stevenson Wind Farm | 22.2705 | Stevenson Offshore Windfarm Limited |  |  | authorised | 372 |  | 25-50 | 0 | Y
UK097 | UK | Strangford Lough Array | 0.047428 | Marine Current Turbines Limited |  |  |  | 20 |  | 25-50 | 0
UK098 | UK | Strangford Lough Minesto | 0.049395 | Minesto UK Limited |  |  | operational | 0.125 | anchor | 25-50 | 0
UK099 | UK | Strangford Lough SeaGen | 0.12638 | Sea Generation Limited |  |  | decommissioned | 1.2 | jacket | 2025-10-01 | 9
UK100 | UK | Teesside A Wind Farm | 179.75 | Doggerbank Project 2 Bizco Limited |  |  | authorised | 1200 |  | 2025-10-01 | 315 | Yes
UK101 | UK | Teesside B Wind Farm | 164.8026 | Doggerbank Project 3 Bizco Limited |  |  | authorised | 1200 |  | 25-50 | 315 | Yes
UK102 | UK | Teesside Wind Farm | 0.94687 | Teesside Windfarm Limited |  |  | operational | 62 | monopile | 2025-10-01 | 173
UK103 | UK | Telford Wind Farm | 22.2772 | Telford Offshore Windfarm Limited |  |  | authorised | 372 |  | 25-50 | 0 | Y
UK104 | UK | Thanet Wind Farm | 10.8056 | Thanet Offshore Wind Limited |  |  | operational | 300 | monopile | 2025-10-01 | 160 | Yes
UK105 | UK | Torr Head | 0.066271 | Tidal Ventures Limited |  |  | application | 100 |  | 25-50 | 0
UK106 | UK | Triton Knoll Wind Farm | 30.9627 | Triton Knoll Offshore Windfarm |  |  | authorised | 1200 | monopile | 2025-10-01 | 0 | Yes
UK107 | UK | Walney 1 Wind Farm | 14.1027 | Walney (UK) Offshore Windfarms Limited |  |  | operational | 184 | monopile | 2025-10-01 | 191 | Yes
UK108 | UK | Walney 2 Wind Farm | 17.6923 | Walney (UK) Offshore Windfarms Limited |  |  | operational | 184 | monopile | 25-50 | 210 | Yes
UK109 | UK | Walney Extension (WOW03) Wind Farm | 26.6824 | Dong Energy Walney Extension (UK) Limited |  |  | authorised | 330 | monopile | 25-50 | 0 | Yes
UK110 | UK | Walney Extension (WOW04) Wind Farm | 19.7472 | Dong Energy Walney Extension (UK) Limited |  |  | authorised | 329 | monopile | 25-50 | 0 | Yes
UK111 | UK | Wave Hub | 15.1352 | Wave Hub Limited |  |  | operational | 20 | various | 50-100 | 13 |  | Managed Wave Test Facility
UK112 | UK | West Anglesey Demo Zone | 0.50086 | Menter Mon Cyf |  |  |  |  | various | 25-50 | 0 |  | Third Party Managed Wave Demonstration Zone
UK113 | UK | West of Duddon Sands Wind Farm | 13.9019 | JV West of Duddon Sands |  |  | operational | 389 | monopile | 2025-10-01 | 210 | Yes
UK114 | UK | Westermost Rough Wind Farm | 7.985 | Westermost Rough Limited |  |  | operational | 210 | monopile | 2025-10-01 | 256 | Yes
UK115 | UK | Westray South | 0.41279 | Westray South Tidal Development Limited |  |  |  | 200 |  | 25-50 | 0